## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 21 |  |  |  | Date : 21/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 21/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 190.23 | 0.02 | 80.38 | 0.83 | 0.2 | 0.01 | 0.01 | 28.08 | NA | 3.13 | 8.69 | 0.02 | 0 | 884.39 | NA | 2.54 | 0.06 | 0.01 | 13.92 | 101.36
07-08Hr | 0 | 176.91 | 0.02 | 78.31 | 0.37 | 0.18 | 0.01 | 0.01 | 28.59 | NA | 3.44 | 8.8 | 0.02 | 0 | 884.5 | NA | 2.61 | 0.06 | 0.01 | 10.83 | 128.75
08-09Hr | 0 | 194.77 | 0.02 | 69.97 | 0.86 | 0.13 | 0.01 | 0.01 | 30.41 | NA | 3.47 | 8.72 | 0.02 | 0 | 884.38 | NA | 2.76 | 0.06 | 0.01 | 11.71 | 139.68
09-10Hr | 0 | 157.74 | 0.02 | 69.99 | 0.7 | 0.08 | 0.01 | 0.01 | 30.66 | NA | 3.28 | 8.87 | 0.02 | 0 | 884.42 | NA | 2.56 | 0.06 | 0.01 | 12.53 | 186.89
10-11Hr | 0 | 167.03 | 0.02 | 65.02 | 1.29 | 0.18 | 0.01 | 0.01 | 30.81 | NA | 3.31 | 8.94 | 0.02 | 0 | 883.98 | NA | 2.53 | 0.06 | 0.01 | 9.87 | 184.48
11-12Hr | 0 | 199.59 | 0.02 | 65.07 | 1.02 | 0.08 | 0.01 | 0.01 | 31.49 | NA | 3.22 | 9.15 | 0.02 | 0 | 882.75 | NA | 2.68 | 0.06 | 0.01 | 10.09 | 124.9
12-13Hr | 0 | 183.35 | 0.02 | 71.43 | 1.07 | 0.08 | 0.01 | 0.01 | 30.67 | NA | 3.04 | 9.12 | 0.02 | 0 | 881.61 | NA | 2.43 | 0.06 | 0.01 | 9.75 | 80.83
13-14Hr | 0 | 172.3 | 0.02 | 85.13 | 1.47 | 0.26 | 0.01 | 0.01 | 26.02 | NA | 3.19 | 9.19 | 0.02 | 0 | 881.49 | NA | 2.58 | 0.06 | 0.01 | 5.97 | 8.2
14-15Hr | 0 | 165.77 | 0.02 | 88.35 | 0.91 | 0.23 | 0.01 | 0.01 | 25.8 | NA | 3.4 | 9.15 | 0.02 | 0 | 881.1 | NA | 2.56 | 0.06 | 0.01 | 14.91 | 2.09
15-16Hr | 0 | 158.07 | 0.02 | 91.9 | 0.32 | 0.28 | 0.01 | 0.01 | 24.49 | NA | 3.4 | 9.12 | 0.02 | 0 | 882.06 | NA | 2.51 | 0.06 | 0.01 | 11.51 | 0
16-17Hr | 0 | 199.68 | 0.02 | 95.07 | 0.24 | 0.18 | 0.01 | 0.01 | 24.14 | NA | 3.17 | 9.08 | 0.02 | 0 | 882.6 | NA | 2.46 | 0.06 | 0.01 | 13.17 | 0
17-18Hr | 0 | 170.57 | 0.02 | 95.9 | 0.13 | 0.21 | 0.01 | 0.01 | 23.92 | NA | 3.35 | 8.97 | 0.02 | 0 | 882.77 | NA | 2.56 | 0.06 | 0.01 | 11.45 | 0
18-19Hr | 0 | 189.98 | 0.02 | 95.79 | 0.29 | 0.23 | 0.01 | 0.01 | 23.37 | NA | 2.97 | 8.97 | 0.02 | 0 | 882.92 | NA | 2.15 | 0.06 | 0.01 | 11.89 | 0
19-20Hr | 0 | 178.55 | 0.02 | 86.55 | 0.86 | 0.05 | 0.01 | 0.01 | 23.96 | NA | 3.08 | 8.87 | 0.02 | 0 | 883.83 | NA | 2.5 | 0.06 | 0.01 | 10 | 0
20-21Hr | 0 | 191.97 | 0.02 | 83.26 | 0.37 | 0.1 | 0.01 | 0.01 | 24.03 | NA | 3.44 | 8.9 | 0.02 | 0 | 884.26 | NA | 2.61 | 0.06 | 0.01 | 9.14 | 0
21-22Hr | 0 | 189.31 | 0.02 | 84.81 | 0.18 | 0.05 | 0.01 | 0.01 | 23.45 | NA | 3.06 | 8.83 | 0.02 | 0 | 884.32 | NA | 2.63 | 0.06 | 0.01 | 7.24 | 0
22-23Hr | 0 | 172.52 | 0.02 | 90.13 | 0.29 | 0.08 | 0.01 | 0.01 | 22.93 | NA | 3.42 | 8.83 | 0.02 | 0 | 884.07 | NA | 2.8 | 0.06 | 0.01 | 10.11 | 0
23-00Hr | 0 | 194.9 | 0.02 | 94.43 | 0.19 | 0 | 0.01 | 0.01 | 22.56 | NA | 3.04 | 8.9 | 0.02 | 0 | 883.79 | NA | 2.61 | 0.06 | 0.01 | 18.63 | 0
00-01Hr | 0 | 182.89 | 0.02 | 95.51 | 0.16 | 0.2 | 0.01 | 0.01 | 22.31 | NA | 3.38 | 8.87 | 0.02 | 0 | 883.36 | NA | 2.58 | 0.06 | 0.01 | 13.3 | 0
01-02Hr | 0 | 191.73 | 0.02 | 94.68 | 0.43 | 0.15 | 0.01 | 0.01 | 22.27 | NA | 3.26 | 8.8 | 0.02 | 0 | 882.92 | NA | 2.56 | 0.06 | 0.01 | 14.91 | 0
02-03Hr | 0 | 183.27 | 0.02 | 97.83 | 0.45 | 0.2 | 0.01 | 0.01 | 21.96 | NA | 3.2 | 8.9 | 0.02 | 0 | 882.95 | NA | 2.63 | 0.06 | 0.01 | 15.31 | 0
03-04Hr | 0 | 192.95 | 0.02 | 98.85 | 0.24 | 0.13 | 0.01 | 0.01 | 21.6 | NA | 3.33 | 8.8 | 0.02 | 0 | 883.02 | NA | 2.61 | 0.06 | 0.01 | 17.85 | 0
04-05Hr | 0 | 192.49 | 0.02 | 97.6 | 0.62 | 0.33 | 0.01 | 0.01 | 21.86 | NA | 3.42 | 8.83 | 0.02 | 0 | 883.56 | NA | 2.51 | 0.06 | 0.01 | 14.78 | 14.65
05-06Hr | 0 | 168.17 | 0.02 | 82.69 | 0.54 | 0.05 | 0.01 | 0.01 | 26.03 | NA | 3.26 | 8.87 | 0.02 | 0 | 884.18 | NA | 2.73 | 0.06 | 0.01 | 12.29 | 78.49
06-07hr | 0 | 177.59 | 0.02 | 75.8 | 0.7 | 0.03 | 0.01 | 0.01 | 28.09 | NA | 3.22 | 8.87 | 0.02 | 0 | 884.91 | NA | 2.66 | 0.06 | 0.01 | 12.78 | 103.16
Avg | 0 | 181.69 | 0.02 | 85.38 | 0.58 | 0.15 | 0.01 | 0.01 | 25.58 | NA | 3.26 | 8.92 | 0.02 | 0 | 883.37 | NA | 2.57 | 0.06 | 0.01 | 12.16 | 46.14
Min | 0 | 157.74 | 0.02 | 65.02 | 0.13 | 0 | 0.01 | 0.01 | 21.6 | NA | 2.97 | 8.69 | 0.02 | 0 | 881.1 | NA | 2.15 | 0.06 | 0.01 | 5.97 | 0
Max | 0 | 199.68 | 0.02 | 98.85 | 1.47 | 0.33 | 0.01 | 0.01 | 31.49 | NA | 3.47 | 9.19 | 0.02 | 0 | 884.91 | NA | 2.8 | 0.06 | 0.01 | 18.63 | 186.89
Geom.Mean | 0 | 181.69 | 0.02 | 85.38 | 0.58 | 0.15 | 0.01 | 0.01 | 25.58 | NA | 3.26 | 8.92 | 0.02 | 0 | 883.37 | NA | 2.57 | 0.06 | 0.01 | 12.16 | 46.14
Median | 0 | 183.27 | 0.02 | 86.55 | 0.45 | 0.15 | 0.01 | 0.01 | 24.14 | NA | 3.26 | 8.87 | 0.02 | 0 | 883.56 | NA | 2.58 | 0.06 | 0.01 | 11.89 | 0
Mode | 0 | 157.74 | 0.02 | 65.02 | 0.37 | 0.08 | 0.01 | 0.01 | 26.03 | NA | 3.44 | 8.87 | 0.02 | 0 | 882.92 | NA | 2.61 | 0.06 | 0.01 | 14.91 | 0
Std.Deviation | 0 | 12.54 | 0 | 10.84 | 0.38 | 0.09 | 0 | 0 | 3.29 | NA | 0.15 | 0.14 | 0 | 0 | 1.04 | NA | 0.12 | 0 | 0 | 2.96 | 64.98
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0