## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 15 |  |  |  | Date : 15/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 15/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 54 | 0.21 | 1.72 | 83.17 | 25.63 | 207.06 | 7 | 3.17 | 2.45 | 0.36 | 0.06 | 0 | 6.89 | 888.09 | 119.29 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 58 | 0.22 | 1.72 | 78.74 | 27 | 157.86 | 7 | 3.34 | 2.54 | 0.73 | 0.06 | 0 | 4.13 | 888.42 | 126.64 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 57 | 0.3 | 1.72 | 73.81 | 27.85 | 161.08 | 6.08 | 3.13 | 2.35 | 3.56 | 0.06 | 0 | 1.79 | 888.6 | 117.98 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 0 | 0 | 1.72 | 70.31 | 28.56 | 143.73 | 6 | 2.34 | 2.14 | 4.03 | 0.06 | 0 | 0.9 | 888.51 | 59.87 | 0 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
10-11Hr | No data : Computer issue
11-12Hr
12-13Hr
13-14Hr
14-15Hr
15-16Hr
16-17Hr
17-18Hr
18-19Hr | No data : Computer issue
19-20Hr
20-21Hr
21-22Hr
22-23Hr
23-00Hr
00-01Hr
01-02Hr
02-03Hr
03-04Hr
04-05Hr
05-06Hr
Avg | 56.33 | 0.18 | 1.72 | 76.51 | 27.26 | 167.43 | 6.52 | 3 | 2.37 | 2.17 | 0.06 | 0 | 3.43 | 888.4 | 105.95 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 54 | 0 | 1.72 | 70.31 | 25.63 | 143.73 | 6 | 2.34 | 2.14 | 0.36 | 0.06 | 0 | 0.9 | 888.09 | 59.87 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 58 | 0.3 | 1.72 | 83.17 | 28.56 | 207.06 | 7 | 3.34 | 2.54 | 4.03 | 0.06 | 0 | 6.89 | 888.6 | 126.64 | 0.02 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Geom.Mean | 56.33 | 0.18 | 1.72 | 76.51 | 27.26 | 167.43 | 6.52 | 3 | 2.37 | 2.17 | 0.06 | 0 | 3.43 | 888.4 | 105.95 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 1.7 | 0.11 | 0 | 4.87 | 1.09 | 23.79 | 0.48 | 0.39 | 0.15 | 1.64 | 0 | 0 | 2.32 | 0.19 | 26.81 | 0.01 | 0 | 0 | 0 | 0 | 0
Mode | 54 | 0.21 | 1.72 | 83.17 | 25.63 | 207.06 | 7 | 3.17 | 2.45 | 0.36 | 0.06 | 0 | 6.89 | 888.09 | 119.29 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 57 | 0.22 | 1.72 | 78.74 | 27.85 | 161.08 | 7 | 3.17 | 2.45 | 3.56 | 0.06 | 0 | 4.13 | 888.51 | 119.29 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Total Data Points | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Data Availability % | 75 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0