## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 31 |  |  |  | Date : 31/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 31/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.18 | 7.87 | 99.5 | 21.72 | 252.4 | NA | 3.67 | 2.73 | 0 | 0.06 | 0 | 17.14 | 888.1 | 22.04 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.21 | 7.94 | 99.5 | 22.58 | 250.6 | NA | 3.33 | 2.59 | 0 | 0.06 | 0 | 11.92 | 888.18 | 48.54 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.36 | 7.97 | 90.64 | 25.41 | 200.42 | NA | 3.2 | 2.3 | 0 | 0.06 | 0 | 9.43 | 887.99 | 138.29 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0 | 8.08 | 77.1 | 27.85 | 147.72 | NA | 3.17 | 2.82 | 0 | 0.06 | 0 | 10.83 | 887.42 | 117.26 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0 | 8.12 | 80.57 | 27.66 | 102.98 | NA | 3.26 | 2.78 | 0 | 0.06 | 0 | 15.81 | 886.85 | 56.38 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.13 | 8.33 | 82.29 | 27.59 | 189.62 | NA | 3.11 | 2.48 | 0 | 0.06 | 0 | 10.02 | 885.97 | 74.43 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.21 | 8.19 | 87.33 | 26.11 | 166.21 | NA | 3.24 | 2.53 | 0 | 0.06 | 0 | 11.17 | 885.02 | 49.69 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0 | 8.29 | 86.44 | 26.36 | 203.36 | NA | 3.1 | 2.78 | 0 | 0.06 | 0 | 6.12 | 884.46 | 43.69 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.1 | 8.29 | 82.19 | 27.69 | 204.01 | NA | 3.2 | 2.51 | 0 | 0.06 | 0 | 12.93 | 884.08 | 48.94 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.13 | 8.36 | 90.96 | 25.26 | 201.76 | NA | 3.2 | 2.55 | 0 | 0.06 | 0 | 11.94 | 884.25 | 5.92 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.05 | 8.33 | 97.04 | 23.27 | 220.46 | NA | 3.15 | 2.56 | 0 | 0.06 | 0.26 | 14.54 | 884.98 | 0 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.21 | 8.22 | 99.4 | 21.69 | 257.75 | NA | 3.51 | 2.63 | 0 | 0.06 | 0.1 | 10.84 | 885.5 | 0 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.28 | 8.22 | 99.5 | 21.94 | 264.01 | NA | 3.22 | 2.48 | 0 | 0.06 | 0.01 | 13.68 | 886.22 | 0 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.15 | 8.22 | 99.5 | 21.95 | 250.32 | NA | 3.26 | 2.61 | 0 | 0.06 | 0 | 15.67 | 886.7 | 0 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.05 | 8.15 | 99.5 | 21.86 | 248.94 | NA | 3.06 | 2.53 | 0 | 0.06 | 0 | 13.29 | 887.12 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.21 | 8.19 | 99.5 | 21.83 | 254.41 | NA | 3.38 | 2.55 | 0 | 0.06 | 0.15 | 14.75 | 886.84 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.21 | 8.22 | 99.5 | 21.77 | 255.34 | NA | 3.22 | 2.6 | 0 | 0.06 | 0.04 | 21.84 | 886.27 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.15 | 8.19 | 99.5 | 21.73 | 261.75 | NA | 3.33 | 2.63 | 0 | 0.06 | 0 | 21.18 | 886.11 | 0 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.1 | 8.05 | 99.5 | 21.81 | 252.47 | NA | 3.22 | 2.6 | 0 | 0.06 | 0 | 18.11 | 885.91 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.1 | 8.08 | 99.5 | 21.64 | 257.08 | NA | 3.26 | 2.73 | 0 | 0.06 | 0 | 17.34 | 885.67 | 0 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.15 | 8.08 | 99.5 | 21.62 | 253.62 | NA | 3.15 | 2.55 | 0 | 0.06 | 0 | 17.73 | 885.02 | 0 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.54 | 7.97 | 99.5 | 21.56 | 250.52 | NA | 3.26 | 2.24 | 0 | 0.06 | 0 | 17.71 | 885.15 | 0 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.31 | 8.01 | 99.5 | 21.72 | 254.7 | NA | 3.44 | 2.56 | 0 | 0.06 | 0 | 21.4 | 885.21 | 10.81 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.05 | 8.12 | 98.78 | 23.46 | 233.57 | NA | 3.04 | 2.54 | 0 | 0.06 | 0 | 8.65 | 885.54 | 66.27 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.18 | 7.97 | 86.28 | 26.18 | 176.49 | NA | 3.33 | 2.56 | 0 | 0.06 | 0 | 10.24 | 885.98 | 88.03 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.16 | 8.14 | 94.1 | 23.69 | 224.42 | NA | 3.25 | 2.58 | 0 | 0.06 | 0.02 | 14.17 | 886.02 | 30.81 | 1.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0 | 7.87 | 77.1 | 21.56 | 102.98 | NA | 3.04 | 2.24 | 0 | 0.06 | 0 | 6.12 | 884.08 | 0 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.54 | 8.36 | 99.5 | 27.85 | 264.01 | NA | 3.67 | 2.82 | 0 | 0.06 | 0.26 | 21.84 | 888.18 | 138.29 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.16 | 8.14 | 94.1 | 23.69 | 224.42 | NA | 3.25 | 2.58 | 0 | 0.06 | 0.02 | 14.17 | 886.02 | 30.81 | 1.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.15 | 8.15 | 99.5 | 21.95 | 250.32 | NA | 3.22 | 2.56 | 0 | 0.06 | 0 | 13.68 | 885.97 | 5.92 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.21 | 8.22 | 99.5 | 21.72 | 257.75 | NA | 3.26 | 2.55 | 0 | 0.06 | 0 | 6.12 | 885.02 | 0 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.12 | 0.13 | 7.58 | 2.41 | 42.11 | NA | 0.14 | 0.13 | 0 | 0 | 0.06 | 4.18 | 1.16 | 40.71 | 0.21 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0