## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 21 |  |  |  | Date : 21/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 21/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 10.13 | 0.14 | 1.72 | 0 | 0 | 0 | 0 | 3.14 | 2.43 | 0.43 | 0.06 | 0 | 0 | 0 | 0 | 0.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 20 | 0.17 | 1.72 | 0 | 0 | 0 | 0 | 3.22 | 2.52 | 0.01 | 0.06 | 0 | 0 | 0 | 0 | 0.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 24.69 | 0.21 | 1.72 | 0 | 0 | 0 | 0 | 3.31 | 2.61 | 0.19 | 0.06 | 0 | 0 | 0 | 0 | 1.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 30.7 | 0.18 | 1.72 | 76.15 | 27.12 | 133.1 | 0 | 3.22 | 2.57 | 3.15 | 0.06 | 0.03 | 4.92 | 887.72 | 0 | 14.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 21 | 0.17 | 1.72 | 74.2 | 27.74 | 229.91 | 0 | 3.07 | 2.43 | 5.02 | 0.06 | 0.02 | 15.41 | 837.7 | 130.63 | 12.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 24 | 0.13 | 1.72 | 75.75 | 27.57 | 234.79 | 5 | 3.21 | 2.6 | 1.79 | 0.06 | 0 | 5.5 | 886.55 | 144.42 | 0.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 21 | 0.18 | 1.72 | 88.56 | 22.9 | 198.63 | 3 | 3.09 | 2.43 | 2.24 | 0.06 | 0.29 | 11.23 | 886.38 | 11.85 | 0.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 20.04 | 0.25 | 1.72 | 97.39 | 19.53 | 247.65 | 0.12 | 3.15 | 2.47 | 1.17 | 0.06 | 0.39 | 20.16 | 886.38 | 0.01 | 0.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 12 | 0.19 | 1.72 | 98.89 | 19.8 | 243.86 | 1 | 3.26 | 2.46 | 0.11 | 0.06 | 0.1 | 23.49 | 885.54 | 49.72 | 0.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 15 | 0.21 | 1.72 | 98.58 | 19.65 | 215.39 | 2 | 3.21 | 2.44 | 0 | 0.06 | 0 | 11.51 | 884.85 | 36.9 | 1.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 11 | 0.21 | 1.72 | 87.83 | 20.16 | 214.56 | 1 | 3.31 | 2.57 | 0.07 | 0.06 | 0 | 8.4 | 884.32 | 3.62 | 4.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 11 | 0.17 | 1.72 | 81.96 | 20.97 | 206.3 | 0 | 3.3 | 2.53 | 0.01 | 0.06 | 0 | 7.21 | 884.95 | 0 | 3.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 26 | 0.29 | 1.72 | 80.36 | 21.77 | 215.43 | 0 | 3.33 | 2.52 | 0 | 0.06 | 0 | 6.98 | 885.96 | 0 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 15.48 | 0.23 | 1.72 | 86.94 | 21.57 | 204.06 | 2.88 | 3.2 | 2.47 | 0 | 0.06 | 0 | 6.92 | 886.66 | 0 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 13 | 0.19 | 1.72 | 87.56 | 21.42 | 204.44 | 4 | 3.26 | 2.56 | 0 | 0.06 | 0 | 8.36 | 886.5 | 0 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 13.96 | 0.17 | 1.72 | 91.38 | 21.56 | 230.58 | 4 | 3.2 | 2.51 | 0 | 0.06 | 0 | 8.54 | 886.87 | 0 | 0.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 9 | 0.17 | 1.72 | 93.96 | 21.52 | 201.58 | 1 | 3.19 | 2.52 | 0 | 0.06 | 0 | 10.02 | 887.07 | 0 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 9 | 0.34 | 1.72 | 96.79 | 21.15 | 215.03 | 0 | 3.23 | 2.42 | 0 | 0.06 | 0 | 12.25 | 886.32 | 0 | 0.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 7 | 0.13 | 1.72 | 98.25 | 21.05 | 196.35 | 0 | 3.16 | 2.49 | 0.17 | 0.06 | 0 | 17.52 | 885.15 | 0 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 9 | 0.16 | 1.72 | 98.42 | 21.1 | 218.27 | 0 | 3.11 | 2.43 | 1.05 | 0.06 | 0 | 11.64 | 884.87 | 0 | 0.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 9 | 0.19 | 1.72 | 97.92 | 21.2 | 215.36 | 0 | 3.13 | 2.42 | 0 | 0.06 | 0 | 9.35 | 885.1 | 0 | 0.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 11 | 0.21 | 1.72 | 96.4 | 21.1 | 230.59 | 0 | 3.19 | 2.45 | 0 | 0.06 | 0 | 11.17 | 885.52 | 0.13 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 6 | 0.13 | 1.68 | 95.51 | 21.4 | 219.09 | 0 | 3.07 | 2.5 | 0 | 0.06 | 0 | 11.12 | 885.69 | 13.33 | 0.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 5 | 0.15 | 1.71 | 94.43 | 21.75 | 201.3 | 0 | 3.05 | 2.42 | 0 | 0.06 | 0 | 13.29 | 885.51 | 42.61 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 14.75 | 0.19 | 1.72 | 90.34 | 22 | 213.16 | 1 | 3.19 | 2.49 | 0.64 | 0.06 | 0.04 | 11.19 | 883.6 | 21.66 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 5 | 0.13 | 1.68 | 74.2 | 19.53 | 133.1 | 0 | 3.05 | 2.42 | 0 | 0.06 | 0 | 4.92 | 837.7 | 0 | 0.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 30.7 | 0.34 | 1.72 | 98.89 | 27.74 | 247.65 | 5 | 3.33 | 2.61 | 5.02 | 0.06 | 0.39 | 23.49 | 887.72 | 144.42 | 14.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 14.75 | 0.19 | 1.72 | 90.34 | 22 | 213.16 | 1 | 3.19 | 2.49 | 0.64 | 0.06 | 0.04 | 11.19 | 883.6 | 21.66 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6.89 | 0.05 | 0.01 | 8.12 | 2.36 | 22.84 | 1.55 | 0.08 | 0.06 | 1.23 | 0 | 0.1 | 4.61 | 10.3 | 41.54 | 3.65 | 0 | 0 | 0 | 0 | 0
Mode | 9 | 0.17 | 1.72 | 76.15 | 21.1 | 133.1 | 0 | 3.22 | 2.43 | 0 | 0.06 | 0 | 4.92 | 886.38 | 0 | 0.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 13 | 0.18 | 1.72 | 93.96 | 21.4 | 215.36 | 0 | 3.2 | 2.49 | 0.01 | 0.06 | 0 | 11.12 | 885.69 | 0.01 | 0.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 21 | 21 | 21 | 24 | 24 | 24 | 24 | 24 | 21 | 21 | 21 | 20 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 87 | 87 | 87 | 100 | 100 | 100 | 100 | 100 | 87 | 87 | 87 | 83 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0