## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 7 |  |  |  | Date : 07/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 07/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 37 | 0.18 | 4.3 | 86.09 | 24.97 | 175.36 | 3 | 3.15 | 2.46 | 2.19 | 0.06 | 0 | 6.7 | 887.08 | 81.76 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 40 | 0.16 | 4.31 | 77.56 | 27.17 | 177.9 | 5.93 | 3.19 | 2.5 | 2.64 | 0.06 | 0 | 6.23 | 887.38 | 96.66 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 36.07 | 0.15 | 4.38 | 74.93 | 27.76 | 191.12 | 4.03 | 3.23 | 2.51 | 2.52 | 0.06 | 0 | 6.53 | 887.13 | 95.22 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 42.88 | 0.12 | 4.4 | 78.1 | 27.18 | 190.82 | 3.02 | 3.07 | 2.49 | 2.61 | 0.06 | 0 | 16.87 | 886.7 | 65.11 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 49 | 0.23 | 4.54 | 77.17 | 27.73 | 173.73 | 6 | 3.27 | 2.49 | 3.38 | 0.06 | 0 | 7.43 | 886.18 | 83.2 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 62 | 0.16 | 4.51 | 76.47 | 28.18 | 179.6 | 5 | 3.23 | 2.56 | 2.14 | 0.06 | 0 | 17.27 | 885.53 | 122.01 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 50.2 | 0.17 | 4.54 | 72.92 | 29.5 | 174.9 | 3.02 | 3.29 | 2.59 | 2.28 | 0.06 | 0 | 24.27 | 884.82 | 146.6 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 49.02 | 0.19 | 4.58 | 76.01 | 28.7 | 176.31 | 5.95 | 3.28 | 2.55 | 2.8 | 0.06 | 0 | 38.27 | 884.13 | 60.66 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 53.92 | 0.16 | 4.58 | 76.58 | 28.1 | 168.47 | 2.07 | 3.13 | 2.46 | 3.1 | 0.06 | 0 | 16.67 | 883.49 | 85.16 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 50.2 | 0.24 | 4.59 | 73.07 | 28.71 | 180.82 | 3.97 | 3.23 | 2.46 | 3.23 | 0.06 | 0 | 8.24 | 883.49 | 67.43 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 51.98 | 0.21 | 4.58 | 86.68 | 25.33 | 166.85 | 4.98 | 3.18 | 2.46 | 3.12 | 0.06 | 0 | 13.8 | 883.73 | 1.22 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 56.92 | 0.12 | 4.59 | 93.09 | 23.94 | 207.56 | 6.97 | 3.24 | 2.55 | 3.75 | 0.06 | 0 | 7.18 | 884.26 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 60 | 0.26 | 4.58 | 95.44 | 23.77 | 177.06 | 7 | 3.37 | 2.54 | 4.44 | 0.06 | 0 | 7.44 | 884.95 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 52 | 0.12 | 4.57 | 96.57 | 23.61 | 196.76 | 8 | 3.22 | 2.58 | 3.05 | 0.06 | 0 | 5.27 | 885.45 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 41 | 0.24 | 4.58 | 97.6 | 23.22 | 213.84 | 7 | 3.28 | 2.47 | 3.31 | 0.06 | 0 | 5.77 | 885.83 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 52.1 | 0.26 | 4.55 | 98.13 | 23.13 | 168.51 | 6 | 3.34 | 2.55 | 3.29 | 0.06 | 0 | 5.14 | 885.68 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 40.22 | 0.21 | 4.54 | 98.77 | 22.89 | 199.74 | 4.03 | 3.33 | 2.57 | 3 | 0.06 | 0 | 5.36 | 885.2 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 36 | 0.16 | 4.49 | 99.16 | 23.01 | 221.47 | 9 | 3.26 | 2.59 | 2.84 | 0.06 | 0 | 6.04 | 884.8 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 25.19 | 0.25 | 4.49 | 99.05 | 22.95 | 189.18 | 5.98 | 3.28 | 2.45 | 2.72 | 0.06 | 0 | 6.05 | 884.39 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 29 | 0.17 | 4.46 | 99.2 | 22.74 | 177.32 | 4 | 3.3 | 2.6 | 3.45 | 0.06 | 0.03 | 6.67 | 884.3 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 22 | 0.23 | 4.51 | 99.5 | 22.66 | 168.76 | 2 | 3.15 | 2.38 | 2.77 | 0.06 | 0.01 | 5.8 | 884.22 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 20.03 | 0.26 | 4.48 | 99.5 | 22.39 | 196.15 | 2.98 | 3.38 | 2.52 | 2.19 | 0.06 | 0 | 6.97 | 884.5 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 11 | 0.25 | 4.49 | 99.5 | 22 | 187.76 | 2 | 3.29 | 2.47 | 1.53 | 0.06 | 0 | 8.4 | 885 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 18.86 | 0.13 | 4.48 | 99.5 | 22.01 | 183.69 | 0.03 | 3.25 | 2.61 | 1.38 | 0.06 | 0.01 | 6.71 | 885.48 | 0.54 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 12.6 | 0.08 | 4.58 | 99.5 | 22.07 | 151.32 | 0 | 2.88 | 2.57 | 1.44 | 0.06 | 0 | 12.56 | 885.81 | 9.55 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 39.97 | 0.19 | 4.51 | 89.2 | 24.95 | 183.8 | 4.48 | 3.23 | 2.52 | 2.77 | 0.06 | 0 | 10.31 | 885.18 | 36.6 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 11 | 0.08 | 4.3 | 72.92 | 22 | 151.32 | 0 | 2.88 | 2.38 | 1.38 | 0.06 | 0 | 5.14 | 883.49 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 62 | 0.26 | 4.59 | 99.5 | 29.5 | 221.47 | 9 | 3.38 | 2.61 | 4.44 | 0.06 | 0.03 | 38.27 | 887.38 | 146.6 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 39.97 | 0.19 | 4.51 | 89.2 | 24.95 | 183.8 | 4.48 | 3.23 | 2.52 | 2.77 | 0.06 | 0 | 10.31 | 885.18 | 36.6 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 41 | 0.18 | 4.54 | 95.44 | 23.77 | 179.6 | 4.03 | 3.25 | 2.52 | 2.8 | 0.06 | 0 | 6.97 | 885 | 0.54 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 50.2 | 0.16 | 4.58 | 99.5 | 22.89 | 151.32 | 3.02 | 3.23 | 2.46 | 2.19 | 0.06 | 0 | 5.14 | 883.49 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 14.89 | 0.05 | 0.08 | 10.84 | 2.58 | 15.95 | 2.34 | 0.1 | 0.06 | 0.72 | 0 | 0.01 | 7.62 | 1.11 | 47.74 | 0 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0