## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 30 |  |  |  | Date : 30/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 30/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 185.08 | 0.02 | 87.53 | 0.37 | 0.26 | 0.01 | 0.01 | 26.4 | NA | 3.46 | 8.76 | 0.02 | 0 | 883.24 | NA | 2.54 | 0.06 | 0.01 | 11.95 | 45.28
07-08Hr | 0 | 157.5 | 0.02 | 82.59 | 0.37 | 0.03 | 0.01 | 0.01 | 28.08 | NA | 3.24 | 8.9 | 0.02 | 0 | 883.62 | NA | 2.63 | 0.06 | 0.01 | 17.83 | 61.87
08-09Hr | 0 | 200.72 | 0.02 | 74.96 | 6.86 | 0.15 | 0.01 | 0.01 | 29.99 | NA | 3.2 | 8.94 | 0.02 | 0 | 883.8 | NA | 2.54 | 0.06 | 0.01 | 12.97 | 144.18
09-10Hr | 0 | 180.18 | 0.02 | 65.33 | 1.72 | 0.31 | 0.01 | 0.01 | 32.14 | NA | 3.31 | 8.8 | 0.02 | 0 | 883.09 | NA | 2.45 | 0.06 | 0.01 | 10.87 | 157.25
10-11Hr | 0 | 207.75 | 0.02 | 68.21 | 0.62 | 0.16 | 0.01 | 0.01 | 31.94 | NA | 3.26 | 8.97 | 0.02 | 0 | 882.24 | NA | 2.6 | 0.06 | 0.01 | 14.73 | 115.69
11-12Hr | 0 | 212.74 | 0.02 | 68.24 | 0.26 | 0.15 | 0.01 | 0.01 | 31.8 | NA | 3.28 | 9.04 | 0.02 | 0 | 881.71 | NA | 2.65 | 0.06 | 0.01 | 8.41 | 128.9
12-13Hr | 0 | 189.26 | 0.02 | 73.34 | 0.16 | 0.21 | 0.01 | 0.01 | 30.39 | NA | 3.44 | 9.15 | 0.02 | 0 | 881.16 | NA | 2.6 | 0.06 | 0.01 | 8.83 | 51.51
13-14Hr | 0 | 186.01 | 0.02 | 81.54 | 0.4 | 0.15 | 0.01 | 0.01 | 28.2 | NA | 3.21 | 9.07 | 0.02 | 0 | 880.47 | NA | 2.45 | 0.06 | 0.01 | 7.61 | 42.43
14-15Hr | 0 | 176.62 | 0.02 | 71.57 | 0.7 | 0.31 | 0.01 | 0.01 | 31 | NA | 3.26 | 9.12 | 0.02 | 0 | 880.31 | NA | 2.55 | 0.06 | 0.01 | 9.01 | 98.74
15-16Hr | 0 | 214.93 | 0.02 | 76.55 | 0.37 | 0.31 | 0.01 | 0.01 | 29.29 | NA | 3.47 | 9.22 | 0.02 | 0 | 880.65 | NA | 2.61 | 0.06 | 0.01 | 10.06 | 22.78
16-17Hr | 0 | 182.29 | 0.02 | 88.27 | 0.45 | 0.23 | 0.01 | 0.01 | 25.5 | NA | 3.22 | 9.01 | 0.02 | 0 | 881.45 | NA | 2.56 | 0.06 | 0.01 | 9.52 | 0
17-18Hr | 0 | 190.08 | 0.02 | 95.16 | 0.7 | 0.23 | 0.01 | 0.01 | 23.15 | NA | 3.22 | 9.01 | 0.02 | 0 | 882.64 | NA | 2.38 | 0.06 | 0.01 | 13.16 | 0
18-19Hr | 0 | 201.29 | 0.02 | 91.2 | 0.94 | 0.2 | 0.01 | 0.01 | 23.3 | NA | 3.08 | 9.08 | 0.02 | 0 | 883.37 | NA | 2.36 | 0.06 | 0.01 | 12.02 | 0
19-20Hr | 0 | 158.82 | 0.02 | 90.62 | 0.13 | 0.1 | 0.01 | 0.01 | 22.98 | NA | 3.26 | 8.94 | 0.02 | 0 | 884.21 | NA | 2.63 | 0.06 | 0.01 | 13.93 | 0
20-21Hr | 0 | 196.3 | 0.02 | 91.84 | 0.62 | 0.15 | 0.01 | 0.01 | 22.75 | NA | 3.38 | 8.9 | 0.02 | 0 | 884.18 | NA | 2.7 | 0.06 | 0.01 | 12.51 | 0
21-22Hr | 0 | 188.3 | 0.02 | 94.61 | 1.1 | 0.28 | 0.01 | 0.01 | 21.98 | NA | 3.42 | 9.01 | 0.02 | 0 | 884.86 | NA | 2.56 | 0.06 | 0.01 | 10.77 | 0
22-23Hr | 0 | 206.25 | 0.02 | 98.54 | 1.9 | 0.03 | 0.01 | 0.01 | 20.78 | NA | 3.04 | 8.83 | 0.02 | 0.21 | 884.04 | NA | 2.53 | 0.06 | 0.01 | 17.39 | 0
23-00Hr | 0 | 255.1 | 0.02 | 95.92 | 2.63 | 0.13 | 0.01 | 0.01 | 20.16 | NA | 3.24 | 8.9 | 0.02 | 0.15 | 882.89 | NA | 2.55 | 0.06 | 0.01 | 9.25 | 0
00-01Hr | 0 | 268.42 | 0.02 | 96.21 | 1.82 | 0.08 | 0.01 | 0.01 | 20.22 | NA | 2.99 | 8.8 | 0.02 | 0.03 | 882.54 | NA | 2.48 | 0.06 | 0.01 | 9.07 | 0
01-02Hr | 0 | 247.04 | 0.02 | 96.28 | 2.3 | 0.28 | 0.01 | 0.01 | 20.1 | NA | 3.26 | 8.87 | 0.02 | 0.01 | 882.2 | NA | 2.43 | 0.06 | 0.01 | 14.25 | 0
02-03Hr | 0 | 234.33 | 0.02 | 96.69 | 2.47 | 0.31 | 0.01 | 0.01 | 20.63 | NA | 3.44 | 8.9 | 0.02 | 0.04 | 883.07 | NA | 2.58 | 0.06 | 0.01 | 13.24 | 0
03-04Hr | 0 | 267.3 | 0.02 | 96.86 | 2.01 | 0.18 | 0.01 | 0.01 | 20.91 | NA | 3.29 | 8.69 | 0.02 | 0.01 | 883.51 | NA | 2.72 | 0.06 | 0.01 | 11.87 | 0
04-05Hr | 0 | 237.02 | 0.02 | 96.55 | 1.98 | 0.41 | 0.01 | 0.01 | 21.11 | NA | 3.49 | 8.58 | 0.02 | 0 | 883.82 | NA | 2.43 | 0.06 | 0.01 | 14.35 | 0.19
05-06Hr | 0 | 186.52 | 0.02 | 95.08 | 2.14 | 0.2 | 0.01 | 0.01 | 21.61 | NA | 3.42 | 8.69 | 0.02 | 0 | 884.54 | NA | 2.63 | 0.06 | 0.01 | 14.9 | 5.01
06-07hr | 0 | 222.25 | 0.02 | 93.59 | 1.96 | 0.32 | 0.01 | 0.01 | 22.36 | NA | 3.42 | 8.79 | 0.02 | 0 | 885.28 | NA | 2.47 | 0.06 | 0.01 | 19.26 | 22.79
Avg | 0 | 206.08 | 0.02 | 86.69 | 1.4 | 0.21 | 0.01 | 0.01 | 25.07 | NA | 3.29 | 8.92 | 0.02 | 0.02 | 882.92 | NA | 2.55 | 0.06 | 0.01 | 12.31 | 35.86
Min | 0 | 157.5 | 0.02 | 65.33 | 0.13 | 0.03 | 0.01 | 0.01 | 20.1 | NA | 2.99 | 8.58 | 0.02 | 0 | 880.31 | NA | 2.36 | 0.06 | 0.01 | 7.61 | 0
Max | 0 | 268.42 | 0.02 | 98.54 | 6.86 | 0.41 | 0.01 | 0.01 | 32.14 | NA | 3.49 | 9.22 | 0.02 | 0.21 | 885.28 | NA | 2.72 | 0.06 | 0.01 | 19.26 | 157.25
Geom.Mean | 0 | 206.08 | 0.02 | 86.69 | 1.4 | 0.21 | 0.01 | 0.01 | 25.07 | NA | 3.29 | 8.92 | 0.02 | 0.02 | 882.92 | NA | 2.55 | 0.06 | 0.01 | 12.31 | 35.86
Median | 0 | 200.72 | 0.02 | 91.2 | 0.94 | 0.2 | 0.01 | 0.01 | 23.15 | NA | 3.26 | 8.9 | 0.02 | 0 | 883.09 | NA | 2.55 | 0.06 | 0.01 | 12.02 | 0.19
Mode | 0 | 267.3 | 0.02 | 65.33 | 0.37 | 0.31 | 0.01 | 0.01 | 20.78 | NA | 3.26 | 8.9 | 0.02 | 0 | 880.31 | NA | 2.63 | 0.06 | 0.01 | 7.61 | 0
Std.Deviation | 0 | 30.81 | 0 | 10.91 | 1.41 | 0.1 | 0 | 0 | 4.37 | NA | 0.13 | 0.16 | 0 | 0.05 | 1.37 | NA | 0.09 | 0 | 0 | 3.08 | 51.84
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0