## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-01-01 | Station Name : |  | Sikulpuikawn |  |  | JANUARY
Report No |  | 1 |  |  |  | Date : 01/01/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 01/01/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 43 | 0.02 | 2.57 | 80.18 | 16.95 | 222.54 | 11.08 | 0.71 | 1 | 10.35 | 0.06 | 0 | 13.07 | 889.97 | 27.86 | 7.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 43 | 0.01 | 2.57 | 66.5 | 20.55 | 231.33 | 10.04 | 0.73 | 1.16 | 11.12 | 0.06 | 0 | 10.57 | 890.57 | 98.53 | 5.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 40 | 0 | 2.57 | 59.89 | 21.71 | 218.84 | 8.08 | 0.65 | 1.06 | 12.25 | 0.06 | 0 | 11.46 | 890.51 | 219.55 | 5.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 36 | 0.08 | 2.57 | 60.45 | 22.06 | 219.46 | 4.17 | 0.8 | 0.97 | 9.3 | 0.06 | 0 | 9.47 | 889.97 | 251.12 | 5.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 33 | 0.01 | 2.57 | 60.3 | 22.02 | 213.67 | 7 | 0.79 | 1.02 | 5.52 | 0.06 | 0 | 14.85 | 888.93 | 201.79 | 5.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 29 | 0 | 2.57 | 56.78 | 22.5 | 206.02 | 4.12 | 0.68 | 1.12 | 5.77 | 0.06 | 0 | 8.61 | 888.36 | 247.91 | 7.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 20 | 0.03 | 2.57 | 52.32 | 23.74 | 224.9 | 1 | 0.96 | 1.16 | 6.44 | 0.06 | 0 | 10.83 | 887.78 | 218.2 | 7.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 25 | 0.03 | 2.57 | 51.43 | 23.88 | 221.09 | 2.92 | 0.8 | 1 | 5.15 | 0.06 | 0 | 11.4 | 887.19 | 158.78 | 6.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 24 | 0.01 | 2.57 | 65.24 | 19.99 | 209.08 | 2.04 | 0.64 | 0.94 | 3.06 | 0.06 | 0 | 10.18 | 887.15 | 29.85 | 5.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 28 | 0.01 | 2.57 | 76.16 | 17.94 | 214.38 | 1.04 | 0.65 | 1.03 | 2.83 | 0.06 | 0 | 10.96 | 887.55 | 7.94 | 5.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 30 | 0.01 | 2.57 | 88.65 | 16.01 | 218.47 | 1 | 0.61 | 0.93 | 2.68 | 0.06 | 0 | 10.83 | 888.04 | 0 | 5.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 45 | 0.02 | 2.57 | 91.05 | 15.57 | 192.89 | 3 | 0.61 | 1.05 | 2.98 | 0.06 | 0 | 15.39 | 888.53 | 0 | 5.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 43 | 0.02 | 2.57 | 94.86 | 15.05 | 210.29 | 3.96 | 0.74 | 1 | 3.1 | 0.06 | 0 | 18.89 | 889.12 | 0 | 4.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 50 | 0.03 | 2.55 | 95.59 | 14.78 | 218.76 | 6 | 0.63 | 0.99 | 3.76 | 0.06 | 0 | 20.34 | 889.47 | 0 | 4.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 54 | 0.01 | 2.57 | 95.66 | 14.65 | 221.01 | 11 | 1 | 1.2 | 3.98 | 0.06 | 0 | 19.45 | 889.59 | 0 | 4.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 42 | 0 | 2.57 | 97.66 | 14.34 | 223.01 | 6 | 0.64 | 1.03 | 6.48 | 0.06 | 0 | 29.7 | 889.26 | 0 | 5.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 38 | 0 | 2.57 | 94.86 | 14.44 | 215.35 | 4 | 0.68 | 1.14 | 9.43 | 0.06 | 0 | 19.96 | 889.09 | 0 | 6.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 35 | 0 | 2.57 | 89.92 | 14.43 | 213.64 | 3 | 0.68 | 0.93 | 9.31 | 0.06 | 0 | 15.79 | 888.85 | 0 | 6.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 28 | 0 | 2.57 | 91.42 | 14.18 | 218.36 | 8 | 0.62 | 1.08 | 8.63 | 0.06 | 0 | 17.21 | 888.38 | 0 | 6.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 23 | 0.03 | 2.57 | 90.37 | 14.49 | 208.13 | 5 | 0.74 | 1.04 | 8.15 | 0.06 | 0 | 17.01 | 888.03 | 0 | 6.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 20 | 0.02 | 2.57 | 90.87 | 14.32 | 215.6 | 1 | 0.66 | 1.02 | 7.76 | 0.06 | 0 | 19.85 | 887.99 | 0 | 5.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 18 | 0.01 | 2.57 | 92.04 | 14.16 | 212.91 | 2 | 0.65 | 1.05 | 7.72 | 0.06 | 0 | 18.59 | 887.98 | 0 | 6.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 20 | 0 | 2.57 | 93.39 | 13.77 | 208.43 | 2 | 0.55 | 1.03 | 7.5 | 0.06 | 0 | 19.29 | 888.51 | 0 | 6.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 23 | 0.02 | 2.57 | 90.46 | 14.42 | 215.61 | 2 | 0.73 | 1.06 | 9.19 | 0.06 | 0 | 14.6 | 889.21 | 34.7 | 5.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 32.92 | 0.02 | 2.57 | 80.25 | 17.33 | 215.57 | 4.56 | 0.71 | 1.04 | 6.77 | 0.06 | 0 | 15.35 | 888.75 | 62.34 | 5.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 18 | 0 | 2.55 | 51.43 | 13.77 | 192.89 | 1 | 0.55 | 0.93 | 2.68 | 0.06 | 0 | 8.61 | 887.15 | 0 | 4.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 54 | 0.08 | 2.57 | 97.66 | 23.88 | 231.33 | 11.08 | 1 | 1.2 | 12.25 | 0.06 | 0 | 29.7 | 890.57 | 251.12 | 7.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 32.92 | 0.02 | 2.57 | 80.25 | 17.33 | 215.57 | 4.56 | 0.71 | 1.04 | 6.77 | 0.06 | 0 | 15.35 | 888.75 | 62.34 | 5.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 10.19 | 0.02 | 0 | 15.86 | 3.53 | 7.5 | 3.12 | 0.1 | 0.07 | 2.82 | 0 | 0 | 4.83 | 0.94 | 92.56 | 0.77 | 0 | 0 | 0 | 0 | 0
Mode | 43 | 0.01 | 2.57 | 94.86 | 16.95 | 222.54 | 1 | 0.65 | 1 | 10.35 | 0.06 | 0 | 10.83 | 889.97 | 0 | 5.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 33 | 0.01 | 2.57 | 90.37 | 15.57 | 215.61 | 4 | 0.68 | 1.03 | 7.5 | 0.06 | 0 | 15.39 | 888.85 | 0 | 5.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0