## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 10 |  |  |  | Date : 10/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 10/09/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.1 | 8.15 | 97.9 | 23.46 | 203.71 | NA | 3.4 | 2.85 | 0 | 0.06 | 0 | 10.43 | 887.18 | 27.14 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.05 | 8.11 | 92.38 | 24.56 | 145.45 | NA | 3.24 | 2.61 | 0 | 0.06 | 0 | 13.86 | 887.41 | 26.24 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.33 | 8.15 | 85.72 | 26.58 | 181.63 | NA | 3.24 | 2.45 | 0 | 0.06 | 0 | 10.21 | 887.26 | 125.99 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.13 | 8.22 | 87 | 25.88 | 192.94 | NA | 2.9 | 2.39 | 0 | 0.06 | 0.01 | 8.4 | 887.15 | 26.43 | 7.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.15 | 8.15 | 93.54 | 24.09 | 214.11 | NA | 3.08 | 2.5 | 0 | 0.06 | 0 | 7.41 | 886.44 | 9.8 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.03 | 8.19 | 94.29 | 24.17 | 202 | NA | 3.26 | 2.68 | 0 | 0.06 | 0 | 13.47 | 885.46 | 49.37 | 1.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.39 | 8.22 | 79.87 | 28.28 | 168.4 | NA | 3.49 | 2.48 | 0 | 0.06 | 0 | 10.81 | 884.61 | 114.33 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.1 | 8.29 | 71.15 | 30.32 | 179.85 | NA | 3.22 | 2.73 | 0 | 0.06 | 0 | 9.27 | 884.1 | 111.76 | 11.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.31 | 8.36 | 82.95 | 26.7 | 191.82 | NA | 3.6 | 2.66 | 0 | 0.06 | 0 | 8.26 | 883.71 | 32.76 | 1.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.16 | 8.36 | 89.13 | 24.41 | 205.79 | NA | 3.44 | 2.68 | 0 | 0.06 | 0 | 6.55 | 883.07 | 9.5 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.27 | 8.34 | 95.9 | 22.64 | 194.67 | NA | 3.09 | 2.34 | 0 | 0.06 | 0 | 11.27 | 883.14 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.02 | 8.29 | 97.5 | 22.66 | 156.33 | NA | 3.13 | 2.61 | 0 | 0.06 | 0 | 12.64 | 883.56 | 0 | 1.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.28 | 8.27 | 98.84 | 22.43 | 198.27 | NA | 3.26 | 2.47 | 0 | 0.06 | 0 | 13.39 | 884.9 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.1 | 8.35 | 96.56 | 22.73 | 197.79 | NA | 3.4 | 2.71 | 0 | 0.06 | 0 | 10.35 | 885.95 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.27 | 8.29 | 96.94 | 22.51 | 188.52 | NA | 3.49 | 2.65 | 0 | 0.06 | 0 | 10.47 | 886.21 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.25 | 8.32 | 97.05 | 21.98 | 210.69 | NA | 3.22 | 2.51 | 0 | 0.06 | 0 | 12.28 | 886.1 | 0 | 1.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.33 | 8.23 | 96.54 | 21.97 | 195.6 | NA | 3.44 | 2.61 | 0 | 0.06 | 0 | 12.06 | 885.67 | 0 | 1.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.18 | 8.22 | 97.55 | 21.76 | 209.69 | NA | 3.22 | 2.56 | 0 | 0.06 | 0 | 13.02 | 885.31 | 0 | 1.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.36 | 8.29 | 97.74 | 21.75 | 201.73 | NA | 3.33 | 2.43 | 0 | 0.06 | 0 | 15.86 | 884.69 | 0 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.05 | 8.22 | 97.79 | 21.58 | 191.5 | NA | 3.13 | 2.48 | 0 | 0.06 | 0 | 14.63 | 884.39 | 0 | 1.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.31 | 8.15 | 99.07 | 21.44 | 225.25 | NA | 3.74 | 2.75 | 0 | 0.06 | 0 | 15.17 | 884.66 | 0 | 1.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.1 | 8.15 | 98.93 | 21.72 | 193.62 | NA | 3.35 | 2.76 | 0 | 0.06 | 0 | 15.79 | 885.17 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.15 | 8.22 | 99.07 | 21.91 | 195.4 | NA | 2.99 | 2.35 | 0 | 0.06 | 0 | 18.26 | 885.57 | 0.55 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.31 | 8.26 | 96.5 | 23.05 | 179.82 | NA | 3.33 | 2.5 | 0 | 0.06 | 0 | 15.03 | 886.14 | 13.76 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0 | 8.29 | 91.18 | 23.94 | 160.38 | NA | 2.88 | 2.14 | 0 | 0.06 | 0 | 7.59 | 886.53 | 22.14 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.19 | 8.24 | 93.24 | 23.7 | 191.4 | NA | 3.27 | 2.56 | 0 | 0.06 | 0 | 11.86 | 885.38 | 22.79 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0 | 8.11 | 71.15 | 21.44 | 145.45 | NA | 2.88 | 2.14 | 0 | 0.06 | 0 | 6.55 | 883.07 | 0 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.39 | 8.36 | 99.07 | 30.32 | 225.25 | NA | 3.74 | 2.85 | 0 | 0.06 | 0.01 | 18.26 | 887.41 | 125.99 | 11.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.19 | 8.24 | 93.24 | 23.7 | 191.4 | NA | 3.27 | 2.56 | 0 | 0.06 | 0 | 11.86 | 885.38 | 22.79 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.16 | 8.23 | 96.54 | 22.73 | 194.67 | NA | 3.26 | 2.56 | 0 | 0.06 | 0 | 12.06 | 885.46 | 0.55 | 1.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.1 | 8.15 | 99.07 | 21.97 | 145.45 | NA | 3.22 | 2.61 | 0 | 0.06 | 0 | 6.55 | 883.14 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.12 | 0.07 | 7.04 | 2.29 | 18.58 | NA | 0.21 | 0.16 | 0 | 0 | 0 | 3.03 | 1.29 | 38.16 | 2.33 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0