## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 22 |  |  |  | Date : 22/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 22/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 5.02 | 0.17 | 6.03 | 97.39 | 25.01 | 191.29 | 0 | 3.25 | 2.57 | 0 | 0.06 | 0 | 6.93 | 881.51 | 37.47 | 1.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 17.78 | 0.14 | 6.05 | 86.88 | 26.05 | 180.05 | 0 | 3.15 | 2.5 | 0 | 0.06 | 0 | 5.11 | 882.06 | 50.98 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 18 | 0.11 | 6.06 | 84.41 | 26.9 | 200.56 | 0 | 3.26 | 2.6 | 0 | 0.06 | 0 | 12.34 | 881.93 | 40.91 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 24.88 | 0.15 | 6.11 | 85.67 | 26.42 | 187.22 | 0 | 3.29 | 2.61 | 0 | 0.06 | 0.02 | 12.12 | 881.54 | 74.84 | 2.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 21.07 | 0.15 | 6.14 | 81 | 27.95 | 187.14 | 0 | 3.09 | 2.45 | 0 | 0.06 | 0 | 7.06 | 880.82 | 110.74 | 2.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 19.03 | 0.19 | 6.27 | 77.76 | 29.51 | 169.07 | 0 | 3.21 | 2.56 | 0 | 0.06 | 0 | 15.76 | 880 | 106.86 | 2.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 44.57 | 0.22 | 6.22 | 79.27 | 28.89 | 153.6 | 0 | 3.2 | 2.44 | 0 | 0.06 | 0 | 7.03 | 878.96 | 105.62 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 20.42 | 0.12 | 6.25 | 79.89 | 28.26 | 192.28 | 0 | 3.11 | 2.52 | 0 | 0.06 | 0 | 7.34 | 878.11 | 45.22 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 32.78 | 0.23 | 6.31 | 77.57 | 29.53 | 183.55 | 0 | 3.2 | 2.46 | 0 | 0.06 | 0 | 4.43 | 877.51 | 63.41 | 2.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 29.57 | 0.16 | 6.42 | 83.78 | 27.94 | 170.2 | 6.42 | 3.19 | 2.5 | 0 | 0.06 | 0 | 7.05 | 877.23 | 24.55 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 24.1 | 0.25 | 6.33 | 91.51 | 26.14 | 197.76 | 1.5 | 3.33 | 2.56 | 0 | 0.06 | 0 | 8.47 | 877.59 | 5.4 | 1.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 29.9 | 0.21 | 6.28 | 96.91 | 24.87 | 162.82 | 0.08 | 3.26 | 2.53 | 0 | 0.06 | 0 | 7.24 | 878.16 | 0 | 1.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 33.93 | 0.25 | 6.29 | 99.23 | 24.38 | 155.84 | 0 | 3.21 | 2.48 | 0 | 0.06 | 0 | 9.97 | 878.91 | 0 | 2.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 17.28 | 0.33 | 6.19 | 99.5 | 24.25 | 150.8 | 0 | 3.4 | 2.51 | 0 | 0.06 | 0 | 10.55 | 879.54 | 0 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 19.95 | 0.24 | 6.2 | 99.49 | 24.39 | 197.72 | 0 | 3.26 | 2.51 | 0 | 0.06 | 0 | 6.03 | 879.82 | 0 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 30.82 | 0.29 | 6.22 | 99.31 | 23.23 | 217.73 | 0 | 3.29 | 2.49 | 0 | 0.06 | 0.04 | 8.35 | 879.88 | 0 | 2.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 4.45 | 0.17 | 6.2 | 99.5 | 22.96 | 140.58 | 0 | 3.18 | 2.55 | 0 | 0.06 | 0.39 | 34.02 | 879.71 | 0 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 1 | 0.18 | 6.11 | 99.5 | 23.03 | 108.78 | 0 | 3.23 | 2.53 | 0 | 0.06 | 0.03 | 38.81 | 879.2 | 0 | 2.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 1 | 0.16 | 6.1 | 99.5 | 22.78 | 111.23 | 0 | 3.09 | 2.46 | 0 | 0.06 | 0 | 36.77 | 878.67 | 0 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 4.93 | 0.17 | 6.03 | 99.5 | 22.68 | 108.52 | 0 | 3.26 | 2.55 | 0 | 0.06 | 0 | 37.27 | 878.24 | 0 | 2.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 12.86 | 0.23 | 6.06 | 99.5 | 22.63 | 118.93 | 0 | 3.35 | 2.57 | 0 | 0.06 | 0 | 36.44 | 878 | 0 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 7 | 0.14 | 6.01 | 99.5 | 22.33 | 121.17 | 0 | 3.09 | 2.46 | 0 | 0.06 | 0 | 35.84 | 877.99 | 0 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 8 | 0.2 | 6.04 | 99.5 | 22.61 | 119.83 | 0 | 3.31 | 2.59 | 0 | 0.06 | 0 | 33.95 | 878.24 | 3.25 | 2.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 10.83 | 0.17 | 6.03 | 99.5 | 23.15 | 119.95 | 0 | 3.31 | 2.61 | 0 | 0.06 | 0 | 40.74 | 878.8 | 17.28 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 11 | 0.22 | 6.03 | 99.5 | 23.86 | 127.72 | 0 | 3.27 | 2.59 | 0 | 0.06 | 0 | 45.19 | 878.88 | 29.38 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 18.01 | 0.19 | 6.16 | 92.6 | 25.19 | 158.97 | 0.32 | 3.23 | 2.53 | 0 | 0.06 | 0.02 | 18.99 | 879.25 | 28.64 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1 | 0.11 | 6.01 | 77.57 | 22.33 | 108.52 | 0 | 3.09 | 2.44 | 0 | 0.06 | 0 | 4.43 | 877.23 | 0 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 44.57 | 0.33 | 6.42 | 99.5 | 29.53 | 217.73 | 6.42 | 3.4 | 2.61 | 0 | 0.06 | 0.39 | 45.19 | 882.06 | 110.74 | 2.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 18.01 | 0.19 | 6.16 | 92.6 | 25.19 | 158.97 | 0.32 | 3.23 | 2.53 | 0 | 0.06 | 0.02 | 18.99 | 879.25 | 28.64 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 18 | 0.18 | 6.14 | 99.23 | 24.39 | 162.82 | 0 | 3.25 | 2.53 | 0 | 0.06 | 0 | 10.55 | 878.91 | 5.4 | 2.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 1 | 0.17 | 6.03 | 99.5 | 22.96 | 140.58 | 0 | 3.26 | 2.46 | 0 | 0.06 | 0 | 4.43 | 878.24 | 0 | 1.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 11.5 | 0.05 | 0.12 | 8.66 | 2.39 | 34.2 | 1.31 | 0.08 | 0.05 | 0 | 0 | 0.08 | 14.63 | 1.41 | 37.35 | 0.31 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0