## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 20 |  |  |  | Date : 20/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 20/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.08 | 209.29 | 0.02 | 72.84 | 0.54 | 0.28 | 0.01 | 0.01 | 24.21 | NA | 3.46 | 10.69 | 0.02 | 0 | 893.29 | NA | 2.6 | 0.06 | 0.01 | 12.48 | 9.06
07-08Hr | 0.1 | 207.17 | 0.02 | 63.7 | 0.7 | 0.21 | 0.01 | 0.01 | 26.88 | NA | 3.44 | 10.65 | 0.02 | 0 | 893.72 | NA | 2.65 | 0.06 | 0.01 | 12.56 | 63.22
08-09Hr | 0.03 | 194.82 | 0.02 | 66.66 | 0.64 | 0.18 | 0.01 | 0.01 | 25.71 | NA | 3.11 | 10.73 | 0.02 | 0 | 893.57 | NA | 2.65 | 0.06 | 0.01 | 14.57 | 141.44
09-10Hr | 0.1 | 199.89 | 0.02 | 59.44 | 0.67 | 0.21 | 0.01 | 0.01 | 27.53 | NA | 3.15 | 10.83 | 0.02 | 0 | 892.91 | NA | 2.45 | 0.06 | 0.01 | 15.21 | 182.44
10-11Hr | 0.12 | 205.09 | 0.02 | 54.01 | 0.91 | 0.26 | 0.01 | 0.01 | 28.76 | NA | 3.38 | 10.9 | 0.02 | 0 | 892.1 | NA | 2.45 | 0.06 | 0.01 | 18.57 | 165.3
11-12Hr | 0.09 | 193.89 | 0.02 | 52.07 | 1.02 | 0.41 | 0.01 | 0.01 | 29.66 | NA | 3.22 | 11.15 | 0.02 | 0 | 891.22 | NA | 2.36 | 0.06 | 0.01 | 12.73 | 215.75
12-13Hr | 0.1 | 203.33 | 0.02 | 51.65 | 1.02 | 0.59 | 0.01 | 0.01 | 29.44 | NA | 3.44 | 11.29 | 0.02 | 0 | 890.71 | NA | 2.43 | 0.06 | 0.01 | 16.08 | 190.3
13-14Hr | 0.1 | 188.64 | 0.02 | 56.78 | 1.45 | 0.18 | 0.01 | 0.01 | 27.93 | NA | 3.26 | 11.29 | 0.02 | 0 | 890.45 | NA | 2.53 | 0.06 | 0.01 | 15.19 | 118.44
14-15Hr | 0.12 | 207.92 | 0.02 | 72.28 | 1.07 | 0.51 | 0.01 | 0.01 | 23.73 | NA | 3.85 | 11.26 | 0.02 | 0 | 890.43 | NA | 2.61 | 0.06 | 0.01 | 13.03 | 16.78
15-16Hr | 0.14 | 199.02 | 0.02 | 80.31 | 0.43 | 0.44 | 0.01 | 0.01 | 21.14 | NA | 3.51 | 11.26 | 0.02 | 0 | 890.79 | NA | 2.55 | 0.06 | 0.01 | 7.62 | 0.12
16-17Hr | 0.09 | 193.2 | 0.02 | 85.76 | 0.48 | 0.26 | 0.01 | 0.01 | 19.62 | NA | 2.99 | 11.15 | 0.02 | 0 | 891.29 | NA | 2.26 | 0.06 | 0.01 | 10.39 | 0
17-18Hr | 0.17 | 184.27 | 0.02 | 86.57 | 0.86 | 0.31 | 0.01 | 0.01 | 19.12 | NA | 3.44 | 11.12 | 0.02 | 0 | 891.87 | NA | 2.58 | 0.06 | 0.01 | 14.48 | 0
18-19Hr | 0.1 | 210.09 | 0.02 | 85.11 | 0.56 | 0.03 | 0.01 | 0.01 | 18.81 | NA | 3.42 | 11.15 | 0.02 | 0 | 892.46 | NA | 2.78 | 0.06 | 0.01 | 14.1 | 0
19-20Hr | 0.07 | 201.89 | 0.02 | 86.61 | 0.27 | 0.05 | 0.01 | 0.01 | 18.62 | NA | 3.15 | 11.04 | 0.02 | 0 | 892.81 | NA | 2.58 | 0.06 | 0.01 | 11.55 | 0
20-21Hr | 0.15 | 221.84 | 0.02 | 88.34 | 0.22 | 0.18 | 0.01 | 0.01 | 18.38 | NA | 3.35 | 10.94 | 0.02 | 0 | 892.92 | NA | 2.61 | 0.06 | 0.01 | 13.37 | 0
21-22Hr | 0.15 | 208.48 | 0.02 | 88.52 | 0.94 | 0.05 | 0.01 | 0.01 | 18.65 | NA | 3.26 | 10.94 | 0.02 | 0 | 892.84 | NA | 2.65 | 0.06 | 0.01 | 14.46 | 0
22-23Hr | 0.09 | 198.23 | 0.02 | 90.12 | 0.99 | 0.15 | 0.01 | 0.01 | 18.51 | NA | 3.58 | 10.87 | 0.02 | 0 | 892.6 | NA | 2.85 | 0.06 | 0.01 | 14.31 | 0
23-00Hr | 0.07 | 198.52 | 0.02 | 90.62 | 0.75 | 0.15 | 0.01 | 0.01 | 18.2 | NA | 3.42 | 10.83 | 0.02 | 0 | 892.42 | NA | 2.75 | 0.06 | 0.01 | 14.86 | 0
00-01Hr | 0.11 | 199.42 | 0.02 | 94.11 | 0.54 | 0.1 | 0.01 | 0.01 | 17.6 | NA | 3.51 | 10.83 | 0.02 | 0 | 892.14 | NA | 2.76 | 0.06 | 0.01 | 16.65 | 0
01-02Hr | 0.11 | 206.1 | 0.02 | 94.08 | 0.67 | 0.23 | 0.01 | 0.01 | 17.45 | NA | 3.46 | 10.76 | 0.02 | 0 | 891.89 | NA | 2.6 | 0.06 | 0.01 | 17.19 | 0
02-03Hr | 0.11 | 219.72 | 0.02 | 95.88 | 0.75 | 0.18 | 0.01 | 0.01 | 17.18 | NA | 3.17 | 10.65 | 0.02 | 0 | 891.86 | NA | 2.55 | 0.06 | 0.01 | 26.27 | 0
03-04Hr | 0.02 | 212.52 | 0.02 | 89.73 | 0.83 | 0.13 | 0.01 | 0.01 | 17.18 | NA | 3.29 | 10.65 | 0.02 | 0 | 892.12 | NA | 2.7 | 0.06 | 0.01 | 15.97 | 0
04-05Hr | 0.07 | 213.9 | 0.02 | 87.71 | 1.5 | 0.16 | 0.01 | 0.01 | 17.4 | NA | 3.2 | 10.48 | 0.02 | 0 | 892.76 | NA | 2.61 | 0.06 | 0.01 | 15.39 | 3.8
05-06Hr | 0.17 | 168.15 | 0.02 | 86.19 | 1.29 | 0.1 | 0.01 | 0.01 | 19.49 | NA | 3.33 | 10.51 | 0.02 | 0 | 893.4 | NA | 2.87 | 0.06 | 0.01 | 15.71 | 44.6
06-07hr | 0.19 | 232.67 | 0.02 | 82.69 | 1.93 | 0.41 | 0.01 | 0.01 | 20.23 | NA | 3.78 | 10.44 | 0.02 | 0 | 893.83 | NA | 2.62 | 0.06 | 0.01 | 26.82 | 7.98
Avg | 0.11 | 203.12 | 0.02 | 78.47 | 0.84 | 0.23 | 0.01 | 0.01 | 21.66 | NA | 3.37 | 10.9 | 0.02 | 0 | 892.26 | NA | 2.6 | 0.06 | 0.01 | 15.18 | 46.37
Min | 0.02 | 168.15 | 0.02 | 51.65 | 0.22 | 0.03 | 0.01 | 0.01 | 17.18 | NA | 2.99 | 10.44 | 0.02 | 0 | 890.43 | NA | 2.26 | 0.06 | 0.01 | 7.62 | 0
Max | 0.19 | 232.67 | 0.02 | 95.88 | 1.93 | 0.59 | 0.01 | 0.01 | 29.66 | NA | 3.85 | 11.29 | 0.02 | 0 | 893.83 | NA | 2.87 | 0.06 | 0.01 | 26.82 | 215.75
Geom.Mean | 0.11 | 203.12 | 0.02 | 78.47 | 0.84 | 0.23 | 0.01 | 0.01 | 21.66 | NA | 3.37 | 10.9 | 0.02 | 0 | 892.26 | NA | 2.6 | 0.06 | 0.01 | 15.18 | 46.37
Median | 0.1 | 203.33 | 0.02 | 85.76 | 0.75 | 0.18 | 0.01 | 0.01 | 19.49 | NA | 3.38 | 10.87 | 0.02 | 0 | 892.42 | NA | 2.61 | 0.06 | 0.01 | 14.57 | 0.12
Mode | 0.1 | 168.15 | 0.02 | 86.19 | 0.54 | 0.18 | 0.01 | 0.01 | 17.18 | NA | 3.44 | 10.65 | 0.02 | 0 | 891.87 | NA | 2.65 | 0.06 | 0.01 | 7.62 | 0
Std.Deviation | 0.04 | 12.91 | 0 | 14.53 | 0.4 | 0.15 | 0 | 0 | 4.44 | NA | 0.2 | 0.26 | 0 | 0 | 1.01 | NA | 0.14 | 0 | 0 | 4.1 | 73.62
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0