## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 6 |  |  |  | Date : 06/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 06/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 2 | 0.12 | 5.75 | 95.14 | 23.25 | 131.63 | 2 | 3.17 | 2.54 | 0.15 | 0.06 | 0 | 42.85 | 880.43 | 68.73 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 6 | 0.16 | 5.79 | 82.76 | 26 | 134.79 | 1.08 | 3.14 | 2.45 | 0.61 | 0.06 | 0 | 38.3 | 880.63 | 141.64 | 2.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 5 | 0.15 | 5.9 | 77.39 | 27.29 | 132.69 | 0.09 | 3.16 | 2.52 | 0.92 | 0.06 | 0 | 37.61 | 880.63 | 181.6 | 2.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 5.92 | 0.14 | 5.92 | 76.06 | 27.5 | 134 | 0 | 3.23 | 2.54 | 1.07 | 0.06 | 0 | 36.04 | 880.43 | 180.69 | 2.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 7 | 0.14 | 5.93 | 74.1 | 28.09 | 116.17 | 0 | 3.22 | 2.6 | 1.81 | 0.06 | 0 | 38.13 | 879.66 | 185.84 | 3.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 6 | 0.17 | 5.89 | 83.51 | 25.39 | 113.53 | 0 | 3.17 | 2.5 | 1.83 | 0.06 | 0.01 | 38.66 | 879.11 | 45.64 | 3.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 6 | 0.23 | 6 | 85.32 | 25.33 | 124.07 | 0 | 3.29 | 2.52 | 2.75 | 0.06 | 0 | 37.38 | 878.58 | 51.39 | 2.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 10 | 0.25 | 5.96 | 92.67 | 22.96 | 123.42 | 0 | 3.29 | 2.54 | 3.43 | 0.06 | 0.08 | 53.07 | 878.46 | 18.49 | 3.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 6 | 0.15 | 5.98 | 94.57 | 22.93 | 115.69 | 0 | 3.07 | 2.41 | 2.83 | 0.06 | 0 | 44.81 | 878.13 | 16.03 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 5 | 0.18 | 5.96 | 93.76 | 23.47 | 106.66 | 0 | 3.26 | 2.57 | 2.51 | 0.06 | 0 | 41.92 | 878.06 | 12 | 1.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 20 | 0.12 | 5.98 | 95.08 | 23.1 | 108.42 | 0 | 3.2 | 2.55 | 2.45 | 0.06 | 0 | 42.94 | 878.58 | 1.46 | 1.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 17 | 0.15 | 5.94 | 96.77 | 22.67 | 108.53 | 0 | 3.1 | 2.47 | 2.08 | 0.06 | 0 | 49.54 | 879.54 | 0 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 12 | 0.15 | 5.93 | 95.21 | 21.81 | 111.27 | 0 | 3.22 | 2.57 | 1.55 | 0.06 | 0.29 | 54.94 | 880.29 | 0 | 2.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 10 | 0.08 | 5.97 | 98.54 | 20.73 | 113 | 0 | 3.05 | 2.54 | 0.56 | 0.06 | 0.61 | 51.67 | 880.66 | 0 | 3.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 8 | 0.21 | 5.93 | 98.83 | 21.32 | 119.11 | 0 | 3.24 | 2.52 | 0.34 | 0.06 | 0.02 | 48.66 | 880.89 | 0 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 4.93 | 0.17 | 5.92 | 99.49 | 21.32 | 122.64 | 0 | 3.2 | 2.57 | 0.26 | 0.06 | 0 | 53.38 | 880.81 | 0 | 2.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 2 | 0.13 | 5.8 | 99.49 | 21.71 | 123.04 | 0 | 3.17 | 2.63 | 0.21 | 0.06 | 0 | 52.63 | 880.19 | 0 | 2.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 0 | 0.19 | 5.85 | 99.32 | 21.73 | 116.76 | 0 | 3.23 | 2.52 | 0.06 | 0.06 | 0 | 54.25 | 879.6 | 0 | 2.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 1 | 0.15 | 5.86 | 99.5 | 21.64 | 118.72 | 0 | 3.29 | 2.65 | 0.03 | 0.06 | 0 | 52.42 | 879.35 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 5 | 0.09 | 5.87 | 99.5 | 21.31 | 115.36 | 0 | 3.16 | 2.59 | 0.05 | 0.06 | 0.27 | 53.47 | 878.96 | 0 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 1 | 0.13 | 5.79 | 99.5 | 21.11 | 122.67 | 0 | 3.09 | 2.52 | 1.43 | 0.06 | 0 | 51.81 | 878.79 | 0 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 2 | 0.26 | 5.76 | 99.5 | 21.39 | 118.65 | 0 | 3.15 | 2.38 | 0.52 | 0.06 | 0 | 55.65 | 878.85 | 0 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 0 | 0.31 | 5.74 | 99.5 | 21.25 | 117.43 | 0 | 3.31 | 2.47 | 0.08 | 0.06 | 0 | 57.29 | 879.29 | 1.15 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 0 | 0.18 | 5.72 | 99.5 | 21.42 | 119.34 | 0 | 3.24 | 2.55 | 0.11 | 0.06 | 0 | 59.52 | 879.84 | 22.49 | 2.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 0 | 0.08 | 5.76 | 99.5 | 21.9 | 119.59 | 0 | 3 | 2.51 | 0.17 | 0.06 | 0 | 53.59 | 880.06 | 31.9 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 5.67 | 0.16 | 5.88 | 93.38 | 23.06 | 119.49 | 0.13 | 3.19 | 2.53 | 1.11 | 0.06 | 0.05 | 48.02 | 879.59 | 38.36 | 2.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0.08 | 5.72 | 74.1 | 20.73 | 106.66 | 0 | 3 | 2.38 | 0.03 | 0.06 | 0 | 36.04 | 878.06 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 20 | 0.31 | 6 | 99.5 | 28.09 | 134.79 | 2 | 3.31 | 2.65 | 3.43 | 0.06 | 0.61 | 59.52 | 880.89 | 185.84 | 3.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 5.67 | 0.16 | 5.88 | 93.38 | 23.06 | 119.49 | 0.13 | 3.19 | 2.53 | 1.11 | 0.06 | 0.05 | 48.02 | 879.59 | 38.36 | 2.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 5 | 0.15 | 5.9 | 96.77 | 21.9 | 118.72 | 0 | 3.2 | 2.54 | 0.61 | 0.06 | 0 | 51.67 | 879.6 | 1.46 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 0 | 0.15 | 5.93 | 99.5 | 21.32 | 131.63 | 0 | 3.17 | 2.52 | 0.61 | 0.06 | 0 | 53.59 | 878.58 | 0 | 2.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 5.14 | 0.06 | 0.09 | 8.3 | 2.22 | 7.76 | 0.45 | 0.08 | 0.06 | 1.07 | 0 | 0.14 | 7.34 | 0.88 | 62.97 | 0.54 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0