## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 25 |  |  |  | Date : 25/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 25/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 179.91 | 0.02 | 87.09 | 0.86 | 0.33 | 0.01 | 0.01 | 24.04 | NA | 3.13 | 8.87 | 0.02 | 0 | 882.62 | NA | 2.33 | 0.06 | 0.01 | 9.76 | 27.61
07-08Hr | 0 | 180.36 | 0.02 | 80.7 | 1.26 | 0.05 | 0.01 | 0.01 | 26.05 | NA | 3.22 | 8.83 | 0.02 | 0 | 882.56 | NA | 2.63 | 0.06 | 0.01 | 11.6 | 72.14
08-09Hr | 0 | 195.8 | 0.02 | 72.7 | 1.5 | 0 | 0.01 | 0.01 | 28.11 | NA | 3.04 | 8.76 | 0.02 | 0 | 882.46 | NA | 2.61 | 0.06 | 0.01 | 9.53 | 160.84
09-10Hr | 0 | 177.62 | 0.02 | 71.32 | 6.8 | 0.24 | 0.01 | 0.01 | 29.05 | NA | 3.24 | 8.65 | 0.02 | 0 | 882.34 | NA | 2.41 | 0.06 | 0.01 | 11.63 | 136.42
10-11Hr | 0 | 153 | 0.02 | 71.87 | 2.04 | 0.28 | 0.01 | 0.01 | 29.03 | NA | 3.51 | 9.08 | 0.02 | 0 | 881.86 | NA | 2.61 | 0.06 | 0.01 | 16.09 | 160.35
11-12Hr | 0 | 167.8 | 0.02 | 68.07 | 2.12 | 0.1 | 0.01 | 0.01 | 29.98 | NA | 3.24 | 9.04 | 0.02 | 0 | 881.43 | NA | 2.66 | 0.06 | 0.01 | 7.52 | 188.94
12-13Hr | 0 | 210.89 | 0.02 | 64.21 | 1.85 | 0.28 | 0.01 | 0.01 | 30.29 | NA | 3.19 | 9.08 | 0.02 | 0 | 880.9 | NA | 2.38 | 0.06 | 0.01 | 7.87 | 161.57
13-14Hr | 0 | 230.9 | 0.02 | 61.08 | 2.28 | 0.31 | 0.01 | 0.01 | 30.2 | NA | 3.42 | 9.15 | 0.02 | 0 | 880.39 | NA | 2.36 | 0.06 | 0.01 | 6.35 | 117.65
14-15Hr | 0 | 183.7 | 0.02 | 67.05 | 1.63 | 0.13 | 0.01 | 0.01 | 29.3 | NA | 3.15 | 9.19 | 0.02 | 0 | 880.54 | NA | 2.46 | 0.06 | 0.01 | 7.03 | 46.53
15-16Hr | 0 | 129.89 | 0.02 | 72.47 | 1.12 | 0.13 | 0.01 | 0.01 | 27 | NA | 3.24 | 9.22 | 0.02 | 0 | 880.6 | NA | 2.58 | 0.06 | 0.01 | 6.9 | 0
16-17Hr | 0 | 230.16 | 0.02 | 70.48 | 1.87 | 0.23 | 0.01 | 0.01 | 26.58 | NA | 3.15 | 9.04 | 0.02 | 0 | 880.71 | NA | 2.44 | 0.06 | 0.01 | 8.69 | 0
17-18Hr | 0 | 201.42 | 0.02 | 70.95 | 2.28 | 0.39 | 0.01 | 0.01 | 26.26 | NA | 3.44 | 9.01 | 0.02 | 0 | 881.41 | NA | 2.43 | 0.06 | 0.01 | 4.74 | 0
18-19Hr | 0 | 245.48 | 0.02 | 75.12 | 1.42 | 0.13 | 0.01 | 0.01 | 25.72 | NA | 3.19 | 8.83 | 0.02 | 0 | 882.3 | NA | 2.53 | 0.06 | 0.01 | 5.58 | 0
19-20Hr | 0 | 200.44 | 0.02 | 73.23 | 1.18 | 0.18 | 0.01 | 0.01 | 25.41 | NA | 3.31 | 8.9 | 0.02 | 0 | 882.93 | NA | 2.55 | 0.06 | 0.01 | 6.43 | 0
20-21Hr | 0 | 235.27 | 0.02 | 74.86 | 1.02 | 0.21 | 0.01 | 0.01 | 25.04 | NA | 3.33 | 8.97 | 0.02 | 0 | 883.3 | NA | 2.56 | 0.06 | 0.01 | 7.29 | 0
21-22Hr | 0 | 186.19 | 0.02 | 76.18 | 1.18 | 0.18 | 0.01 | 0.01 | 24.5 | NA | 3.06 | 8.8 | 0.02 | 0 | 883.78 | NA | 2.4 | 0.06 | 0.01 | 6.34 | 0
22-23Hr | 0 | 231.23 | 0.02 | 75.85 | 1.34 | 0.38 | 0.01 | 0.01 | 24.17 | NA | 3.33 | 8.87 | 0.02 | 0 | 883.69 | NA | 2.46 | 0.06 | 0.01 | 9.29 | 0
23-00Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
00-01Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
01-02Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
02-03Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
03-04Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
04-05Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
05-06Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | 0 | 196.47 | 0.02 | 72.54 | 1.87 | 0.21 | 0.01 | 0.01 | 27.1 | NA | 3.25 | 8.96 | 0.02 | 0 | 881.99 | NA | 2.49 | 0.06 | 0.01 | 8.39 | 63.06
Min | 0 | 129.89 | 0.02 | 61.08 | 0.86 | 0 | 0.01 | 0.01 | 24.04 | NA | 3.04 | 8.65 | 0.02 | 0 | 880.39 | NA | 2.33 | 0.06 | 0.01 | 4.74 | 0
Max | 0 | 245.48 | 0.02 | 87.09 | 6.8 | 0.39 | 0.01 | 0.01 | 30.29 | NA | 3.51 | 9.22 | 0.02 | 0 | 883.78 | NA | 2.66 | 0.06 | 0.01 | 16.09 | 188.94
Geom.Mean | 0 | 196.47 | 0.02 | 72.54 | 1.87 | 0.21 | 0.01 | 0.01 | 27.1 | NA | 3.25 | 8.96 | 0.02 | 0 | 881.99 | NA | 2.49 | 0.06 | 0.01 | 8.39 | 63.06
Median | 0 | 195.8 | 0.02 | 72.47 | 1.5 | 0.21 | 0.01 | 0.01 | 26.58 | NA | 3.24 | 8.97 | 0.02 | 0 | 882.3 | NA | 2.46 | 0.06 | 0.01 | 7.52 | 27.61
Mode | 0 | 129.89 | 0.02 | 64.21 | 2.28 | 0.13 | 0.01 | 0.01 | 26.58 | NA | 3.24 | 8.87 | 0.02 | 0 | 883.3 | NA | 2.61 | 0.06 | 0.01 | 4.74 | 0
Std.Deviation | 0 | 31.61 | 0 | 5.99 | 1.35 | 0.11 | 0 | 0 | 2.2 | NA | 0.13 | 0.16 | 0 | 0 | 1.12 | NA | 0.1 | 0 | 0 | 2.78 | 73.47
Valid Data Points | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | NA | 17 | 17 | 17 | 17 | 17 | NA | 17 | 17 | 17 | 17 | 17
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | NA | 68 | 68 | 68 | 68 | 68 | NA | 68 | 68 | 68 | 68 | 68
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0