## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 23 |  |  |  | Date : 23/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 23/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 11 | 0.25 | 6.03 | 99.5 | 24.34 | 120.41 | 0 | 3.39 | 2.59 | 0 | 0.06 | 0 | 43.26 | 878.97 | 32.27 | 2.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 22 | 0.19 | 6.02 | 89.94 | 28.15 | 123.19 | 0.93 | 3.33 | 2.58 | 0 | 0.06 | 0 | 48.3 | 879.04 | 98.96 | 2.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 32 | 0.16 | 6.11 | 85.5 | 27.41 | 112.6 | 3.8 | 3.14 | 2.49 | 0 | 0.06 | 0 | 48.74 | 878.76 | 42.35 | 2.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 34 | 0.25 | 6.24 | 79.88 | 29.43 | 121.14 | 2.14 | 3.35 | 2.54 | 0 | 0.06 | 0 | 49.2 | 878.45 | 118.23 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 36.95 | 0.26 | 6.27 | 78.13 | 29.91 | 103.98 | 3.86 | 3.25 | 2.48 | 0 | 0.06 | 0.01 | 47.04 | 877.95 | 95.96 | 2.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 37 | 0.14 | 6.27 | 83.22 | 29.01 | 106.89 | 3.07 | 3.08 | 2.49 | 0 | 0.06 | 0 | 52.67 | 877.04 | 85.3 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 32 | 0.29 | 6.27 | 82.16 | 29.3 | 125.74 | 0.2 | 3.38 | 2.56 | 0 | 0.06 | 0 | 32.07 | 876.18 | 103.42 | 2.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 29 | 0.3 | 6.38 | 85.15 | 28.68 | 134.81 | 1.86 | 3.29 | 2.46 | 0 | 0.06 | 0 | 29.81 | 875.42 | 63.23 | 2.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 27 | 0.17 | 6.33 | 89.47 | 27.63 | 127.95 | 3.86 | 3.15 | 2.5 | 0 | 0.06 | 0 | 29.53 | 874.72 | 45.22 | 2.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 33 | 0.24 | 6.35 | 89.34 | 27.38 | 114.04 | 2.14 | 3.34 | 2.55 | 0 | 0.06 | 0 | 36.11 | 874.57 | 21.78 | 2.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 44 | 0.13 | 6.32 | 93.97 | 26.32 | 110.91 | 2 | 3.21 | 2.56 | 0 | 0.06 | 0 | 41.42 | 874.86 | 1.87 | 2.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 42 | 0.27 | 6.31 | 98.86 | 25.29 | 107.8 | 4.8 | 3.21 | 2.43 | 0 | 0.06 | 0 | 50.34 | 875.37 | 0 | 2.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 34.41 | 0.18 | 6.28 | 99.5 | 25.06 | 116.48 | 5 | 3.28 | 2.57 | 0 | 0.06 | 0 | 54.26 | 875.99 | 0 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 37 | 0.13 | 6.28 | 99.5 | 25.02 | 120.18 | 2.2 | 3.1 | 2.51 | 0 | 0.06 | 0 | 49.74 | 876.81 | 0 | 2.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 30 | 0.24 | 6.31 | 99.22 | 24.84 | 130.56 | 0.14 | 3.36 | 2.64 | 0 | 0.06 | 0.22 | 52.34 | 877.18 | 0 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 27.54 | 0.16 | 6.3 | 99.5 | 24.75 | 127.29 | 2.8 | 3.2 | 2.53 | 0 | 0.06 | 0 | 58 | 876.99 | 0 | 1.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 18 | 0.22 | 6.28 | 99.5 | 24.68 | 137.93 | 2.07 | 3.32 | 2.58 | 0 | 0.06 | 0 | 53.1 | 876.86 | 0 | 2.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 10 | 0.14 | 6.29 | 99.5 | 24.56 | 132.39 | 0.14 | 3.22 | 2.52 | 0 | 0.06 | 0 | 55.28 | 876.29 | 0 | 2.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 17 | 0.11 | 6.27 | 99.5 | 24.59 | 129.73 | 0.93 | 3.17 | 2.57 | 0 | 0.06 | 0 | 61.43 | 875.88 | 0 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 3 | 0.15 | 6.27 | 99.5 | 24.1 | 128.54 | 2.86 | 3.17 | 2.62 | 0 | 0.06 | 0 | 58.37 | 875.32 | 0 | 1.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 8 | 0.16 | 6.27 | 99.5 | 23.56 | 127.1 | 1.14 | 3.15 | 2.52 | 0 | 0.06 | 0 | 56.73 | 875.23 | 0 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 10 | 0.22 | 6.29 | 99.5 | 22.96 | 114.59 | 0.07 | 3.41 | 2.68 | 0 | 0.06 | 0 | 53.16 | 875.7 | 0 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 8 | 0.16 | 6.26 | 99.5 | 22.82 | 130 | 0 | 3.28 | 2.6 | 0 | 0.06 | 0 | 58.34 | 875.98 | 7.16 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 6 | 0.2 | 6.25 | 99.26 | 24.67 | 138.16 | 0 | 3.39 | 2.57 | 0 | 0.06 | 0 | 56.91 | 876.48 | 42.64 | 1.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 18 | 0.2 | 6.23 | 94.32 | 25.63 | 129.64 | 0 | 3.2 | 2.48 | 0 | 0.06 | 0 | 48.44 | 876.6 | 42.7 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 24.28 | 0.2 | 6.26 | 93.72 | 26 | 122.88 | 1.84 | 3.25 | 2.54 | 0 | 0.06 | 0.01 | 48.98 | 876.51 | 32.04 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 3 | 0.11 | 6.02 | 78.13 | 22.82 | 103.98 | 0 | 3.08 | 2.43 | 0 | 0.06 | 0 | 29.53 | 874.57 | 0 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 44 | 0.3 | 6.38 | 99.5 | 29.91 | 138.16 | 5 | 3.41 | 2.68 | 0 | 0.06 | 0.22 | 61.43 | 879.04 | 118.23 | 2.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 24.28 | 0.2 | 6.26 | 93.72 | 26 | 122.88 | 1.84 | 3.25 | 2.54 | 0 | 0.06 | 0.01 | 48.98 | 876.51 | 32.04 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 27.54 | 0.19 | 6.27 | 99.22 | 25.06 | 125.74 | 2 | 3.25 | 2.55 | 0 | 0.06 | 0 | 50.34 | 876.29 | 7.16 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 8 | 0.16 | 6.27 | 99.5 | 24.34 | 128.54 | 0 | 3.39 | 2.57 | 0 | 0.06 | 0 | 29.53 | 874.86 | 0 | 2.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 12.4 | 0.05 | 0.09 | 7.43 | 2.14 | 9.77 | 1.61 | 0.1 | 0.06 | 0 | 0 | 0.04 | 9.03 | 1.32 | 39.96 | 0.26 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0