## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 19 |  |  |  | Date : 19/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 19/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 18 | 0.13 | 4.65 | 95.5 | 21.98 | 243.22 | 0 | 3.17 | 2.5 | 0.01 | 0.06 | 0.12 | 9.41 | 882.74 | 23.87 | 6.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 21 | 0.2 | 4.61 | 96.27 | 22.17 | 254.54 | 0.97 | 3.32 | 2.59 | 0.01 | 0.06 | 0 | 6.67 | 883.28 | 44.08 | 5.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 28 | 0.2 | 4.63 | 90.68 | 23.58 | 229.88 | 1 | 3.31 | 2.58 | 0.06 | 0.06 | 0 | 5.98 | 883.55 | 80.42 | 5.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 36 | 0.22 | 4.62 | 85.75 | 24.72 | 155.07 | 1.97 | 3.3 | 2.55 | 0.95 | 0.06 | 0 | 7.81 | 883.45 | 136.7 | 5.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 45 | 0.26 | 4.65 | 83.62 | 24.92 | 178.15 | 2 | 3.23 | 2.43 | 0.63 | 0.06 | 0 | 6.48 | 882.77 | 120.08 | 3.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 47 | 0.13 | 4.73 | 75.5 | 27.15 | 163.52 | 1.03 | 3.15 | 2.54 | 0.92 | 0.06 | 0 | 9.79 | 882.2 | 174.2 | 2.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 65 | 0.17 | 4.78 | 72.69 | 27.32 | 177.38 | 4.87 | 3.21 | 2.53 | 1.44 | 0.06 | 0 | 7.72 | 881.96 | 136.3 | 3.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 56 | 0.28 | 4.87 | 72.46 | 27.03 | 167.17 | 4.03 | 3.21 | 2.42 | 2.04 | 0.06 | 0 | 7.08 | 881.19 | 98.27 | 3.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 51 | 0.12 | 4.86 | 77 | 25.65 | 183.26 | 4.97 | 3.09 | 2.51 | 2.75 | 0.06 | 0 | 8.54 | 880.99 | 17.79 | 2.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 59 | 0.15 | 4.86 | 88.78 | 23.25 | 163.29 | 4.03 | 3.15 | 2.53 | 1.68 | 0.06 | 0.01 | 9.27 | 881.31 | 1.78 | 2.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 31 | 0.22 | 4.87 | 96.73 | 21.48 | 138.29 | 6.9 | 3.2 | 2.43 | 1.92 | 0.06 | 0 | 7.24 | 881.68 | 0.07 | 4.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 20 | 0.19 | 4.86 | 96.77 | 21.72 | 135.08 | 5.07 | 3.15 | 2.44 | 2.53 | 0.06 | 0 | 7.12 | 882.08 | 0 | 3.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 20 | 0.32 | 4.82 | 99.3 | 21.21 | 131.94 | 6.93 | 3.22 | 2.41 | 0.78 | 0.06 | 0 | 14.88 | 882.38 | 0 | 2.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 22 | 0.14 | 4.84 | 93.7 | 21.82 | 171.7 | 4.1 | 3.18 | 2.52 | 0.32 | 0.06 | 0 | 6.95 | 882.77 | 0 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 26 | 0.19 | 4.8 | 96.87 | 21.15 | 156 | 0.13 | 3.29 | 2.55 | 0.27 | 0.06 | 0 | 6.74 | 883.38 | 0 | 3.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 16 | 0.09 | 4.77 | 99.5 | 21.01 | 188.72 | 0 | 3.23 | 2.6 | 0.02 | 0.06 | 0 | 9.78 | 883.51 | 0 | 3.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 5 | 0.2 | 4.77 | 99.5 | 20.89 | 200.79 | 1.93 | 3.22 | 2.49 | 0.02 | 0.06 | 0 | 10.62 | 883.02 | 0 | 3.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 13 | 0.17 | 4.78 | 99.5 | 20.87 | 178.42 | 2 | 3.27 | 2.57 | 0.03 | 0.06 | 0.02 | 14.41 | 882.84 | 0 | 3.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 9 | 0.16 | 4.75 | 99.5 | 20.73 | 204.48 | 2 | 3.21 | 2.55 | 0 | 0.06 | 0.19 | 8.66 | 882.81 | 0 | 3.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 4 | 0.1 | 4.74 | 99.5 | 20.56 | 153.34 | 0.07 | 3.26 | 2.61 | 0.92 | 0.06 | 0.04 | 6.58 | 882.73 | 0 | 4.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 0 | 0.29 | 4.7 | 99.5 | 20.51 | 145.42 | 0 | 3.32 | 2.5 | 0.95 | 0.06 | 0 | 7.4 | 882.55 | 0 | 3.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 0 | 0.24 | 4.74 | 99.5 | 20.58 | 178.64 | 0 | 3.24 | 2.52 | 0.31 | 0.06 | 0 | 7.37 | 882.62 | 0 | 4.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 0 | 0.21 | 4.66 | 99.5 | 20.59 | 140.62 | 0 | 3.38 | 2.58 | 0.32 | 0.06 | 0 | 7.33 | 883.13 | 0.15 | 4.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 0 | 0.19 | 4.64 | 99.5 | 20.64 | 129.57 | 0.97 | 3.27 | 2.56 | 0.27 | 0.06 | 0 | 8.44 | 883.81 | 2.36 | 3.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 2 | 0.19 | 4.61 | 99.5 | 20.77 | 159.7 | 0.06 | 3.44 | 2.69 | 0.2 | 0.06 | 0 | 7.74 | 884.14 | 21.75 | 3.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 23.76 | 0.19 | 4.74 | 92.66 | 22.49 | 173.13 | 2.2 | 3.24 | 2.53 | 0.77 | 0.06 | 0.02 | 8.4 | 882.68 | 34.31 | 3.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0.09 | 4.61 | 72.46 | 20.51 | 129.57 | 0 | 3.09 | 2.41 | 0 | 0.06 | 0 | 5.98 | 880.99 | 0 | 2.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 65 | 0.32 | 4.87 | 99.5 | 27.32 | 254.54 | 6.93 | 3.44 | 2.69 | 2.75 | 0.06 | 0.19 | 14.88 | 884.14 | 174.2 | 6.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 23.76 | 0.19 | 4.74 | 92.66 | 22.49 | 173.13 | 2.2 | 3.24 | 2.53 | 0.77 | 0.06 | 0.02 | 8.4 | 882.68 | 34.31 | 3.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 20 | 0.19 | 4.75 | 96.77 | 21.48 | 167.17 | 1.93 | 3.23 | 2.53 | 0.32 | 0.06 | 0 | 7.72 | 882.77 | 0.15 | 3.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 0 | 0.19 | 4.86 | 99.5 | 20.89 | 129.57 | 0 | 3.15 | 2.55 | 0.95 | 0.06 | 0 | 5.98 | 882.77 | 0 | 2.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 20.29 | 0.06 | 0.09 | 9.31 | 2.29 | 33.2 | 2.25 | 0.08 | 0.07 | 0.83 | 0 | 0.04 | 2.22 | 0.81 | 54.78 | 1.01 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0