## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 17 |  |  |  | Date : 17/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 17/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 12 | 0.18 | 4.63 | 87.95 | 23.95 | 192.42 | 0 | 3.27 | 2.57 | 1.05 | 0.06 | 0 | 5.98 | 882.68 | 96.9 | 2.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 11 | 0.18 | 4.67 | 86.93 | 24.61 | 227.65 | 0.97 | 3.16 | 2.49 | 1.12 | 0.06 | 0 | 5.21 | 882.75 | 102.85 | 3.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 26 | 0.13 | 4.78 | 85.44 | 24.69 | 220.13 | 0.03 | 3.18 | 2.51 | 1.42 | 0.06 | 0 | 5.02 | 882.76 | 54.84 | 2.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 28 | 0.16 | 4.84 | 87.2 | 24.53 | 173.38 | 0 | 3.32 | 2.56 | 1.58 | 0.06 | 0 | 10.41 | 882.58 | 92.86 | 4.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 23 | 0.1 | 4.83 | 84.47 | 25.24 | 214.5 | 0 | 3.13 | 2.55 | 1.87 | 0.06 | 0.01 | 5.24 | 881.98 | 106.42 | 3.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 18 | 0.17 | 4.83 | 81.17 | 26.06 | 176.88 | 1.93 | 3.15 | 2.5 | 2.45 | 0.06 | 0 | 6.54 | 881.48 | 125.46 | 3.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 11 | 0.12 | 4.86 | 84.68 | 25.45 | 195.33 | 0.07 | 3.17 | 2.55 | 2.71 | 0.06 | 0 | 7.16 | 880.91 | 96.24 | 2.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 12 | 0.24 | 4.84 | 84.37 | 25.57 | 202.26 | 0.97 | 3.31 | 2.48 | 3.14 | 0.06 | 0 | 5.17 | 880.24 | 76.56 | 3.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 17 | 0.22 | 4.84 | 91.14 | 23.97 | 200.53 | 1.97 | 3.27 | 2.5 | 3.27 | 0.06 | 0.01 | 4.49 | 879.87 | 41.05 | 2.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 8 | 0.2 | 4.82 | 88.49 | 24.1 | 176.85 | 2 | 3.2 | 2.48 | 3.24 | 0.06 | 0 | 7.9 | 879.74 | 25.25 | 2.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 19 | 0.18 | 4.85 | 92.61 | 23.38 | 200.76 | 2.97 | 3.21 | 2.49 | 3.11 | 0.06 | 0 | 4.88 | 880.1 | 5.49 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 16 | 0.17 | 4.86 | 91.74 | 23.2 | 190.8 | 1.07 | 3.23 | 2.57 | 1.82 | 0.06 | 0 | 6.42 | 880.68 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 11 | 0.25 | 4.85 | 89.32 | 23.34 | 183.18 | 1.97 | 3.3 | 2.49 | 1.51 | 0.06 | 0 | 14.96 | 881.41 | 0 | 2.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 15 | 0.16 | 4.87 | 88.35 | 23.36 | 180.92 | 2 | 3.18 | 2.51 | 1.12 | 0.06 | 0 | 5.7 | 882.17 | 0 | 3.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 12 | 0.16 | 4.82 | 91.12 | 22.89 | 220.34 | 0.07 | 3.24 | 2.5 | 0.85 | 0.06 | 0 | 4.92 | 882.43 | 0 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 7 | 0.17 | 4.83 | 95.38 | 22.06 | 205.62 | 0 | 3.24 | 2.56 | 0.68 | 0.06 | 0.01 | 4.47 | 882.33 | 0 | 3.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 3 | 0.25 | 4.74 | 96.62 | 21.88 | 259.22 | 0 | 3.3 | 2.54 | 0.39 | 0.06 | 0 | 6.92 | 881.74 | 0 | 2.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 3 | 0.17 | 4.71 | 98.98 | 21.48 | 227.55 | 0 | 3.11 | 2.47 | 0.19 | 0.06 | 0 | 8.24 | 881.12 | 0 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 1 | 0.21 | 4.72 | 99.48 | 21.16 | 204.75 | 0 | 3.31 | 2.58 | 0.47 | 0.06 | 0 | 10.15 | 880.77 | 0 | 4.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 2 | 0.27 | 4.76 | 95.93 | 21.52 | 208.93 | 0.03 | 3.28 | 2.52 | 1.93 | 0.06 | 0 | 7.2 | 880.36 | 0 | 5.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 3 | 0.22 | 4.67 | 96.77 | 21.43 | 214.29 | 0 | 3.18 | 2.46 | 0.54 | 0.06 | 0 | 5.89 | 880.22 | 0 | 4.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 2 | 0.18 | 4.7 | 97.53 | 21.29 | 231.12 | 0 | 3.3 | 2.58 | 0.18 | 0.06 | 0 | 5.99 | 880.14 | 0 | 3.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 2 | 0.2 | 4.71 | 97.53 | 21.44 | 229.55 | 0 | 3.23 | 2.53 | 0.4 | 0.06 | 0 | 7.14 | 880.49 | 9.91 | 3.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 2 | 0.11 | 4.61 | 98.63 | 21.14 | 237.69 | 0 | 3.17 | 2.55 | 0.8 | 0.06 | 0 | 6 | 880.9 | 9.7 | 5.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 2 | 0.26 | 4.63 | 99.5 | 21.1 | 234.08 | 0 | 3.24 | 2.46 | 0.58 | 0.06 | 0 | 6.6 | 881.25 | 6.17 | 3.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 10.64 | 0.19 | 4.77 | 91.65 | 23.15 | 208.35 | 0.64 | 3.23 | 2.52 | 1.46 | 0.06 | 0 | 6.74 | 881.24 | 33.99 | 3.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1 | 0.1 | 4.61 | 81.17 | 21.1 | 173.38 | 0 | 3.11 | 2.46 | 0.18 | 0.06 | 0 | 4.47 | 879.74 | 0 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 28 | 0.27 | 4.87 | 99.5 | 26.06 | 259.22 | 2.97 | 3.32 | 2.58 | 3.27 | 0.06 | 0.01 | 14.96 | 882.76 | 125.46 | 5.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 10.64 | 0.19 | 4.77 | 91.65 | 23.15 | 208.35 | 0.64 | 3.23 | 2.52 | 1.46 | 0.06 | 0 | 6.74 | 881.24 | 33.99 | 3.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 11 | 0.18 | 4.82 | 91.14 | 23.34 | 205.62 | 0.03 | 3.23 | 2.51 | 1.12 | 0.06 | 0 | 6 | 881.12 | 6.17 | 3.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 2 | 0.18 | 4.84 | 97.53 | 21.88 | 259.22 | 0 | 3.18 | 2.49 | 1.12 | 0.06 | 0 | 4.49 | 879.74 | 0 | 2.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 8.09 | 0.05 | 0.08 | 5.64 | 1.62 | 22.06 | 0.94 | 0.06 | 0.04 | 1.02 | 0 | 0 | 2.3 | 0.99 | 44.48 | 0.88 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0