## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 12 |  |  |  | Date : 12/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 12/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 20 | 0.19 | 4.55 | 70.56 | 29.32 | 160.07 | 0 | 3.19 | 2.45 | 1.28 | 0.06 | 0 | 33.9 | 884.31 | 129.37 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 21 | 0.16 | 4.56 | 70.48 | 29 | 157.29 | 0 | 3.09 | 2.42 | 2.07 | 0.06 | 0 | 32.57 | 884.37 | 158.78 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 26 | 0.17 | 4.58 | 68.32 | 30.36 | 142.71 | 0 | 3.22 | 2.5 | 2.73 | 0.06 | 0 | 33.35 | 884.42 | 174.04 | 2.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 23 | 0.14 | 4.63 | 66.13 | 30.55 | 155.66 | 0.03 | 3.02 | 2.44 | 2.81 | 0.06 | 0 | 25.92 | 884.2 | 170.98 | 1.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 21 | 0.2 | 4.84 | 72.98 | 29.06 | 190.17 | 0 | 3.05 | 18.18 | 8.62 | 0.07 | 0 | 2.04 | 883.66 | 125.1 | 2.61 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
11-12Hr | 21 | 0.25 | 4.86 | 73.26 | 29.64 | 227.61 | 0 | 3.02 | 2.44 | 12.25 | 0.07 | 0 | 1.02 | 883.39 | 229.07 | 2.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | No Data :Computer Issue
13-14Hr
14-15Hr
15-16Hr
16-17Hr
17-18Hr
18-19Hr
19-20Hr
20-21Hr
21-22Hr
22-23Hr | No Data :Computer Issue
23-00Hr
00-01Hr
01-02Hr
02-03Hr
03-04Hr
04-05Hr
05-06Hr
06-07hr
Avg | 22 | 0.19 | 4.67 | 70.29 | 29.66 | 172.25 | 0.01 | 3.1 | 5.07 | 4.96 | 0.06 | 0 | 21.47 | 884.06 | 164.56 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 20 | 0.14 | 4.55 | 66.13 | 29 | 142.71 | 0 | 3.02 | 2.42 | 1.28 | 0.06 | 0 | 1.02 | 883.39 | 125.1 | 1.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 26 | 0.25 | 4.86 | 73.26 | 30.55 | 227.61 | 0.03 | 3.22 | 18.18 | 12.25 | 0.07 | 0 | 33.9 | 884.42 | 229.07 | 2.83 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Geom.Mean | 22 | 0.18 | 4.67 | 70.29 | 29.66 | 172.25 | 0.01 | 3.1 | 5.07 | 4.96 | 0.06 | 0 | 21.47 | 884.06 | 164.56 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 21 | 0.18 | 4.61 | 70.52 | 29.48 | 158.68 | 0 | 3.07 | 2.45 | 2.77 | 0.06 | 0 | 29.25 | 884.25 | 164.88 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 21 | 0.19 | 4.84 | 66.13 | 29.06 | 160.07 | 0 | 3.02 | 2.44 | 1.28 | 0.06 | 0 | 32.57 | 883.66 | 129.37 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 2.19 | 0.04 | 0.14 | 2.73 | 0.66 | 31.32 | 0.01 | 0.09 | 6.42 | 4.43 | 0.01 | 0 | 15.71 | 0.43 | 37.74 | 0.39 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0