## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 3 |  |  |  | Date : 03/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 03/06/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 9.81 | 0.17 | 2.64 | 99.5 | 18.23 | 91.16 | 10.45 | 3.09 | 2.46 | 5.97 | 0.06 | 0.1 | 25.58 | 884.64 | 7.79 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 12 | 0.1 | 2.68 | 99.5 | 17.95 | 87.51 | 6.5 | 3.29 | 2.61 | 6.55 | 0.06 | 0.12 | 32.02 | 884.68 | 8.15 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | No data : Power Issue
09-10Hr
10-11Hr
11-12Hr
12-13Hr
13-14Hr
14-15Hr
15-16Hr | 0 | 0.14 | 2.54 | 73.2 | 26.95 | 100.82 | 0 | 3.32 | 2.71 | 24.46 | 0.06 | 0 | 8.39 | 882.12 | 112.33 | 25.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | No data : Power Issue
17-18Hr
18-19Hr
19-20Hr
20-21Hr
21-22Hr
22-23Hr
23-00Hr
00-01Hr
01-02Hr
02-03Hr
03-04Hr
04-05Hr
05-06Hr
Avg | 10.91 | 0.14 | 2.62 | 90.73 | 21.04 | 93.16 | 8.47 | 3.23 | 2.59 | 12.33 | 0.06 | 0.07 | 22 | 883.81 | 42.76 | 8.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 9.81 | 0.1 | 2.54 | 73.2 | 17.95 | 87.51 | 6.5 | 3.09 | 2.46 | 5.97 | 0.06 | 0 | 8.39 | 882.12 | 7.79 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 12 | 0.17 | 2.68 | 99.5 | 26.95 | 100.82 | 10.45 | 3.32 | 2.71 | 24.46 | 0.06 | 0.12 | 32.02 | 884.68 | 112.33 | 25.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 10.91 | 0.14 | 2.62 | 90.73 | 21.04 | 93.16 | 8.47 | 3.23 | 2.59 | 12.33 | 0.06 | 0.07 | 22 | 883.81 | 42.76 | 8.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 1.09 | 0.03 | 0.06 | 12.4 | 4.18 | 5.62 | 1.97 | 0.1 | 0.1 | 8.58 | 0 | 0.05 | 9.97 | 1.2 | 49.2 | 12.22 | 0 | 0 | 0 | 0 | 0
Mode | 9.81 | 0.17 | 2.64 | 99.5 | 18.23 | 91.16 | 10.45 | 3.09 | 2.46 | 5.97 | 0.06 | 0.1 | 25.58 | 884.64 | 7.79 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 12 | 0.14 | 2.64 | 99.5 | 18.23 | 91.16 | 10.45 | 3.29 | 2.61 | 6.55 | 0.06 | 0.1 | 25.58 | 884.64 | 8.15 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 2 | 3 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Total Data Points | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Data Availability % | 66 | 100 | 100 | 100 | 100 | 100 | 66 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0