## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 29 |  |  |  | Date : 29/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 29/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 5 | 0.09 | 1.72 | 99.5 | 21.56 | 240.15 | 0 | 3.12 | 2.56 | 0 | 0.06 | 0.02 | 27.37 | 878.04 | 13.98 | 1.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 5 | 0.17 | 1.72 | 99.5 | 21.9 | 234.93 | 0 | 3.19 | 2.49 | 0 | 0.06 | 0 | 27.24 | 878.1 | 48.5 | 2.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 6 | 0.13 | 1.72 | 98.81 | 22.46 | 210.9 | 0 | 3.17 | 2.56 | 0 | 0.06 | 0 | 13.21 | 878.36 | 32.54 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 5 | 0.13 | 1.72 | 99.45 | 22.21 | 237.79 | 0 | 3.13 | 2.53 | 0 | 0.06 | 0.17 | 21.45 | 878.67 | 18.83 | 1.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 3 | 0.12 | 1.72 | 99.5 | 22.35 | 243.13 | 0 | 3.17 | 2.64 | 0 | 0.06 | 0.02 | 21.03 | 877.84 | 45.56 | 1.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 4 | 0.12 | 1.72 | 98.61 | 23.28 | 200.03 | 0 | 3.2 | 2.61 | 0.1 | 0.06 | 0 | 9.89 | 877.18 | 72.91 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 4 | 0.17 | 1.72 | 95.27 | 23.83 | 230.83 | 0 | 3.23 | 2.5 | 0.02 | 0.06 | 0.08 | 8.67 | 876.38 | 36.68 | 1.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 15 | 0.09 | 1.72 | 98.6 | 22.89 | 255.64 | 0 | 3.19 | 2.59 | 0 | 0.06 | 0.29 | 19.56 | 876.55 | 15.08 | 0.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 9 | 0.24 | 1.72 | 99.49 | 22.84 | 232.78 | 0 | 3.34 | 2.52 | 0 | 0.06 | 0 | 20.06 | 876 | 29.6 | 1.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 5 | 0.18 | 1.72 | 99.44 | 22.84 | 241.09 | 0 | 3.17 | 2.55 | 0 | 0.06 | 0 | 9.65 | 875.6 | 12.61 | 1.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 6 | 0.06 | 1.72 | 99.31 | 22.82 | 225.19 | 0 | 3.14 | 2.55 | 0 | 0.06 | 0 | 11.52 | 875.77 | 0.17 | 1.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 9 | 0.15 | 1.72 | 99.5 | 22.62 | 233.18 | 0 | 3.28 | 2.53 | 0 | 0.06 | 0 | 12.55 | 876.28 | 0 | 1.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 8 | 0.31 | 1.72 | 99.5 | 22.6 | 223.02 | 0 | 3.42 | 2.67 | 0 | 0.06 | 0 | 12.37 | 876.76 | 0 | 1.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 4.17 | 0.26 | 1.72 | 99.5 | 22.38 | 88.68 | 0 | 3.37 | 2.54 | 0.68 | 0.06 | 0.02 | 8.72 | 876.92 | 0 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 2 | 0.14 | 1.72 | 99.5 | 22.23 | 228.71 | 0 | 3.07 | 2.44 | 0.73 | 0.06 | 0.01 | 21.41 | 876.6 | 0 | 2.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 1 | 0.24 | 1.72 | 99.5 | 21.98 | 246.48 | 0 | 3.3 | 2.46 | 0.01 | 0.06 | 0.16 | 19.85 | 876.52 | 0 | 2.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 0 | 0.21 | 1.72 | 99.5 | 21.75 | 248.13 | 0 | 3.22 | 2.46 | 0 | 0.06 | 0.06 | 23.54 | 875.89 | 0 | 3.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 5 | 0.24 | 1.72 | 99.5 | 21.51 | 223.09 | 0 | 3.3 | 2.52 | 0 | 0.06 | 0.09 | 31.7 | 875.45 | 0 | 4.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 3 | 0.18 | 1.72 | 99.5 | 21.39 | 237.08 | 0 | 3.21 | 2.51 | 0 | 0.06 | 0 | 22.66 | 875.06 | 0 | 6.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 0 | 0.21 | 1.72 | 99.5 | 21.3 | 246.78 | 0 | 3.23 | 2.47 | 0 | 0.06 | 0 | 24.26 | 874.74 | 0 | 5.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 0 | 0.13 | 1.72 | 99.5 | 21.18 | 245.84 | 0 | 3.19 | 2.48 | 0 | 0.06 | 0 | 23.3 | 874.51 | 0 | 7.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 2 | 0.27 | 1.72 | 99.5 | 21.12 | 248.71 | 0 | 3.32 | 2.52 | 0 | 0.06 | 0.2 | 23.97 | 874.33 | 0 | 8.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 1 | 0.06 | 1.72 | 99.5 | 21.19 | 247.49 | 0 | 3.1 | 2.56 | 0.12 | 0.06 | 0.67 | 21.67 | 874.49 | 0 | 10.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 0 | 0.17 | 1.72 | 99.5 | 21.22 | 150 | 0 | 3.32 | 2.6 | 1.32 | 0.06 | 0.61 | 13.48 | 874.92 | 0 | 8.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 4.26 | 0.17 | 1.72 | 99.21 | 22.14 | 225.82 | 0 | 3.22 | 2.54 | 0.12 | 0.06 | 0.1 | 18.71 | 876.29 | 13.6 | 3.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0.06 | 1.72 | 95.27 | 21.12 | 88.68 | 0 | 3.07 | 2.44 | 0 | 0.06 | 0 | 8.67 | 874.33 | 0 | 0.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 15 | 0.31 | 1.72 | 99.5 | 23.83 | 255.64 | 0 | 3.42 | 2.67 | 1.32 | 0.06 | 0.67 | 31.7 | 878.67 | 72.91 | 10.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 4.26 | 0.17 | 1.72 | 99.21 | 22.14 | 225.82 | 0 | 3.22 | 2.54 | 0.12 | 0.06 | 0.1 | 18.71 | 876.29 | 13.6 | 3.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 3.48 | 0.07 | 0 | 0.87 | 0.73 | 35.55 | 0 | 0.09 | 0.06 | 0.32 | 0 | 0.18 | 6.51 | 1.26 | 19.92 | 2.77 | 0 | 0 | 0 | 0 | 0
Mode | 5 | 0.17 | 1.72 | 99.5 | 22.84 | 240.15 | 0 | 3.19 | 2.56 | 0 | 0.06 | 0 | 27.37 | 878.04 | 0 | 1.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 4.17 | 0.17 | 1.72 | 99.5 | 22.23 | 237.08 | 0 | 3.21 | 2.53 | 0 | 0.06 | 0.02 | 21.03 | 876.38 | 0 | 2.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0