## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-01-01 | Station Name : |  | Sikulpuikawn |  |  | JANUARY
Report No |  | 3 |  |  |  | Date : 03/01/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 03/01/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 14 | 0.02 | 2.57 | 69.05 | 18.52 | 187.67 | 0 | 0.78 | 1.04 | 10.22 | 0.06 | 0 | 10.08 | 891.23 | 20.97 | 5.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 27 | 0.01 | 2.57 | 58.71 | 21.42 | 214.37 | 0 | 0.67 | 1.1 | 11.63 | 0.06 | 0 | 11.56 | 891.88 | 86.47 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 44 | 0.01 | 2.57 | 53.28 | 22.74 | 226.77 | 0 | 0.56 | 0.95 | 12.31 | 0.06 | 0 | 10.65 | 892.02 | 218.77 | 5.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 38 | 0.02 | 2.57 | 51.68 | 23.04 | 226.76 | 0 | 0.69 | 1.12 | 7.37 | 0.06 | 0 | 10.1 | 891.5 | 247.49 | 5.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 27.46 | 0 | 2.57 | 49.69 | 22.55 | 211.82 | 0 | 0.62 | 1.09 | 5.53 | 0.06 | 0 | 12.18 | 890.49 | 250.11 | 6.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 28 | 0.01 | 2.57 | 51.69 | 22.58 | 206.21 | 0 | 0.68 | 1.08 | 5.47 | 0.06 | 0 | 8.22 | 889.64 | 186.67 | 5.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 25 | 0.02 | 2.57 | 48.59 | 24.14 | 195.16 | 0 | 0.73 | 1.09 | 5.67 | 0.06 | 0 | 9.81 | 888.96 | 184.4 | 5.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 18 | 0.02 | 2.57 | 43.75 | 25.38 | 211.62 | 0 | 0.65 | 1.01 | 4.85 | 0.06 | 0 | 8.04 | 888.71 | 172.48 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 22.78 | 0 | 2.57 | 49.85 | 21.77 | 207.4 | 0 | 0.5 | 0.98 | 2.57 | 0.06 | 0 | 8.45 | 888.79 | 57.82 | 6.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 18 | 0 | 2.57 | 60.3 | 19.95 | 216.29 | 0 | 0.59 | 1.12 | 2.56 | 0.06 | 0 | 10.46 | 889.05 | 10 | 5.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 41 | 0 | 2.57 | 77.36 | 17.45 | 215.66 | 0 | 0.64 | 1.12 | 2.72 | 0.06 | 0 | 6.75 | 889.51 | 0 | 4.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 54 | 0.02 | 2.57 | 86.55 | 16.51 | 213.58 | 0 | 0.56 | 1.01 | 2.65 | 0.06 | 0 | 9.87 | 889.98 | 0 | 4.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 36 | 0 | 2.57 | 87.71 | 16.03 | 207.15 | 0 | 0.5 | 0.89 | 2.72 | 0.06 | 0 | 10.1 | 890.42 | 0 | 4.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 36.95 | 0.01 | 2.57 | 84.68 | 15.69 | 215.46 | 0 | 0.54 | 1 | 2.82 | 0.06 | 0 | 10 | 890.87 | 0 | 4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 36.04 | 0.02 | 2.57 | 80.74 | 16.1 | 205.9 | 2.88 | 0.59 | 0.99 | 3.57 | 0.06 | 0 | 11.8 | 890.98 | 0 | 4.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 25 | 0 | 2.57 | 78.87 | 15.9 | 231.31 | 3 | 0.73 | 1.03 | 6.1 | 0.06 | 0 | 16.8 | 890.63 | 0 | 4.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 20 | 0.05 | 2.57 | 74.8 | 16.15 | 209.49 | 0 | 0.78 | 1.06 | 10.13 | 0.06 | 0 | 13.09 | 890.21 | 0 | 4.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 11 | 0 | 2.57 | 72.14 | 16.31 | 210.72 | 0 | 0.65 | 0.97 | 10.01 | 0.06 | 0 | 13.11 | 889.79 | 0 | 5.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 9 | 0.04 | 2.57 | 71.46 | 16.08 | 179.04 | 0 | 0.77 | 0.94 | 9.44 | 0.06 | 0 | 21.72 | 889.16 | 0 | 5.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 11 | 0.03 | 2.57 | 72.22 | 16.16 | 209.41 | 0.96 | 0.67 | 1.01 | 9.17 | 0.06 | 0 | 13.62 | 888.75 | 0 | 5.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 11 | 0.02 | 2.57 | 73.44 | 15.93 | 173.38 | 0.08 | 0.55 | 0.92 | 8.91 | 0.06 | 0 | 22.52 | 888.38 | 0 | 6.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 14 | 0.01 | 2.57 | 74.67 | 15.8 | 209.22 | 0 | 0.67 | 1.13 | 8.75 | 0.06 | 0 | 13.62 | 888.48 | 0 | 6.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 23 | 0.02 | 2.57 | 77.08 | 15.47 | 204.72 | 0 | 0.67 | 1.06 | 8.48 | 0.06 | 0 | 14.1 | 888.9 | 0 | 6.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 19 | 0 | 2.57 | 75.95 | 16.13 | 203.76 | 0 | 0.71 | 1.04 | 9.84 | 0.06 | 0 | 12.4 | 889.56 | 33.53 | 6.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 25.38 | 0.01 | 2.57 | 67.68 | 18.66 | 208.04 | 0.29 | 0.65 | 1.03 | 6.81 | 0.06 | 0 | 12.04 | 889.91 | 61.2 | 5.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 9 | 0 | 2.57 | 43.75 | 15.47 | 173.38 | 0 | 0.5 | 0.89 | 2.56 | 0.06 | 0 | 6.75 | 888.38 | 0 | 4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 54 | 0.05 | 2.57 | 87.71 | 25.38 | 231.31 | 3 | 0.78 | 1.13 | 12.31 | 0.06 | 0 | 22.52 | 892.02 | 250.11 | 6.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 25.38 | 0.01 | 2.57 | 67.68 | 18.66 | 208.04 | 0.29 | 0.65 | 1.03 | 6.81 | 0.06 | 0 | 12.04 | 889.91 | 61.2 | 5.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 11.69 | 0.01 | 0 | 13.25 | 3.25 | 13.22 | 0.82 | 0.08 | 0.07 | 3.17 | 0 | 0 | 3.76 | 1.08 | 89.65 | 0.81 | 0 | 0 | 0 | 0 | 0
Mode | 11 | 0.02 | 2.57 | 69.05 | 18.52 | 187.67 | 0 | 0.67 | 1.12 | 2.72 | 0.06 | 0 | 10.1 | 891.23 | 0 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 25 | 0.01 | 2.57 | 72.22 | 16.51 | 209.49 | 0 | 0.67 | 1.04 | 7.37 | 0.06 | 0 | 11.56 | 889.79 | 0 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0