## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 4 |  |  |  | Date : 04/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 04/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 34.24 | 24.76 | 0.02 | 75.21 | 0.6 | 0.23 | 0.01 | 0.01 | 20.77 | 48.93 | 3.69 | 10.7 | 0.02 | 0 | 891.5 | 0 | 2.81 | 0.06 | 0.01 | 33.82 | 18.56
07-08Hr | 34.23 | 24.01 | 0.02 | 59.98 | 0.85 | 0.22 | 0.01 | 0.01 | 24.48 | 57.52 | 3.5 | 10.72 | 0.02 | 0 | 892.15 | 0 | 2.68 | 0.06 | 0.01 | 42.1 | 61.68
08-09Hr | 34.65 | 22.94 | 0.02 | 62.25 | 1 | 0.23 | 0.01 | 0.01 | 25.37 | 58.68 | 3.35 | 10.86 | 0.02 | 0 | 892.23 | 0.01 | 2.59 | 0.06 | 0.01 | 46.75 | 155.91
09-10Hr | 34.69 | 22.2 | 0.02 | 59.64 | 0.54 | 0.23 | 0.01 | 0.01 | 26.33 | 65.63 | 3.3 | 10.84 | 0.02 | 0 | 891.92 | 0.01 | 2.55 | 0.06 | 0.01 | 67.18 | 174.25
10-11Hr | 35.73 | 24.43 | 0.02 | 57.59 | 0.34 | 0.21 | 0.01 | 0.01 | 26.94 | 78.27 | 3.59 | 11.2 | 0.02 | 0 | 891.31 | 0.01 | 2.75 | 0.06 | 0.01 | 62.74 | 183.68
11-12Hr | 35.94 | 22.16 | 0.02 | 52.31 | 0.64 | 0.2 | 0.01 | 0.01 | 27.08 | 80.39 | 3.25 | 11.27 | 0.02 | 0 | 890.63 | 0 | 2.53 | 0.06 | 0.01 | 45.33 | 182.07
12-13Hr | 36.73 | 22.5 | 0.02 | 43.83 | 0.7 | 0.2 | 0.01 | 0.01 | 27.77 | 85.48 | 3.38 | 11.5 | 0.02 | 0 | 890.19 | 0 | 2.63 | 0.06 | 0.01 | 38.94 | 164.33
13-14Hr | 37.05 | 22.62 | 0.02 | 44 | 0.75 | 0.12 | 0.01 | 0.01 | 27.32 | 89.23 | 3.4 | 11.6 | 0.02 | 0 | 890.03 | 0.01 | 2.68 | 0.06 | 0.01 | 67.98 | 98.65
14-15Hr | 37.08 | 23.41 | 0.02 | 64.35 | 0.59 | 0.16 | 0.01 | 0.01 | 22.15 | 92.16 | 3.45 | 11.59 | 0.02 | 0 | 890.16 | 0 | 2.72 | 0.06 | 0.01 | 59.84 | 2.53
15-16Hr | 36.91 | 23.11 | 0.02 | 78.82 | 0.4 | 0.1 | 0.01 | 0.01 | 19.93 | 90.3 | 3.41 | 11.55 | 0.02 | 0 | 890.56 | 0.01 | 2.71 | 0.06 | 0.01 | 62.13 | 0.13
16-17Hr | 37.24 | 23.99 | 0.02 | 83.99 | 0.48 | 0.12 | 0.01 | 0.01 | 18.76 | 105.66 | 3.48 | 11.66 | 0.02 | 0 | 891.13 | 0 | 2.8 | 0.06 | 0.01 | 53.04 | 0
17-18Hr | 37.01 | 23.64 | 0.02 | 84.12 | 0.46 | 0.21 | 0.01 | 0.01 | 18.06 | 91.37 | 3.45 | 11.61 | 0.02 | 0 | 891.66 | 0 | 2.67 | 0.06 | 0.01 | 38.85 | 0
18-19Hr | 36.62 | 23.08 | 0.02 | 86.21 | 0.41 | 0.16 | 0.01 | 0.01 | 17.5 | 92.1 | 3.45 | 11.45 | 0.02 | 0 | 892.16 | 0 | 2.64 | 0.06 | 0.01 | 32.15 | 0
19-20Hr | 36.59 | 23.08 | 0.02 | 90.44 | 0.38 | 0.19 | 0.01 | 0.01 | 17 | 87.54 | 3.44 | 11.45 | 0.02 | 0 | 892.68 | 0 | 2.7 | 0.06 | 0.01 | 26.09 | 0
20-21Hr | 36.22 | 23.52 | 0.02 | 90.06 | 0.59 | 0.26 | 0.01 | 0.01 | 17.11 | 96.08 | 3.49 | 11.3 | 0.02 | 0 | 892.91 | 0 | 2.67 | 0.06 | 0.01 | 23.1 | 0
21-22Hr | 35.94 | 21.88 | 0.02 | 91.89 | 0.7 | 0.14 | 0.01 | 0.01 | 17 | 93.95 | 3.35 | 11.26 | 0.02 | 0 | 892.84 | 0 | 2.73 | 0.06 | 0.01 | 16.04 | 0
22-23Hr | 35.8 | 23.08 | 0.02 | 94.46 | 0.76 | 0.15 | 0.01 | 0.01 | 16.46 | 101.32 | 3.38 | 11.18 | 0.02 | 0 | 892.63 | 0 | 2.64 | 0.06 | 0.01 | 14.4 | 0
23-00Hr | 35.39 | 21.58 | 0.02 | 93.29 | 0.73 | 0.15 | 0.01 | 0.01 | 16.24 | 106.11 | 3.2 | 11.05 | 0.02 | 0 | 892.3 | 0 | 2.54 | 0.06 | 0.01 | 14.03 | 0
00-01Hr | 35.27 | 23.22 | 0.02 | 92.36 | 1.01 | 0.18 | 0.01 | 0.01 | 16.35 | 96.37 | 3.53 | 11.04 | 0.02 | 0 | 891.97 | 0 | 2.68 | 0.06 | 0.01 | 13.38 | 0
01-02Hr | 35.06 | 21.74 | 0.02 | 91.71 | 1.09 | 0.13 | 0.01 | 0.01 | 16.23 | 101.85 | 3.25 | 10.97 | 0.02 | 0 | 891.71 | 0.01 | 2.54 | 0.06 | 0.01 | 12.85 | 0
02-03Hr | 34.87 | 22.8 | 0.02 | 86.72 | 1.45 | 0.2 | 0.01 | 0.01 | 16.2 | 106.27 | 3.35 | 10.91 | 0.02 | 0 | 891.5 | 0 | 2.59 | 0.06 | 0.01 | 14.07 | 0
03-04Hr | 35.04 | 21.16 | 0.02 | 80.37 | 1.45 | 0.09 | 0.01 | 0.01 | 16.15 | 116.01 | 3.12 | 10.97 | 0.02 | 0 | 891.66 | 0 | 2.55 | 0.06 | 0.01 | 18.22 | 0
04-05Hr | 35.04 | 22.32 | 0.02 | 72.09 | 1.71 | 0.08 | 0.01 | 0.01 | 16.57 | 94.8 | 3.33 | 10.94 | 0.02 | 0 | 892.04 | 0 | 2.72 | 0.06 | 0.01 | 14 | 1.55
05-06Hr | 34.69 | 23.04 | 0.02 | 67.11 | 1.46 | 0.1 | 0.01 | 0.01 | 18.42 | 94.21 | 3.48 | 10.85 | 0.02 | 0 | 892.61 | 0.04 | 2.82 | 0.06 | 0.01 | 21.32 | 37.83
06-07hr | 34.95 | 22.2 | 0.02 | 57.5 | 1 | 0.29 | 0.01 | 0.01 | 20.97 | 91.2 | 3.36 | 10.92 | 0.02 | 0 | 893.11 | 0 | 2.59 | 0.06 | 0.01 | 33.04 | 8.29
Avg | 35.72 | 22.9 | 0.02 | 74.41 | 0.8 | 0.17 | 0.01 | 0.01 | 20.29 | 88.86 | 3.4 | 11.18 | 0.02 | 0 | 891.74 | 0 | 2.66 | 0.06 | 0.01 | 34.86 | 43.58
Min | 34.23 | 21.16 | 0.02 | 43.83 | 0.34 | 0.08 | 0.01 | 0.01 | 16.15 | 48.93 | 3.12 | 10.7 | 0.02 | 0 | 890.03 | 0 | 2.53 | 0.06 | 0.01 | 12.85 | 0
Max | 37.24 | 24.76 | 0.02 | 94.46 | 1.71 | 0.29 | 0.01 | 0.01 | 27.77 | 116.01 | 3.69 | 11.66 | 0.02 | 0 | 893.11 | 0.04 | 2.82 | 0.06 | 0.01 | 67.98 | 183.68
Geom.Mean | 35.72 | 22.9 | 0.02 | 74.41 | 0.8 | 0.17 | 0.01 | 0.01 | 20.29 | 88.86 | 3.4 | 11.18 | 0.02 | 0 | 891.74 | 0 | 2.66 | 0.06 | 0.01 | 34.86 | 43.58
Median | 35.73 | 23.04 | 0.02 | 78.82 | 0.7 | 0.18 | 0.01 | 0.01 | 18.42 | 92.1 | 3.4 | 11.18 | 0.02 | 0 | 891.92 | 0 | 2.67 | 0.06 | 0.01 | 33.04 | 0.13
Mode | 34.69 | 23.08 | 0.02 | 43.83 | 1 | 0.23 | 0.01 | 0.01 | 17 | 48.93 | 3.35 | 10.97 | 0.02 | 0 | 891.66 | 0 | 2.59 | 0.06 | 0.01 | 12.85 | 0
Std.Deviation | 0.97 | 0.89 | 0 | 16.29 | 0.38 | 0.06 | 0 | 0 | 4.29 | 16.33 | 0.12 | 0.31 | 0 | 0 | 0.89 | 0.01 | 0.09 | 0 | 0 | 19 | 69.66
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0