## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 24 |  |  |  | Date : 24/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 24/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
07-08Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
08-09Hr | NA | 0.05 | 8.01 | 79.36 | 26.38 | 174.3 | NA | 3.22 | 2.65 | 0 | 0.06 | 0 | 9.15 | 886.11 | 65.49 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.05 | 8.01 | 78.07 | 27.03 | 175.66 | NA | 3.1 | 2.6 | 0 | 0.06 | 0 | 8.48 | 885.91 | 74.79 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.33 | 8.12 | 74.21 | 27.53 | 176.03 | NA | 3.33 | 2.48 | 0 | 0.06 | 0 | 9.27 | 885.56 | 111.35 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.23 | 8.11 | 71.24 | 28.37 | 182.32 | NA | 3.24 | 2.46 | 0 | 0.06 | 0 | 9.46 | 884.89 | 141.49 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.1 | 8.19 | 74.65 | 27.85 | 177.71 | NA | 3.35 | 2.76 | 0 | 0.06 | 0 | 10.69 | 884.08 | 63.91 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.05 | 8.19 | 76.07 | 27.8 | 184.78 | NA | 2.99 | 2.46 | 0 | 0.06 | 0 | 6.34 | 883.46 | 70.81 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.26 | 8.25 | 75.38 | 27.93 | 208.74 | NA | 3.22 | 2.53 | 0 | 0.06 | 0 | 14.01 | 883.02 | 56.59 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.08 | 8.29 | 76.73 | 27.57 | 192.23 | NA | 3.35 | 2.68 | 0 | 0.06 | 0 | 7.02 | 882.95 | 18.11 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.18 | 8.25 | 90.61 | 23.1 | 229.35 | NA | 3.02 | 2.36 | 0 | 0.06 | 0 | 5.19 | 883.18 | 0 | 2.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.41 | 8.29 | 91.94 | 22.46 | 149.4 | NA | 3.42 | 2.46 | 0 | 0.06 | 0 | 7.21 | 883.79 | 0 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.26 | 8.15 | 92.65 | 22.43 | 204.13 | NA | 3.26 | 2.58 | 0 | 0.06 | 0 | 8.63 | 884.56 | 0 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.26 | 8.19 | 93.39 | 21.96 | 195.23 | NA | 3.17 | 2.51 | 0 | 0.06 | 0 | 9.02 | 885.32 | 0 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.08 | 8.25 | 95.73 | 21.39 | 204.24 | NA | 3.17 | 2.5 | 0 | 0.06 | 0 | 8.67 | 885.67 | 0 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.1 | 8.15 | 98.4 | 21.04 | 229.17 | NA | 3.51 | 2.78 | 0 | 0.06 | 0.03 | 16.56 | 885.63 | 0 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.18 | 8.12 | 99.5 | 20.92 | 239.18 | NA | 3.13 | 2.53 | 0 | 0.06 | 0.06 | 19.44 | 885.4 | 0 | 2.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.54 | 8.05 | 99.5 | 20.79 | 248.91 | NA | 3.76 | 2.51 | 0 | 0.06 | 0 | 13.48 | 884.97 | 0 | 2.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.08 | 8.01 | 99.14 | 20.75 | 263.27 | NA | 3.08 | 2.4 | 0 | 0.06 | 0.02 | 13.9 | 884.5 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.03 | 8.01 | 97.05 | 20.78 | 246.37 | NA | 3.06 | 2.46 | 0 | 0.06 | 0 | 14.17 | 884.24 | 0 | 2.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.08 | 7.97 | 97.16 | 21.03 | 203.03 | NA | 3.26 | 2.58 | 0 | 0.06 | 0 | 11.16 | 884.01 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.13 | 8.05 | 96.02 | 21.33 | 161.12 | NA | 3.58 | 2.73 | 0 | 0.06 | 0 | 13.72 | 883.91 | 0 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.1 | 8.05 | 96.05 | 21.52 | 168.6 | NA | 3.19 | 2.6 | 0 | 0.06 | 0 | 16.21 | 884 | 1.69 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.13 | 7.97 | 90.34 | 24.34 | 220.9 | NA | 3.13 | 2.58 | 0 | 0.06 | 0 | 8.78 | 884.42 | 33.98 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.1 | 8.1 | 84.45 | 25.56 | 183.52 | NA | 3.3 | 2.59 | 0 | 0.06 | 0 | 7.09 | 884.86 | 48.69 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.17 | 8.12 | 88.16 | 23.91 | 200.79 | NA | 3.25 | 2.56 | 0 | 0.06 | 0 | 10.77 | 884.54 | 29.87 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0.03 | 7.97 | 71.24 | 20.75 | 149.4 | NA | 2.99 | 2.36 | 0 | 0.06 | 0 | 5.19 | 882.95 | 0 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.54 | 8.29 | 99.5 | 28.37 | 263.27 | NA | 3.76 | 2.78 | 0 | 0.06 | 0.06 | 19.44 | 886.11 | 141.49 | 2.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.17 | 8.12 | 88.16 | 23.91 | 200.79 | NA | 3.25 | 2.56 | 0 | 0.06 | 0 | 10.77 | 884.54 | 29.87 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.1 | 8.12 | 91.94 | 22.46 | 195.23 | NA | 3.22 | 2.53 | 0 | 0.06 | 0 | 9.27 | 884.5 | 0 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.1 | 8.01 | 99.5 | 20.79 | 263.27 | NA | 3.22 | 2.46 | 0 | 0.06 | 0 | 5.19 | 883.02 | 0 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.13 | 0.1 | 9.98 | 2.97 | 30.61 | NA | 0.18 | 0.11 | 0 | 0 | 0.01 | 3.72 | 0.94 | 41.53 | 0.38 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 23 | 23 | 23 | 23 | 23 | NA | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 92 | 92 | 92 | 92 | 92 | NA | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0