## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 7 |  |  |  | Date : 07/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 07/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.14 | 213.1 | 0.02 | 81.07 | 0.7 | 0.03 | 0.01 | 0.01 | 25.07 | NA | 3.04 | 8.62 | 0.02 | 0 | 889.37 | NA | 2.43 | 0.06 | 0.01 | 9.76 | 60.11
07-08Hr | 0.07 | 168.36 | 0.02 | 79.45 | 1.34 | 0.03 | 0.01 | 0.01 | 25.17 | NA | 3.04 | 8.83 | 0.02 | 0 | 889.7 | NA | 2.46 | 0.06 | 0.01 | 14.43 | 37.71
08-09Hr | 0.02 | 190.35 | 0.02 | 73.26 | 5.04 | 0.33 | 0.01 | 0.01 | 27.02 | NA | 3.49 | 8.72 | 0.02 | 0 | 889.7 | NA | 2.5 | 0.06 | 0.01 | 10.8 | 166.64
09-10Hr | 0.17 | 169.2 | 0.02 | 71.82 | 1.1 | 0.18 | 0.01 | 0.01 | 27.49 | NA | 3.38 | 8.83 | 0.02 | 0 | 889.05 | NA | 2.56 | 0.06 | 0.01 | 13.86 | 93.57
10-11Hr | 0.12 | 199.62 | 0.02 | 68.83 | 0.86 | 0.13 | 0.01 | 0.01 | 28.42 | NA | 3.1 | 9.04 | 0.02 | 0 | 888.14 | NA | 2.38 | 0.06 | 0.01 | 11.21 | 117.82
11-12Hr | 0.05 | 186.64 | 0.02 | 67.24 | 1.1 | 0.05 | 0.01 | 0.01 | 29 | NA | 3.13 | 9.08 | 0.02 | 0 | 887.12 | NA | 2.53 | 0.06 | 0.01 | 13.03 | 113.14
12-13Hr | 0.06 | 182.82 | 0.02 | 69.57 | 1.26 | 0.31 | 0.01 | 0.01 | 29.07 | NA | 3.58 | 9.15 | 0.02 | 0 | 886.26 | NA | 2.66 | 0.06 | 0.01 | 9.15 | 99.45
13-14Hr | 0.05 | 186.83 | 0.02 | 73.86 | 1.26 | 0.44 | 0.01 | 0.01 | 28.11 | NA | 3.51 | 9.19 | 0.02 | 0 | 885.86 | NA | 2.41 | 0.06 | 0.01 | 10.91 | 52.14
14-15Hr | 0.12 | 189.13 | 0.02 | 86.8 | 0.54 | 0.26 | 0.01 | 0.01 | 24.99 | NA | 3.2 | 9.29 | 0.02 | 0.03 | 886 | NA | 2.31 | 0.06 | 0.01 | 7.81 | 2.23
15-16Hr | 0.12 | 205.18 | 0.02 | 96.06 | 0.53 | 0.15 | 0.01 | 0.01 | 22.4 | NA | 3.06 | 9.33 | 0.02 | 0.67 | 886.55 | NA | 2.4 | 0.06 | 0.01 | 18.37 | 0
16-17Hr | 0.1 | 229.99 | 0.02 | 99.48 | 0.54 | 0.1 | 0.01 | 0.01 | 21.38 | NA | 3.19 | 9.22 | 0.02 | 0 | 887.15 | NA | 2.58 | 0.06 | 0.01 | 15.12 | 0
17-18Hr | 0.13 | 254.15 | 0.02 | 99.5 | 0.18 | 0.51 | 0.01 | 0.01 | 21.11 | NA | 3.67 | 8.97 | 0.02 | 0 | 887.97 | NA | 2.53 | 0.06 | 0.01 | 15.31 | 0
18-19Hr | 0.12 | 245.91 | 0.02 | 99.5 | 0.37 | 0.18 | 0.01 | 0.01 | 21.14 | NA | 3.24 | 8.97 | 0.02 | 0 | 888.75 | NA | 2.54 | 0.06 | 0.01 | 9.88 | 0
19-20Hr | 0.18 | 256.54 | 0.02 | 99.5 | 0.4 | 0.26 | 0.01 | 0.01 | 21.11 | NA | 3.33 | 8.94 | 0.02 | 0.01 | 889.21 | NA | 2.55 | 0.06 | 0.01 | 13.02 | 0
20-21Hr | 0.21 | 237.66 | 0.02 | 99.5 | 0.94 | 0.03 | 0.01 | 0.01 | 20.95 | NA | 3.04 | 9.08 | 0.02 | 0 | 889.47 | NA | 2.63 | 0.06 | 0.01 | 9.1 | 0
21-22Hr | 0.21 | 260.36 | 0.02 | 99.5 | 0.94 | 0.03 | 0.01 | 0.01 | 20.65 | NA | 3.24 | 9.04 | 0.02 | 0 | 889.32 | NA | 2.65 | 0.06 | 0.01 | 10.09 | 0
22-23Hr | 0.14 | 240.63 | 0.02 | 99.5 | 1.02 | 0.13 | 0.01 | 0.01 | 20.56 | NA | 3.31 | 8.87 | 0.02 | 0 | 889 | NA | 2.73 | 0.06 | 0.01 | 8.43 | 0
23-00Hr | 0.14 | 198.23 | 0.02 | 99.5 | 1.26 | 0.1 | 0.01 | 0.01 | 20.46 | NA | 3.13 | 9.04 | 0.02 | 0 | 888.5 | NA | 2.5 | 0.06 | 0.01 | 20.03 | 0
00-01Hr | 0.08 | 194.95 | 0.02 | 99.5 | 1.34 | 0.33 | 0.01 | 0.01 | 20.1 | NA | 3.49 | 9.04 | 0.02 | 0 | 887.99 | NA | 2.63 | 0.06 | 0.01 | 17.49 | 0
01-02Hr | 0.15 | 194.45 | 0.02 | 99.5 | 1.18 | 0.1 | 0.01 | 0.01 | 20.04 | NA | 3.35 | 8.9 | 0.02 | 0 | 887.55 | NA | 2.6 | 0.06 | 0.01 | 23.5 | 0
02-03Hr | 0.12 | 199.79 | 0.02 | 99.5 | 1.34 | 0.13 | 0.01 | 0.01 | 20.29 | NA | 3.33 | 8.87 | 0.02 | 0 | 887.52 | NA | 2.77 | 0.06 | 0.01 | 17.9 | 0
03-04Hr | 0.11 | 196.75 | 0.02 | 99.5 | 1.18 | 0.03 | 0.01 | 0.01 | 20.44 | NA | 3.31 | 8.76 | 0.02 | 0 | 887.85 | NA | 2.63 | 0.06 | 0.01 | 15.75 | 0
04-05Hr | 0.07 | 185.51 | 0.02 | 99.5 | 1.26 | 0.21 | 0.01 | 0.01 | 20.42 | NA | 3.74 | 8.76 | 0.02 | 0 | 888.26 | NA | 2.92 | 0.06 | 0.01 | 16.59 | 3.06
05-06Hr | 0.1 | 188.86 | 0.02 | 96.64 | 0.78 | 0.23 | 0.01 | 0.01 | 21.86 | NA | 3.35 | 8.83 | 0.02 | 0 | 888.89 | NA | 2.51 | 0.06 | 0.01 | 14.74 | 39.5
06-07hr | 0.09 | 205 | 0.02 | 86.21 | 0.86 | 0.21 | 0.01 | 0.01 | 24.73 | NA | 3.15 | 8.82 | 0.02 | 0 | 889.59 | NA | 2.75 | 0.06 | 0.01 | 13.37 | 50.81
Avg | 0.11 | 207.2 | 0.02 | 89.77 | 1.09 | 0.18 | 0.01 | 0.01 | 23.28 | NA | 3.3 | 8.97 | 0.02 | 0.03 | 888.19 | NA | 2.57 | 0.06 | 0.01 | 13.59 | 33.45
Min | 0.02 | 168.36 | 0.02 | 67.24 | 0.18 | 0.03 | 0.01 | 0.01 | 20.04 | NA | 3.04 | 8.62 | 0.02 | 0 | 885.86 | NA | 2.31 | 0.06 | 0.01 | 7.81 | 0
Max | 0.21 | 260.36 | 0.02 | 99.5 | 5.04 | 0.51 | 0.01 | 0.01 | 29.07 | NA | 3.74 | 9.33 | 0.02 | 0.67 | 889.7 | NA | 2.92 | 0.06 | 0.01 | 23.5 | 166.64
Geom.Mean | 0.11 | 207.2 | 0.02 | 89.77 | 1.09 | 0.18 | 0.01 | 0.01 | 23.28 | NA | 3.3 | 8.97 | 0.02 | 0.03 | 888.19 | NA | 2.57 | 0.06 | 0.01 | 13.59 | 33.45
Median | 0.12 | 198.23 | 0.02 | 99.48 | 1.02 | 0.15 | 0.01 | 0.01 | 21.38 | NA | 3.31 | 8.97 | 0.02 | 0 | 888.26 | NA | 2.55 | 0.06 | 0.01 | 13.37 | 0
Mode | 0.12 | 256.54 | 0.02 | 99.5 | 1.26 | 0.03 | 0.01 | 0.01 | 21.11 | NA | 3.04 | 9.04 | 0.02 | 0 | 889.7 | NA | 2.63 | 0.06 | 0.01 | 7.81 | 0
Std.Deviation | 0.05 | 27.38 | 0 | 12.45 | 0.89 | 0.13 | 0 | 0 | 3.25 | NA | 0.2 | 0.18 | 0 | 0.13 | 1.19 | NA | 0.14 | 0 | 0 | 3.98 | 48.75
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0