## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 1 |  |  |  | Date : 01/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 01/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 210.17 | 0.02 | 93.43 | 1.9 | 0.33 | 0.01 | 0.01 | 22.41 | NA | 3.38 | 8.76 | 0.02 | 0 | 885.33 | NA | 2.43 | 0.06 | 0.01 | 24.26 | 24.97
07-08Hr | 0 | 174.78 | 0.02 | 90.72 | 1.9 | 0.15 | 0.01 | 0.01 | 23.11 | NA | 3.35 | 8.72 | 0.02 | 0 | 885.92 | NA | 2.55 | 0.06 | 0.01 | 18.73 | 38.95
08-09Hr | 0 | 165.27 | 0.02 | 87.27 | 3.64 | 0.21 | 0.01 | 0.01 | 24.38 | NA | 3.26 | 8.69 | 0.02 | 0 | 886.03 | NA | 2.51 | 0.06 | 0.01 | 11.22 | 49.89
09-10Hr | 0 | 186.04 | 0.02 | 84.49 | 6.11 | 0.1 | 0.01 | 0.01 | 25.61 | NA | 3.33 | 8.54 | 0.02 | 0 | 885.58 | NA | 2.63 | 0.06 | 0.01 | 10.27 | 99.92
10-11Hr | 0 | 183.77 | 0.02 | 76.72 | 0.7 | 0.15 | 0.01 | 0.01 | 28.25 | NA | 3.06 | 8.69 | 0.02 | 0 | 885.1 | NA | 2.36 | 0.06 | 0.01 | 13.24 | 108.61
11-12Hr | 0 | 184.23 | 0.02 | 73.71 | 0.54 | 0.18 | 0.01 | 0.01 | 28.34 | NA | 3.42 | 8.65 | 0.02 | 0 | 884.42 | NA | 2.7 | 0.06 | 0.01 | 9.37 | 95.05
12-13Hr | 0 | 171.75 | 0.02 | 74.63 | 0.37 | 0.08 | 0.01 | 0.01 | 28.49 | NA | 3.33 | 8.8 | 0.02 | 0 | 883.71 | NA | 2.63 | 0.07 | 0.01 | 13.11 | 91.84
13-14Hr | 0 | 145.14 | 0.02 | 69.37 | 0.59 | 0.21 | 0.01 | 0.01 | 30.3 | NA | 3.22 | 8.83 | 0.02 | 0 | 883.53 | NA | 2.51 | 0.06 | 0.01 | 7.5 | 137.89
14-15Hr | 0 | 188.01 | 0.02 | 82.27 | 0.45 | 0.1 | 0.01 | 0.01 | 26.67 | NA | 3.4 | 8.94 | 0.02 | 0 | 883.7 | NA | 2.66 | 0.06 | 0.01 | 9.16 | 37.44
15-16Hr | 0 | 186.1 | 0.02 | 92.48 | 0.62 | 0.1 | 0.01 | 0.01 | 23.56 | NA | 3.01 | 8.94 | 0.02 | 0 | 883.97 | NA | 2.55 | 0.06 | 0.01 | 11.6 | 0.08
16-17Hr | 0 | 171.13 | 0.02 | 95.56 | 0.78 | 0.08 | 0.01 | 0.01 | 22.92 | NA | 3.24 | 9.01 | 0.02 | 0 | 884.76 | NA | 2.65 | 0.06 | 0.01 | 12.95 | 0
17-18Hr | 0 | 186.41 | 0.02 | 95.68 | 0.37 | 0.28 | 0.01 | 0.01 | 22.61 | NA | 3.29 | 8.94 | 0.02 | 0 | 885.55 | NA | 2.46 | 0.06 | 0.01 | 10.69 | 0
18-19Hr | 0 | 214.85 | 0.02 | 96.28 | 0.59 | 0.13 | 0.01 | 0.01 | 22.41 | NA | 3.13 | 8.9 | 0.02 | 0.05 | 886.57 | NA | 2.55 | 0.06 | 0.01 | 8.59 | 0
19-20Hr | 0 | 227.18 | 0.02 | 97.75 | 1.9 | 0.51 | 0.01 | 0.01 | 20.88 | NA | 3.6 | 8.87 | 0.02 | 0.15 | 887.16 | NA | 2.46 | 0.06 | 0.01 | 15.32 | 0
20-21Hr | 0 | 228.18 | 0.02 | 97.6 | 1.42 | 0.18 | 0.01 | 0.01 | 20.8 | NA | 3.15 | 8.87 | 0.02 | 0.14 | 887.05 | NA | 2.41 | 0.06 | 0.01 | 22.97 | 0
21-22Hr | 0 | 220.65 | 0.02 | 98.64 | 1.18 | 0.2 | 0.01 | 0.01 | 20.83 | NA | 3.46 | 8.83 | 0.02 | 0 | 886.92 | NA | 2.68 | 0.06 | 0.01 | 20.3 | 0
22-23Hr | 0 | 206.49 | 0.02 | 98.49 | 1.18 | 0.13 | 0.01 | 0.01 | 20.99 | NA | 3.22 | 8.87 | 0.02 | 0 | 886.95 | NA | 2.51 | 0.06 | 0.01 | 17.11 | 0
23-00Hr | 0 | 209.96 | 0.02 | 98.33 | 1.02 | 0.08 | 0.01 | 0.01 | 21.27 | NA | 3.67 | 8.76 | 0.02 | 0 | 886.99 | NA | 2.8 | 0.06 | 0.01 | 15.83 | 0
00-01Hr | 0 | 215.17 | 0.02 | 97.86 | 0.86 | 0.08 | 0.01 | 0.01 | 21.24 | NA | 3.33 | 8.72 | 0.02 | 0 | 886.58 | NA | 2.66 | 0.06 | 0.01 | 21.69 | 0
01-02Hr | 0 | 193.29 | 0.02 | 98.97 | 0.7 | 0.05 | 0.01 | 0.01 | 21.09 | NA | 3.17 | 8.65 | 0.02 | 0 | 886.55 | NA | 2.66 | 0.06 | 0.01 | 16.23 | 0
02-03Hr | 0 | 203.21 | 0.02 | 99.29 | 0.54 | 0.03 | 0.01 | 0.01 | 21.11 | NA | 3.29 | 8.62 | 0.02 | 0 | 886.58 | NA | 2.65 | 0.06 | 0.01 | 17.14 | 0
03-04Hr | 0 | 210.24 | 0.02 | 99.33 | 0.78 | 0.36 | 0.01 | 0.01 | 20.95 | NA | 3.46 | 8.69 | 0.02 | 0 | 886.95 | NA | 2.51 | 0.06 | 0.01 | 17.25 | 0
04-05Hr | 0 | 201.97 | 0.02 | 98.36 | 0.78 | 0.13 | 0.01 | 0.01 | 21.39 | NA | 3.22 | 8.58 | 0.02 | 0 | 887.72 | NA | 2.63 | 0.06 | 0.01 | 13.56 | 0.79
05-06Hr | 0 | 196.15 | 0.02 | 95.49 | 0.48 | 0.1 | 0.01 | 0.01 | 22.26 | NA | 3.17 | 8.51 | 0.02 | 0 | 888.63 | NA | 2.51 | 0.06 | 0.01 | 9.49 | 11
06-07hr | 0 | 182.67 | 0.02 | 96.64 | 0.85 | 0.1 | 0.01 | 0.01 | 22.13 | NA | 3.06 | 8.58 | 0.02 | 0 | 889.14 | NA | 2.15 | 0.06 | 0.01 | 16.35 | 10.94
Avg | 0 | 194.51 | 0.02 | 91.57 | 1.21 | 0.16 | 0.01 | 0.01 | 23.36 | NA | 3.29 | 8.76 | 0.02 | 0.01 | 886.06 | NA | 2.55 | 0.06 | 0.01 | 14.56 | 28.29
Min | 0 | 145.14 | 0.02 | 69.37 | 0.37 | 0.03 | 0.01 | 0.01 | 20.8 | NA | 3.01 | 8.51 | 0.02 | 0 | 883.53 | NA | 2.15 | 0.06 | 0.01 | 7.5 | 0
Max | 0 | 228.18 | 0.02 | 99.33 | 6.11 | 0.51 | 0.01 | 0.01 | 30.3 | NA | 3.67 | 9.01 | 0.02 | 0.15 | 889.14 | NA | 2.8 | 0.07 | 0.01 | 24.26 | 137.89
Geom.Mean | 0 | 194.51 | 0.02 | 91.57 | 1.21 | 0.16 | 0.01 | 0.01 | 23.36 | NA | 3.29 | 8.76 | 0.02 | 0.01 | 886.06 | NA | 2.55 | 0.06 | 0.01 | 14.56 | 28.29
Median | 0 | 193.29 | 0.02 | 95.68 | 0.78 | 0.13 | 0.01 | 0.01 | 22.41 | NA | 3.29 | 8.76 | 0.02 | 0 | 886.55 | NA | 2.55 | 0.06 | 0.01 | 13.56 | 0.08
Mode | 0 | 145.14 | 0.02 | 69.37 | 1.9 | 0.1 | 0.01 | 0.01 | 22.41 | NA | 3.33 | 8.69 | 0.02 | 0 | 886.95 | NA | 2.51 | 0.06 | 0.01 | 7.5 | 0
Std.Deviation | 0 | 20.51 | 0 | 9.25 | 1.25 | 0.11 | 0 | 0 | 2.88 | NA | 0.16 | 0.14 | 0 | 0.04 | 1.49 | NA | 0.13 | 0 | 0 | 4.67 | 43.07
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0