## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 11 |  |  |  | Date : 11/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 198.31 | 0.02 | 90.11 | 1.15 | 0.08 | 0.01 | 0.01 | 24.76 | NA | 3.13 | 8.15 | 0.02 | 0 | 886.71 | NA | 2.58 | 0.06 | 0.01 | 13.34 | 35.54
07-08Hr | 0 | 192.32 | 0.02 | 84.43 | 0.99 | 0.41 | 0.01 | 0.01 | 26.69 | NA | 3.31 | 8.19 | 0.02 | 0 | 886.88 | NA | 2.46 | 0.06 | 0.01 | 10.56 | 86.1
08-09Hr | 0 | 195.18 | 0.02 | 85.13 | 0.91 | 0.31 | 0.01 | 0.01 | 26.21 | NA | 3.31 | 8.12 | 0.02 | 0 | 887.04 | NA | 2.51 | 0.06 | 0.01 | 11.94 | 23.53
09-10Hr | 0 | 222.38 | 0.02 | 77.13 | 1.53 | 0.12 | 0.01 | 0.01 | 28.63 | NA | 3.01 | 8.21 | 0.02 | 0 | 886.61 | NA | 2.49 | 0.06 | 0.01 | 11.81 | 122.69
10-11Hr | 0 | 204.53 | 0.02 | 82.07 | 1.52 | 0.04 | 0.01 | 0.01 | 27.65 | NA | 2.95 | 8.21 | 0.02 | 0 | 885.91 | NA | 2.55 | 0.06 | 0.01 | 11.29 | 73.19
11-12Hr | 0 | 194.27 | 0.02 | 87.08 | 1.07 | 0.1 | 0.01 | 0.01 | 26.52 | NA | 3.24 | 8.38 | 0.02 | 0 | 885.06 | NA | 2.52 | 0.06 | 0.01 | 11.81 | 25.35
12-13Hr | 0 | 180.54 | 0.02 | 83.47 | 1.13 | 0.18 | 0.01 | 0.01 | 27.5 | NA | 3.22 | 8.29 | 0.02 | 0 | 884.13 | NA | 2.51 | 0.06 | 0.01 | 9.78 | 72.75
13-14Hr | 0 | 171.26 | 0.02 | 75.7 | 1.2 | 0.08 | 0.01 | 0.01 | 28.89 | NA | 2.99 | 8.43 | 0.02 | 0 | 883.74 | NA | 2.43 | 0.06 | 0.01 | 10.44 | 62.75
14-15Hr | 0 | 190.7 | 0.02 | 85.12 | 1.01 | 0.25 | 0.01 | 0.01 | 26.37 | NA | 3.35 | 8.52 | 0.02 | 0.14 | 883.61 | NA | 2.52 | 0.06 | 0.01 | 7.84 | 10.81
15-16Hr | 0 | 218.41 | 0.02 | 96.53 | 0.78 | 0.06 | 0.01 | 0.01 | 23.21 | NA | 3.21 | 8.45 | 0.02 | 0.01 | 883.75 | NA | 2.81 | 0.06 | 0.01 | 14.97 | 0.41
16-17Hr | 0 | 219.88 | 0.02 | 99.13 | 0.69 | 0.14 | 0.01 | 0.01 | 22.83 | NA | 3.17 | 8.52 | 0.02 | 0 | 884.27 | NA | 2.6 | 0.06 | 0.01 | 10.62 | 0
17-18Hr | 0 | 247.59 | 0.02 | 99.29 | 0.3 | 0.08 | 0.01 | 0.01 | 22.55 | NA | 3.2 | 8.41 | 0.02 | 0.05 | 885.04 | NA | 2.52 | 0.06 | 0.01 | 14.29 | 0
18-19Hr | 0 | 253.16 | 0.02 | 98.58 | 1.07 | 0.33 | 0.01 | 0.01 | 22.16 | NA | 3.35 | 8.38 | 0.02 | 0 | 886.11 | NA | 2.41 | 0.06 | 0.01 | 11.58 | 0
19-20Hr | 0 | 248.87 | 0.02 | 99.46 | 1.84 | 0.08 | 0.01 | 0.01 | 22.09 | NA | 3.11 | 8.32 | 0.02 | 0 | 886.61 | NA | 2.57 | 0.06 | 0.01 | 11.96 | 0
20-21Hr | 0 | 267.13 | 0.02 | 99.5 | 0.77 | 0.14 | 0.01 | 0.01 | 21.97 | NA | 3.06 | 8.29 | 0.02 | 0 | 886.86 | NA | 2.57 | 0.06 | 0.01 | 11.26 | 0
21-22Hr | 0 | 252.09 | 0.02 | 99.5 | 0.94 | 0.14 | 0.01 | 0.01 | 21.95 | NA | 3.33 | 8.26 | 0.02 | 0 | 886.88 | NA | 2.65 | 0.06 | 0.01 | 14.12 | 0
22-23Hr | 0 | 251.18 | 0.02 | 99.5 | 0.9 | 0.09 | 0.01 | 0.01 | 21.9 | NA | 3.22 | 8.24 | 0.02 | 0 | 886.55 | NA | 2.66 | 0.06 | 0.01 | 15.21 | 0
23-00Hr | 0 | 237.07 | 0.02 | 99.5 | 1.23 | 0.34 | 0.01 | 0.01 | 21.72 | NA | 3.47 | 8.22 | 0.02 | 0 | 886.21 | NA | 2.55 | 0.06 | 0.01 | 16.28 | 0
00-01Hr | 0 | 241.45 | 0.02 | 99.5 | 1.15 | 0.08 | 0.01 | 0.01 | 21.79 | NA | 3.17 | 8.22 | 0.02 | 0 | 885.86 | NA | 2.73 | 0.06 | 0.01 | 13.62 | 0
01-02Hr | 0 | 256.68 | 0.02 | 99.5 | 1.31 | 0.23 | 0.01 | 0.01 | 21.72 | NA | 3.22 | 8.15 | 0.02 | 0 | 885.53 | NA | 2.66 | 0.06 | 0.01 | 14.15 | 0
02-03Hr | 0 | 252.89 | 0.02 | 99.5 | 1.15 | 0.15 | 0.01 | 0.01 | 21.64 | NA | 3.4 | 8.12 | 0.02 | 0 | 885.51 | NA | 2.66 | 0.06 | 0.01 | 11.73 | 0
03-04Hr | 0 | 246.88 | 0.02 | 99.5 | 1.07 | 0.31 | 0.01 | 0.01 | 21.46 | NA | 3.35 | 8.11 | 0.02 | 0 | 885.87 | NA | 2.51 | 0.06 | 0.01 | 11.73 | 0
04-05Hr | 0 | 223.72 | 0.02 | 99.5 | 1.23 | 0.08 | 0.01 | 0.01 | 21.34 | NA | 2.95 | 8.25 | 0.02 | 0 | 886.12 | NA | 2.56 | 0.06 | 0.01 | 13.41 | 1.02
05-06Hr | 0 | 199.14 | 0.02 | 99.5 | 1.02 | 0.1 | 0.01 | 0.01 | 21.95 | NA | 3.26 | 8.15 | 0.02 | 0 | 886.96 | NA | 2.6 | 0.06 | 0.01 | 16 | 19.46
06-07hr | 0 | 191.06 | 0.02 | 99.5 | 0.43 | 0 | 0.01 | 0.01 | 23.11 | NA | 2.7 | 8.01 | 0.02 | 0 | 887.44 | NA | 2.55 | 0.06 | 0.01 | 25.62 | 27.89
Avg | 0 | 222.27 | 0.02 | 93.51 | 1.06 | 0.16 | 0.01 | 0.01 | 23.86 | NA | 3.19 | 8.26 | 0.02 | 0.01 | 885.81 | NA | 2.57 | 0.06 | 0.01 | 13.01 | 22.46
Min | 0 | 171.26 | 0.02 | 75.7 | 0.3 | 0 | 0.01 | 0.01 | 21.34 | NA | 2.7 | 8.01 | 0.02 | 0 | 883.61 | NA | 2.41 | 0.06 | 0.01 | 7.84 | 0
Max | 0 | 267.13 | 0.02 | 99.5 | 1.84 | 0.41 | 0.01 | 0.01 | 28.89 | NA | 3.47 | 8.52 | 0.02 | 0.14 | 887.44 | NA | 2.81 | 0.06 | 0.01 | 25.62 | 122.69
Geom.Mean | 0 | 222.27 | 0.02 | 93.51 | 1.06 | 0.16 | 0.01 | 0.01 | 23.86 | NA | 3.19 | 8.26 | 0.02 | 0.01 | 885.81 | NA | 2.57 | 0.06 | 0.01 | 13.01 | 22.46
Median | 0 | 222.38 | 0.02 | 99.29 | 1.07 | 0.12 | 0.01 | 0.01 | 22.55 | NA | 3.22 | 8.24 | 0.02 | 0 | 886.11 | NA | 2.55 | 0.06 | 0.01 | 11.94 | 0.41
Mode | 0 | 256.68 | 0.02 | 99.5 | 1.15 | 0.08 | 0.01 | 0.01 | 21.95 | NA | 3.22 | 8.15 | 0.02 | 0 | 886.88 | NA | 2.51 | 0.06 | 0.01 | 11.81 | 0
Std.Deviation | 0 | 28.53 | 0 | 8.22 | 0.33 | 0.11 | 0 | 0 | 2.57 | NA | 0.17 | 0.13 | 0 | 0.03 | 1.15 | NA | 0.09 | 0 | 0 | 3.32 | 34.26
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0