## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 25 |  |  |  | Date : 25/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 25/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.08 | 8.08 | 84.06 | 25.6 | 194.51 | NA | 3.26 | 2.61 | 0 | 0.06 | 0 | 7.69 | 884.92 | 53.01 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.08 | 7.97 | 73.56 | 29.02 | 201.65 | NA | 3.11 | 2.53 | 0 | 0.06 | 0 | 12.19 | 885.23 | 141.84 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.1 | 8.12 | 73.83 | 28.86 | 183.05 | NA | 3.22 | 2.63 | 0 | 0.06 | 0 | 11.09 | 885.22 | 101.65 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.08 | 8.12 | 83.53 | 26.08 | 200.71 | NA | 3.15 | 2.68 | 0 | 0.06 | 0 | 9.7 | 884.94 | 61.76 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.03 | 8.22 | 79 | 27.6 | 200.54 | NA | 3.24 | 2.73 | 0 | 0.06 | 0 | 12.33 | 884.61 | 140.81 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.05 | 8.12 | 80.39 | 27.54 | 229.05 | NA | 3.2 | 2.61 | 0 | 0.06 | 0 | 8.52 | 884.02 | 33.7 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.05 | 8.22 | 86.7 | 26.56 | 221.57 | NA | 3.35 | 2.66 | 0 | 0.06 | 0 | 7.91 | 883 | 91.92 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.1 | 8.33 | 89.11 | 25.85 | 169.9 | NA | 3.13 | 2.68 | 0 | 0.06 | 0 | 10.38 | 882.16 | 25.96 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.26 | 8.22 | 86.94 | 26.24 | 158.04 | NA | 3.44 | 2.68 | 0 | 0.06 | 0 | 7.39 | 881.72 | 32.98 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.28 | 8.33 | 94.01 | 24.19 | 185.86 | NA | 3.26 | 2.43 | 0 | 0.06 | 0 | 9.21 | 881.72 | 1.77 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.15 | 8.29 | 96.99 | 23.6 | 232.95 | NA | 3.11 | 2.45 | 0 | 0.06 | 0.58 | 12.47 | 881.96 | 0 | 1.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.15 | 8.29 | 99.41 | 22.98 | 258.98 | NA | 3.26 | 2.63 | 0 | 0.06 | 0.1 | 11.98 | 882.63 | 0 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.31 | 8.19 | 99.5 | 22.83 | 252.18 | NA | 3.58 | 2.65 | 0 | 0.06 | 0.3 | 12.73 | 883.68 | 0 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.41 | 8.19 | 99.5 | 22.64 | 254.15 | NA | 3.58 | 2.51 | 0 | 0.06 | 0 | 16.43 | 884.58 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.18 | 8.26 | 99.5 | 22.14 | 251.29 | NA | 3.4 | 2.61 | 0 | 0.06 | 0.15 | 15.76 | 885.15 | 0 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.31 | 8.15 | 99.5 | 21.18 | 244.41 | NA | 3.17 | 2.24 | 0 | 0.06 | 0 | 16.38 | 885.09 | 0 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.05 | 8.22 | 99.5 | 21.6 | 252.33 | NA | 3.04 | 2.48 | 0 | 0.06 | 0 | 19.6 | 885.02 | 0 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.15 | 8.19 | 99.5 | 21.75 | 243.62 | NA | 3.2 | 2.51 | 0 | 0.06 | 0 | 16.63 | 885.11 | 0 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.26 | 8.12 | 99.5 | 21.57 | 256.61 | NA | 3.33 | 2.73 | 0 | 0.06 | 0 | 16.33 | 884.9 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.03 | 8.05 | 99.5 | 21.47 | 251.78 | NA | 3.15 | 2.6 | 0 | 0.06 | 0 | 13.84 | 884.7 | 0 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.5 | 8.09 | 99.5 | 21.28 | 257.21 | NA | 3.47 | 2.45 | 0 | 0.06 | 0 | 14.9 | 884.48 | 0 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.26 | 8.01 | 99.5 | 21.48 | 263.56 | NA | 3.53 | 2.65 | 0 | 0.06 | 0 | 13.23 | 884.6 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.27 | 7.97 | 99.5 | 21.51 | 261.78 | NA | 3.32 | 2.39 | 0 | 0.06 | 0 | 15.14 | 884.59 | 0.84 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.23 | 8.05 | 99.5 | 21.73 | 271.67 | NA | 3.13 | 2.53 | 0 | 0.06 | 0 | 13.82 | 884.93 | 24.86 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.08 | 7.9 | 98.84 | 22.94 | 223.44 | NA | 3.17 | 2.6 | 0 | 0.06 | 0 | 13.32 | 885.33 | 70.54 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.18 | 8.15 | 92.81 | 23.93 | 228.83 | NA | 3.27 | 2.57 | 0 | 0.06 | 0.05 | 12.76 | 884.17 | 31.27 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0.03 | 7.9 | 73.56 | 21.18 | 158.04 | NA | 3.04 | 2.24 | 0 | 0.06 | 0 | 7.39 | 881.72 | 0 | 1.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.5 | 8.33 | 99.5 | 29.02 | 271.67 | NA | 3.58 | 2.73 | 0 | 0.06 | 0.58 | 19.6 | 885.33 | 141.84 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.18 | 8.15 | 92.81 | 23.93 | 228.83 | NA | 3.27 | 2.57 | 0 | 0.06 | 0.05 | 12.76 | 884.17 | 31.27 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.15 | 8.15 | 99.41 | 22.94 | 243.62 | NA | 3.24 | 2.61 | 0 | 0.06 | 0 | 12.73 | 884.61 | 0.84 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.08 | 8.12 | 99.5 | 21.6 | 256.61 | NA | 3.26 | 2.68 | 0 | 0.06 | 0 | 7.69 | 881.72 | 0 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.13 | 0.12 | 9.04 | 2.59 | 32.84 | NA | 0.15 | 0.12 | 0 | 0 | 0.13 | 3.23 | 1.21 | 45.37 | 0.2 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0