## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 12 |  |  |  | Date : 12/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 12/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 35.16 | 22.87 | 0.02 | 51.88 | 1.55 | 0.25 | 0.01 | 0.01 | 21.64 | 83.66 | 3.46 | 11 | 0.02 | 0 | 890.89 | 0.01 | 2.55 | 0.06 | 0.01 | 30.83 | 7.95
07-08Hr | 34.79 | 22.99 | 0.02 | 49.57 | 1.6 | 0.21 | 0.01 | 0.01 | 23.23 | 86.83 | 3.41 | 10.91 | 0.02 | 0.02 | 891.56 | 0 | 2.55 | 0.06 | 0.01 | 34.82 | 71.47
08-09Hr | 34.87 | 22.55 | 0.02 | 47.84 | 1.96 | 0.21 | 0.01 | 0.01 | 24.73 | 160.41 | 3.31 | 10.9 | 0.02 | 0 | 891.63 | 0 | 2.55 | 0.06 | 0.01 | 28.89 | 151.83
09-10Hr | 35.06 | 21.99 | 0.02 | 46.52 | 2.58 | 0.14 | 0.01 | 0.01 | 24.73 | 88.25 | 3.18 | 10.96 | 0.02 | 0 | 891.01 | 0 | 2.51 | 0.06 | 0.01 | 63.92 | 174.88
10-11Hr | 35.46 | 21.72 | 0.02 | 43.87 | 1.68 | 0.13 | 0.01 | 0.01 | 24.42 | 81.68 | 3.22 | 11.09 | 0.02 | 0 | 889.94 | 0.01 | 2.64 | 0.06 | 0.01 | 67.85 | 186.02
11-12Hr | 35.82 | 22.85 | 0.02 | 37.12 | 1.69 | 0.16 | 0.01 | 0.01 | 25.03 | 76.53 | 3.36 | 11.23 | 0.02 | 0 | 889.08 | 0 | 2.68 | 0.06 | 0.01 | 50.75 | 186.22
12-13Hr | 36.38 | 22.39 | 0.02 | 36.23 | 1.34 | 0.12 | 0.01 | 0.01 | 26.82 | 91.37 | 3.3 | 11.37 | 0.02 | 0 | 888.41 | 0.02 | 2.62 | 0.06 | 0.01 | 41 | 164.66
13-14Hr | 36.41 | 23.04 | 0.02 | 39.02 | 1.35 | 0.24 | 0.01 | 0.01 | 26.53 | 86.71 | 3.5 | 11.38 | 0.02 | 0 | 888.09 | 0 | 2.63 | 0.06 | 0.01 | 66.43 | 106.94
14-15Hr | 36.17 | 21.65 | 0.02 | 60.1 | 1.65 | 0.15 | 0.01 | 0.01 | 21.18 | 87.4 | 3.27 | 11.33 | 0.02 | 0.01 | 888.08 | 0 | 2.63 | 0.06 | 0.01 | 48.11 | 4.55
15-16Hr | 36.27 | 23.36 | 0.02 | 72.08 | 1.41 | 0.28 | 0.01 | 0.01 | 18.65 | 86.48 | 3.54 | 11.37 | 0.02 | 0 | 888.44 | 0.01 | 2.65 | 0.06 | 0.01 | 42.27 | 0.18
16-17Hr | 36.54 | 21.57 | 0.02 | 79.74 | 0.88 | 0.12 | 0.01 | 0.01 | 17.42 | 87.03 | 3.25 | 11.42 | 0.02 | 0 | 889.11 | 0 | 2.58 | 0.06 | 0.01 | 35.06 | 0
17-18Hr | 36.66 | 23.29 | 0.02 | 81.62 | 0.37 | 0.14 | 0.01 | 0.01 | 16.8 | 96.69 | 3.39 | 11.46 | 0.02 | 0 | 889.67 | 0.01 | 2.67 | 0.06 | 0.01 | 28.6 | 0
18-19Hr | 36.48 | 23.56 | 0.02 | 81.34 | 0.25 | 0.11 | 0.01 | 0.01 | 16.34 | 97.74 | 3.5 | 11.42 | 0.02 | 0 | 890.09 | 0 | 2.76 | 0.06 | 0.01 | 29.07 | 0
19-20Hr | 36.15 | 23.01 | 0.02 | 81.9 | 0.22 | 0.23 | 0.01 | 0.01 | 15.66 | 84.81 | 3.36 | 11.31 | 0.02 | 0 | 890.59 | 0 | 2.61 | 0.06 | 0.01 | 20.9 | 0
20-21Hr | 35.97 | 23.24 | 0.02 | 81.21 | 0.23 | 0.15 | 0.01 | 0.01 | 15.62 | 110.26 | 3.45 | 11.27 | 0.02 | 0 | 890.88 | 0 | 2.8 | 0.06 | 0.01 | 16.66 | 0
21-22Hr | 35.92 | 23.04 | 0.02 | 81.1 | 0.74 | 0.17 | 0.01 | 0.01 | 15.59 | 90.12 | 3.43 | 11.25 | 0.02 | 0 | 890.83 | 0 | 2.64 | 0.06 | 0.01 | 14.81 | 0
22-23Hr | 35.27 | 22.55 | 0.02 | 82.7 | 0.7 | 0.16 | 0.01 | 0.01 | 15.46 | 152.84 | 3.44 | 11.03 | 0.02 | 0 | 890.46 | 0 | 2.63 | 0.06 | 0.01 | 19.55 | 0
23-00Hr | 35.39 | 22.16 | 0.02 | 84.46 | 0.55 | 0.14 | 0.01 | 0.01 | 14.88 | 115.15 | 3.3 | 11.06 | 0.02 | 0 | 890.19 | 0 | 2.62 | 0.06 | 0.01 | 10.73 | 0
00-01Hr | 35.62 | 22.43 | 0.02 | 84.48 | 0.96 | 0.15 | 0.01 | 0.01 | 14.71 | 118.53 | 3.37 | 11.13 | 0.02 | 0 | 890.07 | 0 | 2.65 | 0.06 | 0.01 | 12.3 | 0
01-02Hr | 34.81 | 22.32 | 0.02 | 87.47 | 0.65 | 0.15 | 0.01 | 0.01 | 14.09 | 107.36 | 3.29 | 10.89 | 0.02 | 0 | 889.85 | 0 | 2.58 | 0.06 | 0.01 | 11.66 | 0
02-03Hr | 34.46 | 22.33 | 0.02 | 81.83 | 0.73 | 0.12 | 0.01 | 0.01 | 15.24 | 102.94 | 3.36 | 10.78 | 0.02 | 0 | 889.71 | 0 | 2.71 | 0.06 | 0.01 | 14.49 | 0
03-04Hr | 34.65 | 22.27 | 0.02 | 76.41 | 1.06 | 0.15 | 0.01 | 0.01 | 15.81 | 171.88 | 3.28 | 10.81 | 0.02 | 0 | 889.95 | 0 | 2.6 | 0.06 | 0.01 | 20.31 | 0
04-05Hr | 34.27 | 22.25 | 0.02 | 75.11 | 1.44 | 0.14 | 0.01 | 0.01 | 15.37 | 116.5 | 3.31 | 10.75 | 0.02 | 0 | 890.36 | 0 | 2.63 | 0.06 | 0.01 | 10.89 | 0
05-06Hr | 34.43 | 23.08 | 0.02 | 67.45 | 1.68 | 0.2 | 0.01 | 0.01 | 17.65 | 97.4 | 3.49 | 10.78 | 0.02 | 0 | 891.02 | 0 | 2.66 | 0.06 | 0.01 | 32.27 | 24.62
06-07hr | 34.41 | 21.55 | 0.02 | 57.9 | 0.93 | 0.11 | 0.01 | 0.01 | 20.84 | 82.53 | 3.36 | 10.75 | 0.02 | 0 | 891.57 | 0 | 2.73 | 0.06 | 0.01 | 66.75 | 7.44
Avg | 35.5 | 22.56 | 0.02 | 66.76 | 1.13 | 0.17 | 0.01 | 0.01 | 19.14 | 102.44 | 3.37 | 11.11 | 0.02 | 0 | 890.06 | 0 | 2.64 | 0.06 | 0.01 | 32.76 | 43.47
Min | 34.27 | 21.55 | 0.02 | 36.23 | 0.22 | 0.11 | 0.01 | 0.01 | 14.09 | 76.53 | 3.18 | 10.75 | 0.02 | 0 | 888.08 | 0 | 2.51 | 0.06 | 0.01 | 10.73 | 0
Max | 36.66 | 23.56 | 0.02 | 87.47 | 2.58 | 0.28 | 0.01 | 0.01 | 26.82 | 171.88 | 3.54 | 11.46 | 0.02 | 0.02 | 891.63 | 0.02 | 2.8 | 0.06 | 0.01 | 67.85 | 186.22
Geom.Mean | 35.5 | 22.56 | 0.02 | 66.76 | 1.13 | 0.17 | 0.01 | 0.01 | 19.14 | 102.44 | 3.37 | 11.11 | 0.02 | 0 | 890.06 | 0 | 2.64 | 0.06 | 0.01 | 32.76 | 43.47
Median | 35.46 | 22.55 | 0.02 | 75.11 | 1.06 | 0.15 | 0.01 | 0.01 | 17.42 | 91.37 | 3.36 | 11.09 | 0.02 | 0 | 890.09 | 0 | 2.63 | 0.06 | 0.01 | 29.07 | 0
Mode | 34.27 | 23.04 | 0.02 | 36.23 | 1.68 | 0.15 | 0.01 | 0.01 | 24.73 | 152.84 | 3.36 | 11.37 | 0.02 | 0 | 891.56 | 0 | 2.63 | 0.06 | 0.01 | 10.73 | 0
Std.Deviation | 0.77 | 0.59 | 0 | 17.66 | 0.61 | 0.05 | 0 | 0 | 4.29 | 25.29 | 0.09 | 0.24 | 0 | 0 | 1.05 | 0.01 | 0.07 | 0 | 0 | 18.8 | 70.73
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0