## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 2 |  |  |  | Date : 02/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 02/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.09 | 187.88 | 0.02 | 97.54 | 0.53 | 0.1 | 0.01 | 0.01 | 22.03 | NA | 3.28 | 8.51 | 0.02 | 0 | 889.25 | NA | 2.46 | 0.06 | 0.01 | 13.49 | 23.12
07-08Hr | 0.12 | 209.98 | 0.02 | 91.84 | 0.35 | 0.18 | 0.01 | 0.01 | 23.95 | NA | 3.26 | 8.54 | 0.02 | 0 | 889.79 | NA | 2.5 | 0.06 | 0.01 | 12.66 | 64.39
08-09Hr | 0.04 | 188.91 | 0.02 | 85.72 | 0.53 | 0.13 | 0.01 | 0.01 | 25.3 | NA | 3.38 | 8.72 | 0.02 | 0 | 890.07 | NA | 2.68 | 0.06 | 0.01 | 12.05 | 54.76
09-10Hr | 0.11 | 150.36 | 0.02 | 82.66 | 0.62 | 0.08 | 0.01 | 0.01 | 26.15 | NA | 2.99 | 8.62 | 0.02 | 0 | 889.78 | NA | 2.39 | 0.06 | 0.01 | 11.97 | 69.38
10-11Hr | 0.1 | 197.63 | 0.02 | 81.95 | 0.54 | 0.21 | 0.01 | 0.01 | 26.59 | NA | 3.04 | 8.72 | 0.02 | 0 | 888.81 | NA | 2.31 | 0.06 | 0.01 | 11.42 | 44.05
11-12Hr | 0.11 | 233.43 | 0.02 | 96.91 | 1.42 | 0.31 | 0.01 | 0.01 | 21.39 | NA | 3.2 | 8.69 | 0.02 | 0.95 | 888.14 | NA | 2.5 | 0.06 | 0.01 | 19.36 | 10.88
12-13Hr | 0.1 | 222.88 | 0.02 | 98.19 | 1.74 | 0.21 | 0.01 | 0.01 | 20.83 | NA | 3.28 | 8.69 | 0.02 | 0.04 | 888.19 | NA | 2.66 | 0.06 | 0.01 | 23.79 | 6.53
13-14Hr | 0.1 | 216.89 | 0.02 | 99.09 | 1.9 | 0.36 | 0.01 | 0.01 | 20.67 | NA | 3.42 | 8.83 | 0.02 | 0 | 888.03 | NA | 2.45 | 0.06 | 0.01 | 21.31 | 1.79
14-15Hr | 0.1 | 220.01 | 0.02 | 99.32 | 1.18 | 0.13 | 0.01 | 0.01 | 20.65 | NA | 3.26 | 8.58 | 0.02 | 0.01 | 888.33 | NA | 2.5 | 0.06 | 0.01 | 25.03 | 0.8
15-16Hr | 0.14 | 200.45 | 0.02 | 98.32 | 1.82 | 0.39 | 0.01 | 0.01 | 20.57 | NA | 3.42 | 8.54 | 0.02 | 0 | 888.64 | NA | 2.41 | 0.06 | 0.01 | 18.28 | 0
16-17Hr | 0.16 | 172.56 | 0.02 | 98.49 | 1.02 | 0.16 | 0.01 | 0.01 | 20.69 | NA | 3.11 | 8.58 | 0.02 | 0 | 888.72 | NA | 2.46 | 0.06 | 0.01 | 15.7 | 0
17-18Hr | 0.09 | 201.31 | 0.02 | 99.5 | 1.9 | 0.26 | 0.01 | 0.01 | 20.55 | NA | 3.17 | 8.62 | 0.02 | 0 | 889.23 | NA | 2.46 | 0.06 | 0.01 | 17.14 | 0
18-19Hr | 0.11 | 181.3 | 0.02 | 98.28 | 2.14 | 0.13 | 0.01 | 0.01 | 20.69 | NA | 3.26 | 8.51 | 0.02 | 0 | 889.89 | NA | 2.63 | 0.06 | 0.01 | 9.87 | 0
19-20Hr | 0.14 | 193.3 | 0.02 | 92.44 | 1.58 | 0.1 | 0.01 | 0.01 | 21.38 | NA | 3.06 | 8.33 | 0.02 | 0 | 890.29 | NA | 2.5 | 0.06 | 0.01 | 15.26 | 0
20-21Hr | 0.13 | 184.86 | 0.02 | 92.77 | 1.1 | 0.26 | 0.01 | 0.01 | 21.36 | NA | 3.11 | 8.33 | 0.02 | 0 | 890.31 | NA | 2.36 | 0.06 | 0.01 | 10.31 | 0
21-22Hr | 0.05 | 185.23 | 0.02 | 94.99 | 1.34 | 0.13 | 0.01 | 0.01 | 21 | NA | 3.15 | 8.29 | 0.02 | 0 | 889.69 | NA | 2.38 | 0.06 | 0.01 | 13.69 | 0
22-23Hr | 0.14 | 195.83 | 0.02 | 91.3 | 1.1 | 0.08 | 0.01 | 0.01 | 21.54 | NA | 3.28 | 8.22 | 0.02 | 0 | 889.23 | NA | 2.7 | 0.06 | 0.01 | 10.54 | 0
23-00Hr | 0.09 | 172.99 | 0.02 | 93.1 | 0.86 | 0.31 | 0.01 | 0.01 | 21.08 | NA | 3.26 | 8.33 | 0.02 | 0 | 888.95 | NA | 2.5 | 0.06 | 0.01 | 10.36 | 0
00-01Hr | 0.07 | 189.73 | 0.02 | 91.74 | 0.86 | 0.28 | 0.01 | 0.01 | 21.16 | NA | 3.06 | 8.33 | 0.02 | 0 | 889.02 | NA | 2.33 | 0.06 | 0.01 | 10.74 | 0
01-02Hr | 0.15 | 197.62 | 0.02 | 92.67 | 1.1 | 0.18 | 0.01 | 0.01 | 21.02 | NA | 3.04 | 8.33 | 0.02 | 0 | 888.85 | NA | 2.53 | 0.06 | 0.01 | 11.77 | 0
02-03Hr | 0.1 | 231.31 | 0.02 | 93.39 | 0.94 | 0.28 | 0.01 | 0.01 | 20.79 | NA | 3.38 | 8.36 | 0.02 | 0 | 888.72 | NA | 2.55 | 0.06 | 0.01 | 10.27 | 0
03-04Hr | 0.16 | 204.52 | 0.02 | 94.51 | 1.18 | 0.15 | 0.01 | 0.01 | 20.69 | NA | 3.19 | 8.33 | 0.02 | 0 | 888.84 | NA | 2.5 | 0.06 | 0.01 | 12.34 | 0
04-05Hr | 0.14 | 183.57 | 0.02 | 92.49 | 0.7 | 0.05 | 0.01 | 0.01 | 21.28 | NA | 3.2 | 8.29 | 0.02 | 0 | 889.5 | NA | 2.55 | 0.06 | 0.01 | 12.16 | 19
05-06Hr | 0.08 | 189.91 | 0.02 | 79.51 | 0.37 | 0.41 | 0.01 | 0.01 | 25.11 | NA | 3.51 | 8.29 | 0.02 | 0 | 890.49 | NA | 2.51 | 0.06 | 0.01 | 12.52 | 71.86
06-07hr | 0 | 186.81 | 0.02 | 75.7 | 0.21 | 0 | 0.01 | 0.01 | 26.53 | NA | 2.52 | 8.29 | 0.02 | 0 | 890.99 | NA | 2.01 | 0.06 | 0.01 | 7.87 | 90.51
Avg | 0.1 | 195.97 | 0.02 | 92.5 | 1.08 | 0.2 | 0.01 | 0.01 | 22.12 | NA | 3.19 | 8.47 | 0.02 | 0.04 | 889.27 | NA | 2.47 | 0.06 | 0.01 | 14 | 18.28
Min | 0 | 150.36 | 0.02 | 75.7 | 0.21 | 0 | 0.01 | 0.01 | 20.55 | NA | 2.52 | 8.22 | 0.02 | 0 | 888.03 | NA | 2.01 | 0.06 | 0.01 | 7.87 | 0
Max | 0.16 | 233.43 | 0.02 | 99.5 | 2.14 | 0.41 | 0.01 | 0.01 | 26.59 | NA | 3.51 | 8.83 | 0.02 | 0.95 | 890.99 | NA | 2.7 | 0.06 | 0.01 | 25.03 | 90.51
Geom.Mean | 0.1 | 195.97 | 0.02 | 92.5 | 1.08 | 0.2 | 0.01 | 0.01 | 22.12 | NA | 3.19 | 8.47 | 0.02 | 0.04 | 889.27 | NA | 2.47 | 0.06 | 0.01 | 14 | 18.28
Median | 0.1 | 193.3 | 0.02 | 93.1 | 1.1 | 0.18 | 0.01 | 0.01 | 21.16 | NA | 3.2 | 8.51 | 0.02 | 0 | 889.23 | NA | 2.5 | 0.06 | 0.01 | 12.34 | 0
Mode | 0.1 | 150.36 | 0.02 | 75.7 | 1.1 | 0.13 | 0.01 | 0.01 | 20.69 | NA | 3.26 | 8.33 | 0.02 | 0 | 888.72 | NA | 2.5 | 0.06 | 0.01 | 7.87 | 0
Std.Deviation | 0.04 | 19.11 | 0 | 6.58 | 0.54 | 0.11 | 0 | 0 | 2.08 | NA | 0.19 | 0.18 | 0 | 0.19 | 0.79 | NA | 0.14 | 0 | 0 | 4.47 | 28.84
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0