## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-01-01 | Station Name : |  | Sikulpuikawn |  |  | JANUARY
Report No |  | 14 |  |  |  | Date : 14/01/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 14/01/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 39 | 0.01 | 2.57 | 64.78 | 17.64 | 224.34 | 3.18 | 0.76 | 1.14 | 6.88 | 0.06 | 0 | 7.79 | 892.37 | 29.64 | 7.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 62 | 0 | 2.57 | 54.88 | 20.78 | 211.17 | 5 | 0.71 | 1.09 | 10.39 | 0.06 | 0 | 10.74 | 893.47 | 41.03 | 7.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 59 | 0 | 2.57 | 53.19 | 21.6 | 203.88 | 5 | 0.58 | 0.9 | 11.76 | 0.06 | 0 | 9.74 | 893.72 | 213.12 | 8.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 53 | 0.05 | 2.57 | 45.07 | 24.34 | 215.1 | 4 | 0.6 | 1.07 | 7.73 | 0.06 | 0 | 10.76 | 893.39 | 248.42 | 6.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 41 | 0.02 | 2.55 | 44.79 | 24.69 | 219.17 | 3 | 0.74 | 1.02 | 4.03 | 0.06 | 0 | 8.46 | 892.57 | 259.81 | 6.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 47 | 0 | 2.57 | 56.4 | 20.68 | 214 | 0 | 0.97 | 1.22 | 4.39 | 0.06 | 0 | 10.06 | 891.6 | 68.52 | 12.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 66 | 0 | 2.57 | 48.54 | 23.39 | 207.22 | 1 | 0.51 | 0.96 | 5.15 | 0.06 | 0 | 13 | 890.86 | 222.81 | 24.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 52 | 0.03 | 2.57 | 48.11 | 23.86 | 220.55 | 3.8 | 0.73 | 0.89 | 4.94 | 0.06 | 0 | 8.01 | 890.39 | 173.45 | 10.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 49 | 0 | 2.57 | 52.87 | 21.75 | 196.93 | 5 | 0.54 | 1.08 | 5.09 | 0.06 | 0 | 11.09 | 890.37 | 106.15 | 9.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 60 | 0 | 2.57 | 68.84 | 18.01 | 203.97 | 6 | 0.48 | 0.97 | 3.93 | 0.06 | 0 | 7.13 | 890.64 | 23.4 | 9.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 60 | 0.02 | 2.57 | 81.12 | 15.89 | 199.68 | 7 | 0.51 | 0.93 | 2.63 | 0.06 | 0 | 12.62 | 891.12 | 0 | 9.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 80 | 0 | 2.57 | 84.47 | 15.49 | 220.57 | 7.91 | 0.72 | 1.1 | 2.64 | 0.06 | 0 | 8.96 | 891.64 | 0 | 9.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 60.2 | 0 | 2.57 | 80.62 | 15.25 | 226.8 | 8 | 0.62 | 0.97 | 2.75 | 0.06 | 0 | 9.8 | 892.19 | 0 | 8.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 55 | 0 | 2.57 | 77.44 | 15 | 202.58 | 9 | 0.56 | 1.15 | 3.06 | 0.06 | 0 | 9.68 | 892.62 | 0 | 8.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 52 | 0 | 2.57 | 79.51 | 14.47 | 207.2 | 7 | 0.72 | 0.98 | 3.36 | 0.06 | 0 | 11.16 | 892.83 | 0 | 6.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 50 | 0 | 2.57 | 81.01 | 13.9 | 208.05 | 8 | 0.39 | 0.86 | 3.61 | 0.06 | 0 | 13.07 | 892.6 | 0 | 5.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 53 | 0 | 2.57 | 80.53 | 13.9 | 192.59 | 5 | 0.62 | 1.1 | 3.37 | 0.06 | 0 | 12.01 | 892.28 | 0 | 5.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 47 | 0 | 2.55 | 81.69 | 13.73 | 205.55 | 2.25 | 0.72 | 1.07 | 6.57 | 0.06 | 0 | 14.21 | 892.21 | 0 | 5.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 45 | 0.02 | 2.57 | 82.17 | 13.42 | 198.13 | 7 | 0.51 | 0.83 | 7.93 | 0.06 | 0 | 12.25 | 891.89 | 0 | 6.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 38 | 0 | 2.57 | 83 | 13.53 | 197.88 | 5.25 | 0.41 | 0.79 | 7.31 | 0.06 | 0 | 14.2 | 891.48 | 0 | 5.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | No data : Software issue
03-04Hr
04-05Hr
05-06Hr
Avg | 53.41 | 0.01 | 2.57 | 67.45 | 18.07 | 208.77 | 5.12 | 0.62 | 1.01 | 5.38 | 0.06 | 0 | 10.74 | 892.01 | 69.32 | 8.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 38 | 0 | 2.55 | 44.79 | 13.42 | 192.59 | 0 | 0.39 | 0.79 | 2.63 | 0.06 | 0 | 7.13 | 890.37 | 0 | 5.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 80 | 0.05 | 2.57 | 84.47 | 24.69 | 226.8 | 9 | 0.97 | 1.22 | 11.76 | 0.06 | 0 | 14.21 | 893.72 | 259.81 | 24.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 53.41 | 0.01 | 2.57 | 67.45 | 18.07 | 208.77 | 5.12 | 0.62 | 1.01 | 5.38 | 0.06 | 0 | 10.74 | 892.01 | 69.32 | 8.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 9.73 | 0.01 | 0.01 | 14.77 | 4.02 | 9.6 | 2.38 | 0.14 | 0.11 | 2.54 | 0 | 0 | 2.04 | 0.97 | 94.16 | 3.99 | 0 | 0 | 0 | 0 | 0
Mode | 53 | 0 | 2.57 | 64.78 | 13.9 | 224.34 | 5 | 0.51 | 1.07 | 6.88 | 0.06 | 0 | 7.79 | 892.37 | 0 | 9.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 53 | 0 | 2.57 | 77.44 | 17.64 | 207.22 | 5 | 0.62 | 1.02 | 4.94 | 0.06 | 0 | 10.76 | 892.21 | 23.4 | 8.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Total Data Points | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0