## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 21 |  |  |  | Date : 21/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 21/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 4 | 0.24 | 4.77 | 90.33 | 24.37 | 105.09 | 0 | 3.25 | 2.47 | 0.2 | 0.06 | 0 | 12.97 | 883.53 | 45.08 | 2.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 15 | 0.19 | 4.84 | 90.23 | 23.97 | 120.39 | 0 | 3.16 | 2.41 | 0.5 | 0.06 | 0 | 9.1 | 883.75 | 50.64 | 2.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 19 | 0.24 | 4.84 | 91.03 | 23.94 | 170.24 | 0 | 3.33 | 2.52 | 0.41 | 0.06 | 0 | 15.47 | 883.69 | 48.46 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 28 | 0.26 | 4.81 | 86.77 | 25.4 | 132.95 | 0 | 3.39 | 2.55 | 0.31 | 0.06 | 0.01 | 10.41 | 883.48 | 63.66 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 40 | 0.2 | 4.89 | 89.85 | 24.24 | 125.34 | 0 | 3.3 | 2.59 | 0.64 | 0.06 | 0 | 7.73 | 882.89 | 98.74 | 2.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 15 | 0.24 | 4.92 | 80.73 | 27.03 | 125.08 | 0 | 3.38 | 2.6 | 0.92 | 0.06 | 0 | 11.55 | 882.16 | 131.82 | 2.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 44 | 0.2 | 4.88 | 73.39 | 28.58 | 153.83 | 0.97 | 3.22 | 2.49 | 1.6 | 0.06 | 0 | 9.69 | 881.58 | 159.66 | 2.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 64 | 0.1 | 4.91 | 71.82 | 29.18 | 86.95 | 2.93 | 3.1 | 2.51 | 2.29 | 0.06 | 0 | 9.8 | 880.98 | 110.48 | 2.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 42 | 0.17 | 4.92 | 74.75 | 28.26 | 137.75 | 3.97 | 3.21 | 2.58 | 3.16 | 0.06 | 0 | 8.18 | 880.73 | 128.07 | 2.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 44 | 0.18 | 4.93 | 72.76 | 28.41 | 107.85 | 3.03 | 3.22 | 2.51 | 3.81 | 0.06 | 0 | 8.95 | 880.92 | 103.15 | 2.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 41 | 0.26 | 4.98 | 82.65 | 25.07 | 137.33 | 5.9 | 3.27 | 2.5 | 3.67 | 0.06 | 0 | 8.03 | 881.06 | 9.27 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 42 | 0.18 | 4.95 | 90.21 | 23.25 | 122.96 | 4.07 | 3.26 | 2.58 | 3.48 | 0.06 | 0 | 7.86 | 881.8 | 0 | 2.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 43 | 0.18 | 4.89 | 92.39 | 22.74 | 127.43 | 4 | 3.12 | 2.45 | 2.41 | 0.06 | 0 | 7.9 | 882.46 | 0 | 2.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 27 | 0.17 | 4.94 | 93.14 | 22.5 | 152.12 | 4 | 3.23 | 2.56 | 1.41 | 0.06 | 0 | 6.87 | 882.98 | 0 | 3.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 22 | 0.15 | 4.94 | 93.37 | 22.5 | 134.61 | 1.1 | 3.12 | 2.49 | 1.27 | 0.06 | 0 | 8.2 | 883.45 | 0 | 3.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 17 | 0.18 | 4.9 | 94.73 | 22.4 | 162.16 | 1.97 | 3.12 | 2.5 | 0.95 | 0.06 | 0 | 29.34 | 883.64 | 0 | 3.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 11 | 0.13 | 4.86 | 96.96 | 22.27 | 189.9 | 0.07 | 3.2 | 2.55 | 0.54 | 0.06 | 0 | 11.31 | 883.32 | 0 | 3.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 11 | 0.18 | 4.9 | 98.77 | 21.73 | 178.09 | 0 | 3.32 | 2.58 | 0.3 | 0.06 | 0 | 7.05 | 882.77 | 0 | 3.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 8 | 0.32 | 4.87 | 99.5 | 21.62 | 176.31 | 0 | 3.34 | 2.51 | 0.12 | 0.06 | 0 | 7.86 | 881.95 | 0 | 3.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 14 | 0.21 | 4.87 | 99.5 | 21.63 | 170.9 | 0 | 3.23 | 2.52 | 0.05 | 0.06 | 0 | 6.52 | 881.87 | 0 | 2.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 13 | 0.19 | 4.88 | 99.5 | 21.61 | 187.81 | 0 | 3.32 | 2.6 | 1.27 | 0.06 | 0 | 6.48 | 882.06 | 0 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 11 | 0.16 | 4.87 | 99.5 | 21.61 | 152.46 | 0 | 3.33 | 2.64 | 0.46 | 0.06 | 0 | 7.12 | 882.2 | 0 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 9 | 0.21 | 4.87 | 99.5 | 21.61 | 159.45 | 0 | 3.25 | 2.51 | 0.34 | 0.06 | 0 | 6.17 | 882.51 | 0 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 17 | 0.19 | 4.86 | 99.5 | 21.71 | 171.17 | 0 | 3.27 | 2.57 | 0.38 | 0.06 | 0 | 6.51 | 882.83 | 6.06 | 2.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 8 | 0.19 | 4.87 | 99.49 | 22.11 | 139.5 | 0 | 3.46 | 2.66 | 0.53 | 0.06 | 0 | 7.82 | 883.04 | 32.56 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 24.36 | 0.2 | 4.89 | 90.41 | 23.91 | 145.11 | 1.28 | 3.26 | 2.54 | 1.24 | 0.06 | 0 | 9.56 | 882.47 | 39.51 | 2.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 4 | 0.1 | 4.77 | 71.82 | 21.61 | 86.95 | 0 | 3.1 | 2.41 | 0.05 | 0.06 | 0 | 6.17 | 880.73 | 0 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 64 | 0.32 | 4.98 | 99.5 | 29.18 | 189.9 | 5.9 | 3.46 | 2.66 | 3.81 | 0.06 | 0.01 | 29.34 | 883.75 | 159.66 | 3.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 24.36 | 0.2 | 4.89 | 90.41 | 23.91 | 145.11 | 1.28 | 3.26 | 2.54 | 1.24 | 0.06 | 0 | 9.56 | 882.47 | 39.51 | 2.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 17 | 0.19 | 4.88 | 92.39 | 22.74 | 139.5 | 0 | 3.25 | 2.52 | 0.64 | 0.06 | 0 | 8.03 | 882.51 | 6.06 | 2.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 11 | 0.18 | 4.87 | 99.5 | 21.61 | 132.95 | 0 | 3.12 | 2.51 | 1.27 | 0.06 | 0 | 7.86 | 880.73 | 0 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 15.98 | 0.05 | 0.05 | 9.33 | 2.52 | 27.02 | 1.85 | 0.09 | 0.06 | 1.2 | 0 | 0 | 4.68 | 0.94 | 52.05 | 0.5 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0