## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 29 |  |  |  | Date : 29/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 29/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 180.64 | 0.02 | 87.46 | 0.4 | 0.15 | 0.01 | 0.01 | 26.02 | NA | 2.9 | 8.72 | 0.02 | 0 | 886.56 | NA | 2.29 | 0.06 | 0.01 | 14.91 | 37.09
07-08Hr | 0 | 183.63 | 0.02 | 85.86 | 0.7 | 0.05 | 0.01 | 0.01 | 26.53 | NA | 3.13 | 8.83 | 0.02 | 0 | 886.63 | NA | 2.61 | 0.06 | 0.01 | 10.24 | 45.39
08-09Hr | 0 | 193.98 | 0.02 | 81.78 | 3.59 | 0 | 0.01 | 0.01 | 27.74 | NA | 3.13 | 8.8 | 0.02 | 0 | 886.2 | NA | 2.51 | 0.06 | 0.01 | 10.91 | 81.15
09-10Hr | 0 | 172.19 | 0.02 | 74.07 | 9.92 | 0.18 | 0.01 | 0.01 | 30.17 | NA | 2.83 | 8.7 | 0.02 | 0 | 885.51 | NA | 2.41 | 0.06 | 0.01 | 12.7 | 128.84
10-11Hr | 0 | 167.39 | 0.02 | 80.94 | 1.53 | 0.2 | 0.01 | 0.01 | 28.27 | NA | 3.28 | 8.62 | 0.02 | 0 | 884.38 | NA | 2.53 | 0.06 | 0.01 | 13.24 | 70.96
11-12Hr | 0 | 171.86 | 0.02 | 79.29 | 0.86 | 0.03 | 0.01 | 0.01 | 29.1 | NA | 3.19 | 8.76 | 0.02 | 0 | 883.4 | NA | 2.6 | 0.06 | 0.01 | 7.63 | 67.41
12-13Hr | 0 | 191.3 | 0.02 | 78.28 | 0.62 | 0.18 | 0.01 | 0.01 | 29.36 | NA | 3.35 | 8.83 | 0.02 | 0 | 882.53 | NA | 2.58 | 0.06 | 0.01 | 10.2 | 127.66
13-14Hr | 0 | 241.28 | 0.02 | 69.53 | 0.94 | 0.08 | 0.01 | 0.01 | 32.05 | NA | 3.24 | 9.01 | 0.02 | 0 | 881.93 | NA | 2.49 | 0.06 | 0.01 | 5.71 | 122.46
14-15Hr | 0 | 186.88 | 0.02 | 77.34 | 0.7 | 0.23 | 0.01 | 0.01 | 29.13 | NA | 3.46 | 9.04 | 0.02 | 0 | 881.85 | NA | 2.58 | 0.06 | 0.01 | 8.05 | 53.12
15-16Hr | 0 | 204.2 | 0.02 | 86.52 | 0.4 | 0.05 | 0.01 | 0.01 | 26.11 | NA | 2.88 | 9.15 | 0.02 | 0 | 882.05 | NA | 2.45 | 0.06 | 0.01 | 9.84 | 0.57
16-17Hr | 0 | 175.83 | 0.02 | 96.03 | 0.29 | 0.08 | 0.01 | 0.01 | 24.49 | NA | 3.22 | 8.9 | 0.02 | 0 | 882.31 | NA | 2.5 | 0.06 | 0.01 | 20.96 | 0
17-18Hr | 0 | 187.8 | 0.02 | 97.37 | 0.37 | 0 | 0.01 | 0.01 | 24.14 | NA | 3.11 | 9.04 | 0.02 | 0 | 882.91 | NA | 2.53 | 0.06 | 0.01 | 13.23 | 0
18-19Hr | 0 | 183.41 | 0.02 | 98.82 | 0.32 | 0.13 | 0.01 | 0.01 | 23.98 | NA | 3.17 | 9.05 | 0.02 | 0 | 883.78 | NA | 2.55 | 0.06 | 0.01 | 18.79 | 0
19-20Hr | 0 | 189.79 | 0.02 | 99.5 | 0.24 | 0 | 0.01 | 0.01 | 23.8 | NA | 3.15 | 8.97 | 0.02 | 0 | 884.21 | NA | 2.73 | 0.06 | 0.01 | 18.04 | 0
20-21Hr | 0 | 186.11 | 0.02 | 99.5 | 0.32 | 0.21 | 0.01 | 0.01 | 23.75 | NA | 3.15 | 8.94 | 0.02 | 0 | 884.44 | NA | 2.51 | 0.06 | 0.01 | 17.45 | 0
21-22Hr | 0 | 181.32 | 0.02 | 99.5 | 0.54 | 0.26 | 0.01 | 0.01 | 23.72 | NA | 3.51 | 8.94 | 0.02 | 0 | 884.46 | NA | 2.65 | 0.06 | 0.01 | 18.49 | 0
22-23Hr | 0 | 188.1 | 0.02 | 99.5 | 0.24 | 0.13 | 0.01 | 0.01 | 23.47 | NA | 3.06 | 9.01 | 0.02 | 0 | 884.22 | NA | 2.4 | 0.06 | 0.01 | 19.07 | 0
23-00Hr | 0 | 181.03 | 0.02 | 99.2 | 0.43 | 0.26 | 0.01 | 0.01 | 23.18 | NA | 3.44 | 8.97 | 0.02 | 0 | 883.42 | NA | 2.7 | 0.06 | 0.01 | 15.12 | 0
00-01Hr | 0 | 188.69 | 0.02 | 99.5 | 0.26 | 0.18 | 0.01 | 0.01 | 23.07 | NA | 3.22 | 8.9 | 0.02 | 0 | 882.76 | NA | 2.5 | 0.06 | 0.01 | 20.71 | 0
01-02Hr | 0 | 189.3 | 0.02 | 99.5 | 0.26 | 0.23 | 0.01 | 0.01 | 23.03 | NA | 3.24 | 8.9 | 0.02 | 0 | 882.22 | NA | 2.43 | 0.06 | 0.01 | 20.66 | 0
02-03Hr | 0 | 185.1 | 0.02 | 99.5 | 0.37 | 0.23 | 0.01 | 0.01 | 22.58 | NA | 3.31 | 8.87 | 0.02 | 0 | 882.04 | NA | 2.45 | 0.06 | 0.01 | 22.37 | 0
03-04Hr | 0 | 194.07 | 0.02 | 99.5 | 0.37 | 0.31 | 0.01 | 0.01 | 22.81 | NA | 3.49 | 8.83 | 0.02 | 0 | 882.14 | NA | 2.61 | 0.06 | 0.01 | 23.49 | 0
04-05Hr | 0 | 189.11 | 0.02 | 99.5 | 0.59 | 0.1 | 0.01 | 0.01 | 23.12 | NA | 2.99 | 8.76 | 0.02 | 0 | 882.35 | NA | 2.23 | 0.06 | 0.01 | 17.92 | 18.66
05-06Hr | 0 | 191.33 | 0.02 | 85.94 | 0.45 | 0.1 | 0.01 | 0.01 | 27.71 | NA | 3.15 | 8.8 | 0.02 | 0 | 882.94 | NA | 2.5 | 0.06 | 0.01 | 14.12 | 56.47
06-07hr | 0 | 185.08 | 0.02 | 87.53 | 0.37 | 0.26 | 0.01 | 0.01 | 26.4 | NA | 3.46 | 8.76 | 0.02 | 0 | 883.24 | NA | 2.54 | 0.06 | 0.01 | 11.95 | 45.28
Avg | 0 | 187.58 | 0.02 | 90.46 | 1 | 0.15 | 0.01 | 0.01 | 25.75 | NA | 3.2 | 8.88 | 0.02 | 0 | 883.54 | NA | 2.52 | 0.06 | 0.01 | 15.03 | 34.2
Min | 0 | 167.39 | 0.02 | 69.53 | 0.24 | 0 | 0.01 | 0.01 | 22.58 | NA | 2.83 | 8.62 | 0.02 | 0 | 881.85 | NA | 2.23 | 0.06 | 0.01 | 5.71 | 0
Max | 0 | 241.28 | 0.02 | 99.5 | 9.92 | 0.31 | 0.01 | 0.01 | 32.05 | NA | 3.51 | 9.15 | 0.02 | 0 | 886.63 | NA | 2.73 | 0.06 | 0.01 | 23.49 | 128.84
Geom.Mean | 0 | 187.58 | 0.02 | 90.46 | 1 | 0.15 | 0.01 | 0.01 | 25.75 | NA | 3.2 | 8.88 | 0.02 | 0 | 883.54 | NA | 2.52 | 0.06 | 0.01 | 15.03 | 34.2
Median | 0 | 186.88 | 0.02 | 96.03 | 0.4 | 0.15 | 0.01 | 0.01 | 24.49 | NA | 3.19 | 8.9 | 0.02 | 0 | 883.24 | NA | 2.51 | 0.06 | 0.01 | 14.91 | 0.57
Mode | 0 | 185.08 | 0.02 | 99.5 | 0.37 | 0 | 0.01 | 0.01 | 26.4 | NA | 3.15 | 8.83 | 0.02 | 0 | 881.85 | NA | 2.5 | 0.06 | 0.01 | 5.71 | 0
Std.Deviation | 0 | 13.68 | 0 | 9.9 | 1.98 | 0.09 | 0 | 0 | 2.75 | NA | 0.19 | 0.13 | 0 | 0 | 1.47 | NA | 0.11 | 0 | 0 | 4.97 | 44.09
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0