## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 26 |  |  |  | Date : 26/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 26/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.08 | 7.9 | 98.84 | 22.94 | 223.44 | NA | 3.17 | 2.6 | 0 | 0.06 | 0 | 13.32 | 885.33 | 70.54 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.16 | 8.01 | 84.81 | 26.72 | 183.78 | NA | 3.15 | 2.51 | 0 | 0.06 | 0 | 10.02 | 885.53 | 123.02 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.18 | 8.05 | 76.37 | 28.83 | 216.07 | NA | 3.24 | 2.51 | 0 | 0.06 | 0 | 14.25 | 885.56 | 155.49 | 2.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.21 | 8.12 | 74.87 | 29.22 | 188.5 | NA | 2.99 | 2.44 | 0 | 0.06 | 0 | 10.26 | 885.22 | 166.99 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.12 | 8.17 | 82.59 | 28.25 | 185.03 | NA | 3.24 | 2.62 | 0 | 0.06 | 0 | 11.62 | 884.74 | 109.77 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.21 | 8.33 | 76.6 | 30.11 | 220.03 | NA | 2.92 | 2.33 | 0 | 0.06 | 0 | 4.67 | 884 | 164.03 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.05 | 8.22 | 77.43 | 29.52 | 185.53 | NA | 3.13 | 2.71 | 0 | 0.06 | 0 | 9.95 | 883.2 | 72.46 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.1 | 8.36 | 87.88 | 26.82 | 190.67 | NA | 2.84 | 2.33 | 0 | 0.06 | 0.1 | 8.84 | 882.69 | 21.77 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.23 | 8.41 | 97.21 | 23.08 | 277.06 | NA | 3.55 | 2.7 | 0 | 0.06 | 0.7 | 8.85 | 882.45 | 1.14 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.13 | 8.36 | 99.1 | 21.76 | 246.36 | NA | 3.04 | 2.41 | 0 | 0.06 | 0.13 | 13.76 | 882.2 | 4.41 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.1 | 8.33 | 98.51 | 22.02 | 206.49 | NA | 3.28 | 2.65 | 0 | 0.06 | 0 | 9.74 | 882.68 | 0.27 | 1.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.13 | 8.29 | 99.32 | 22.39 | 200.67 | NA | 3.31 | 2.56 | 0 | 0.06 | 0 | 10.44 | 883.46 | 0 | 1.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.1 | 8.22 | 99.5 | 22.71 | 198.04 | NA | 3.01 | 2.34 | 0 | 0.06 | 0 | 10.05 | 884.34 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.23 | 8.15 | 99.5 | 22.45 | 212.92 | NA | 3.29 | 2.62 | 0 | 0.06 | 0 | 12.31 | 884.94 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.26 | 8.19 | 99.5 | 22.2 | 206.68 | NA | 3.4 | 2.55 | 0 | 0.06 | 0 | 12.86 | 885.07 | 0 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.13 | 8.08 | 99.5 | 22.21 | 194.4 | NA | 3.37 | 2.58 | 0 | 0.06 | 0 | 14.64 | 884.8 | 0 | 2.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.34 | 8.22 | 99.5 | 22.45 | 196.99 | NA | 3.24 | 2.39 | 0 | 0.06 | 0 | 16.87 | 885.15 | 0 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.05 | 8.22 | 99.5 | 22.43 | 195.1 | NA | 3.28 | 2.58 | 0 | 0.06 | 0 | 16.6 | 884.83 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.1 | 8.08 | 99.5 | 21.52 | 209.21 | NA | 2.86 | 2.43 | 0 | 0.06 | 0.08 | 17.68 | 884.82 | 0 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.08 | 8.15 | 98.93 | 19.95 | 250.16 | NA | 3.06 | 2.53 | 0 | 0.06 | 0.06 | 16.85 | 884.47 | 0 | 3.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.13 | 8.05 | 99.34 | 20.26 | 254.03 | NA | 3.44 | 2.73 | 0 | 0.06 | 0 | 16.01 | 884.34 | 0 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.21 | 8.01 | 99.5 | 20.26 | 258.91 | NA | 3.26 | 2.55 | 0 | 0.06 | 0 | 14.72 | 884.34 | 0 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.12 | 8.01 | 99.5 | 20.58 | 271.97 | NA | 3.24 | 2.72 | 0 | 0.06 | 0 | 17.03 | 884.63 | 18.26 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.29 | 8.08 | 92.7 | 23.31 | 187.31 | NA | 3.44 | 2.63 | 0 | 0.06 | 0 | 13.39 | 884.65 | 52.15 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.18 | 8.08 | 84.8 | 25.15 | 187.76 | NA | 3.4 | 2.61 | 0 | 0.06 | 0 | 11.1 | 884.94 | 98.21 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.16 | 8.16 | 92.99 | 23.89 | 213.88 | NA | 3.21 | 2.55 | 0 | 0.06 | 0.04 | 12.63 | 884.34 | 42.34 | 2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0.05 | 7.9 | 74.87 | 19.95 | 183.78 | NA | 2.84 | 2.33 | 0 | 0.06 | 0 | 4.67 | 882.2 | 0 | 1.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.34 | 8.41 | 99.5 | 30.11 | 277.06 | NA | 3.55 | 2.73 | 0 | 0.06 | 0.7 | 17.68 | 885.56 | 166.99 | 3.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.16 | 8.16 | 92.99 | 23.89 | 213.88 | NA | 3.21 | 2.55 | 0 | 0.06 | 0.04 | 12.63 | 884.34 | 42.34 | 2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.13 | 8.15 | 98.93 | 22.45 | 206.49 | NA | 3.24 | 2.56 | 0 | 0.06 | 0 | 12.86 | 884.65 | 1.14 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.1 | 8.22 | 99.5 | 20.26 | 258.91 | NA | 3.24 | 2.51 | 0 | 0.06 | 0 | 4.67 | 884.34 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.08 | 0.13 | 9.13 | 3.19 | 29.01 | NA | 0.19 | 0.12 | 0 | 0 | 0.14 | 3.27 | 0.99 | 59.43 | 0.41 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0