## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 7 |  |  |  | Date : 07/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 07/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 35.13 | 23.38 | 0.02 | 74.31 | 0.95 | 0.19 | 0.01 | 0.01 | 20.08 | 87.45 | 3.49 | 10.99 | 0.02 | 0 | 892.2 | 0 | 2.73 | 0.06 | 0.01 | 26.94 | 10.32
07-08Hr | 34.9 | 23.06 | 0.02 | 63.02 | 1.01 | 0.12 | 0.01 | 0.01 | 22.02 | 90.59 | 3.43 | 10.92 | 0.02 | 0 | 892.63 | 0 | 2.63 | 0.06 | 0.01 | 33.72 | 67.77
08-09Hr | 35.39 | 23.34 | 0.02 | 51.29 | 1.14 | 0.25 | 0.01 | 0.01 | 24.08 | 94.27 | 3.51 | 11.05 | 0.02 | 0 | 892.53 | 0 | 2.64 | 0.06 | 0.01 | 41.79 | 159.15
09-10Hr | 35.83 | 22.13 | 0.02 | 49.4 | 1.18 | 0.13 | 0.01 | 0.01 | 24.53 | 92.45 | 3.31 | 11.21 | 0.02 | 0 | 892.07 | 0 | 2.6 | 0.06 | 0.01 | 55.71 | 178.81
10-11Hr | 36.1 | 23.78 | 0.02 | 45.23 | 1.22 | 0.25 | 0.01 | 0.01 | 24.53 | 79.77 | 3.53 | 11.27 | 0.02 | 0 | 891.19 | 0.01 | 2.67 | 0.06 | 0.01 | 61.52 | 190.43
11-12Hr | 36.59 | 23.29 | 0.02 | 27.68 | 2.03 | 0.19 | 0.01 | 0.01 | 24.58 | 78.54 | 3.47 | 11.46 | 0.02 | 0 | 890.55 | 0 | 2.71 | 0.06 | 0.01 | 56.4 | 192.39
12-13Hr | 37.21 | 22.11 | 0.02 | 26.71 | 1.81 | 0.14 | 0.01 | 0.01 | 25.93 | 94.04 | 3.27 | 11.62 | 0.02 | 0 | 889.87 | 0 | 2.58 | 0.06 | 0.01 | 41.07 | 172.9
13-14Hr | 37.51 | 23.87 | 0.02 | 41.78 | 1.17 | 0.26 | 0.01 | 0.01 | 25.06 | 87.78 | 3.52 | 11.74 | 0.02 | 0 | 889.52 | 0.01 | 2.63 | 0.06 | 0.01 | 58.99 | 102.1
14-15Hr | 37.61 | 22.25 | 0.02 | 59.07 | 0.96 | 0.13 | 0.01 | 0.01 | 20.32 | 89.97 | 3.36 | 11.76 | 0.02 | 0 | 889.34 | 0.01 | 2.65 | 0.06 | 0.01 | 36.64 | 2.52
15-16Hr | 37.63 | 21.85 | 0.02 | 59.3 | 2.16 | 0.14 | 0.01 | 0.01 | 18.51 | 91.45 | 3.29 | 11.78 | 0.02 | 0 | 889.55 | 0 | 2.64 | 0.06 | 0.01 | 29.91 | 0.9
16-17Hr | 37.86 | 23.01 | 0.02 | 58.12 | 2.3 | 0.23 | 0.01 | 0.01 | 17.75 | 88.22 | 3.44 | 11.82 | 0.02 | 0 | 890.01 | 0 | 2.64 | 0.06 | 0.01 | 31.29 | 0
17-18Hr | 37.68 | 22.92 | 0.02 | 70.16 | 1.49 | 0.14 | 0.01 | 0.01 | 17.1 | 101.33 | 3.35 | 11.78 | 0.02 | 0 | 890.53 | 0 | 2.61 | 0.06 | 0.01 | 30.53 | 0
18-19Hr | 37.28 | 23.11 | 0.02 | 79.87 | 0.98 | 0.2 | 0.01 | 0.01 | 15.96 | 91.24 | 3.46 | 11.65 | 0.02 | 0 | 891.02 | 0 | 2.7 | 0.06 | 0.01 | 23.91 | 0
19-20Hr | 37.12 | 23.57 | 0.02 | 86.07 | 0.63 | 0.19 | 0.01 | 0.01 | 15.03 | 88.6 | 3.49 | 11.62 | 0.02 | 0 | 891.33 | 0 | 2.68 | 0.06 | 0.01 | 17.04 | 0
20-21Hr | 36.85 | 22.02 | 0.02 | 85.82 | 0.65 | 0.13 | 0.01 | 0.01 | 14.56 | 90.3 | 3.29 | 11.52 | 0.02 | 0 | 891.44 | 0 | 2.65 | 0.06 | 0.01 | 16.33 | 0
21-22Hr | 36.47 | 22.48 | 0.02 | 87.62 | 0.93 | 0.19 | 0.01 | 0.01 | 14.25 | 96.75 | 3.35 | 11.41 | 0.02 | 0 | 891.18 | 0 | 2.55 | 0.06 | 0.01 | 13.55 | 0
22-23Hr | 36.08 | 23.22 | 0.02 | 90.49 | 0.91 | 0.19 | 0.01 | 0.01 | 14.35 | 111.5 | 3.46 | 11.26 | 0.02 | 0 | 890.67 | 0 | 2.66 | 0.06 | 0.01 | 9.77 | 0
23-00Hr | 35.48 | 22.78 | 0.02 | 88.7 | 1.21 | 0.18 | 0.01 | 0.01 | 14.82 | 111.49 | 3.46 | 11.11 | 0.02 | 0 | 890.31 | 0 | 2.65 | 0.06 | 0.01 | 10.83 | 0
00-01Hr | 35.57 | 22.55 | 0.02 | 89.63 | 2.12 | 0.18 | 0.01 | 0.01 | 14.73 | 121.04 | 3.36 | 11.1 | 0.02 | 0 | 889.88 | 0 | 2.56 | 0.06 | 0.01 | 11.71 | 0
01-02Hr | 35.45 | 22.99 | 0.02 | 89.76 | 2.26 | 0.2 | 0.01 | 0.01 | 14.39 | 109.56 | 3.39 | 11.07 | 0.02 | 0 | 889.41 | 0.01 | 2.62 | 0.06 | 0.01 | 11.66 | 0
02-03Hr | 35.32 | 23.85 | 0.02 | 74.24 | 2.75 | 0.27 | 0.01 | 0.01 | 15.05 | 103.78 | 3.48 | 11.08 | 0.02 | 0 | 889.12 | 0 | 2.62 | 0.06 | 0.01 | 12.65 | 0
03-04Hr | 35.46 | 22.94 | 0.02 | 56.86 | 2.04 | 0.14 | 0.01 | 0.01 | 15.15 | 104.72 | 3.45 | 11.09 | 0.02 | 0 | 889.41 | 0 | 2.72 | 0.06 | 0.01 | 13.3 | 0
04-05Hr | 35.55 | 23.06 | 0.02 | 54.91 | 1.75 | 0.22 | 0.01 | 0.01 | 14.82 | 90.03 | 3.43 | 11.13 | 0.02 | 0 | 889.81 | 0.01 | 2.62 | 0.06 | 0.01 | 13.56 | 0.8
05-06Hr | 35.43 | 22.23 | 0.02 | 54.31 | 1.59 | 0.23 | 0.01 | 0.01 | 16.88 | 94.85 | 3.33 | 11.09 | 0.02 | 0 | 890.34 | 0 | 2.6 | 0.06 | 0.01 | 18.16 | 35.85
06-07hr | 35.7 | 24.87 | 0.02 | 54 | 1.51 | 0.2 | 0.01 | 0.01 | 18.72 | 86.79 | 3.66 | 11.18 | 0.02 | 0 | 890.88 | 0 | 2.74 | 0.06 | 0.01 | 26.78 | 11.09
Avg | 36.29 | 22.99 | 0.02 | 64.73 | 1.47 | 0.19 | 0.01 | 0.01 | 18.53 | 95.06 | 3.42 | 11.35 | 0.02 | 0 | 890.59 | 0 | 2.64 | 0.06 | 0.01 | 28.15 | 45
Min | 34.9 | 21.85 | 0.02 | 26.71 | 0.63 | 0.12 | 0.01 | 0.01 | 14.25 | 78.54 | 3.27 | 10.92 | 0.02 | 0 | 889.12 | 0 | 2.55 | 0.06 | 0.01 | 9.77 | 0
Max | 37.86 | 24.87 | 0.02 | 90.49 | 2.75 | 0.27 | 0.01 | 0.01 | 25.93 | 121.04 | 3.66 | 11.82 | 0.02 | 0 | 892.63 | 0.01 | 2.74 | 0.06 | 0.01 | 61.52 | 192.39
Geom.Mean | 36.29 | 22.99 | 0.02 | 64.73 | 1.47 | 0.19 | 0.01 | 0.01 | 18.53 | 95.06 | 3.42 | 11.35 | 0.02 | 0 | 890.59 | 0 | 2.64 | 0.06 | 0.01 | 28.15 | 45
Median | 36.08 | 23.01 | 0.02 | 59.3 | 1.22 | 0.19 | 0.01 | 0.01 | 17.1 | 91.45 | 3.44 | 11.26 | 0.02 | 0 | 890.53 | 0 | 2.64 | 0.06 | 0.01 | 26.78 | 0.8
Mode | 35.7 | 23.06 | 0.02 | 26.71 | 0.95 | 0.19 | 0.01 | 0.01 | 14.82 | 90.03 | 3.46 | 11.62 | 0.02 | 0 | 889.41 | 0 | 2.64 | 0.06 | 0.01 | 9.77 | 0
Std.Deviation | 0.96 | 0.7 | 0 | 19.34 | 0.58 | 0.05 | 0 | 0 | 4.15 | 10.29 | 0.09 | 0.3 | 0 | 0 | 1.04 | 0 | 0.05 | 0 | 0 | 16.52 | 72.57
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0