## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 23 |  |  |  | Date : 23/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 23/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 36.21 | 22.7 | 0.02 | 68.16 | 1.18 | 0.18 | 0.01 | 0.01 | 19.15 | 94.99 | 3.44 | 11.35 | 0.02 | 0 | 889.3 | 0.01 | 2.71 | 0.06 | 0.01 | 24.92 | 15.35
07-08Hr | 36.34 | 22.27 | 0.02 | 66.32 | 1.11 | 0.16 | 0.01 | 0.01 | 20.41 | 86.45 | 3.33 | 11.36 | 0.02 | 0 | 889.85 | 0 | 2.62 | 0.06 | 0.01 | 26.73 | 34.8
08-09Hr | 36.38 | 22.3 | 0.02 | 58.21 | 1.83 | 0.24 | 0.01 | 0.01 | 22.16 | 86.95 | 3.4 | 11.37 | 0.02 | 0 | 889.82 | 0 | 2.6 | 0.06 | 0.01 | 39.69 | 108.72
09-10Hr | 36.76 | 23.37 | 0.02 | 53 | 4.56 | 0.23 | 0.01 | 0.01 | 22.15 | 92.41 | 3.46 | 11.49 | 0.02 | 0 | 889.29 | 0 | 2.67 | 0.06 | 0.01 | 45.9 | 122.09
10-11Hr | 37.32 | 21.52 | 0.02 | 50.8 | 7.85 | 0.19 | 0.01 | 0.01 | 22.83 | 93.43 | 3.21 | 11.69 | 0.02 | 0 | 888.5 | 0 | 2.53 | 0.06 | 0.01 | 60.62 | 134.58
11-12Hr | 37.89 | 21.72 | 0.02 | 51.62 | 2.96 | 0.16 | 0.01 | 0.01 | 22.63 | 88.12 | 3.19 | 11.86 | 0.02 | 0 | 887.58 | 0 | 2.54 | 0.06 | 0.01 | 68.12 | 117.46
12-13Hr | 38.15 | 23.12 | 0.02 | 52 | 2.49 | 0.17 | 0.01 | 0.01 | 23.4 | 87.86 | 3.45 | 11.96 | 0.02 | 0 | 887.13 | 0 | 2.73 | 0.06 | 0.01 | 67.21 | 148.7
13-14Hr | 38.34 | 22.75 | 0.02 | 53.96 | 2.34 | 0.15 | 0.01 | 0.01 | 23.04 | 88.51 | 3.34 | 12.01 | 0.02 | 0 | 886.88 | 0 | 2.59 | 0.06 | 0.01 | 58.95 | 101.4
14-15Hr | 38.44 | 22.75 | 0.02 | 68.55 | 2.71 | 0.2 | 0.01 | 0.01 | 18.96 | 89.28 | 3.42 | 12.03 | 0.02 | 0 | 886.86 | 0 | 2.64 | 0.06 | 0.01 | 39.49 | 11.2
15-16Hr | 38.31 | 24.33 | 0.02 | 73.58 | 3.57 | 0.2 | 0.01 | 0.01 | 17.35 | 91.32 | 3.59 | 12 | 0.02 | 0 | 887.08 | 0 | 2.74 | 0.06 | 0.01 | 40.74 | 0
16-17Hr | 38.12 | 23.48 | 0.02 | 74.42 | 4.48 | 0.18 | 0.01 | 0.01 | 16.7 | 88.82 | 3.54 | 11.93 | 0.02 | 0 | 887.56 | 0 | 2.79 | 0.06 | 0.01 | 37.02 | 0
17-18Hr | 38.21 | 23.45 | 0.02 | 78.74 | 4.4 | 0.16 | 0.01 | 0.01 | 16.3 | 92.39 | 3.47 | 11.94 | 0.02 | 0 | 888 | 0 | 2.66 | 0.06 | 0.01 | 30.42 | 0
18-19Hr | 38.04 | 22.14 | 0.02 | 81.07 | 4.11 | 0.12 | 0.01 | 0.01 | 16.05 | 95.78 | 3.3 | 11.9 | 0.02 | 0 | 888.42 | 0 | 2.68 | 0.06 | 0.01 | 26.82 | 0
19-20Hr | 37.77 | 23.98 | 0.02 | 81.26 | 3.77 | 0.16 | 0.01 | 0.01 | 15.66 | 87.01 | 3.58 | 11.83 | 0.02 | 0 | 888.77 | 0 | 2.83 | 0.06 | 0.01 | 23.92 | 0
20-21Hr | 37.13 | 22.77 | 0.02 | 84.19 | 2.06 | 0.19 | 0.01 | 0.01 | 14.92 | 100.34 | 3.37 | 11.6 | 0.02 | 0 | 888.75 | 0.01 | 2.62 | 0.06 | 0.01 | 20.04 | 0
21-22Hr | 36.72 | 23.22 | 0.02 | 83.4 | 1.91 | 0.21 | 0.01 | 0.01 | 15.35 | 93.74 | 3.53 | 11.49 | 0.02 | 0 | 888.52 | 0.01 | 2.72 | 0.06 | 0.01 | 16.81 | 0
22-23Hr | 36.52 | 23.32 | 0.02 | 84.06 | 2.31 | 0.2 | 0.01 | 0.01 | 15.16 | 101.45 | 3.45 | 11.44 | 0.02 | 0 | 888.33 | 0 | 2.68 | 0.06 | 0.01 | 13.87 | 0
23-00Hr | 36.52 | 22.65 | 0.02 | 86.63 | 2.36 | 0.15 | 0.01 | 0.01 | 14.56 | 155.94 | 3.39 | 11.42 | 0.02 | 0 | 887.86 | 0 | 2.67 | 0.06 | 0.01 | 41.75 | 0
00-01Hr | 36.15 | 23.17 | 0.02 | 85.17 | 2.47 | 0.16 | 0.01 | 0.01 | 15.15 | 146.07 | 3.48 | 11.29 | 0.02 | 0 | 887.53 | 0 | 2.7 | 0.06 | 0.01 | 17.38 | 0
01-02Hr | 36.44 | 22.32 | 0.02 | 86.03 | 2.55 | 0.15 | 0.01 | 0.01 | 14.95 | 97.33 | 3.31 | 11.4 | 0.02 | 0 | 887.29 | 0 | 2.61 | 0.06 | 0.01 | 11.64 | 0
02-03Hr | 36.03 | 23.12 | 0.02 | 88.62 | 2.09 | 0.19 | 0.01 | 0.01 | 14.6 | 113.77 | 3.49 | 11.27 | 0.02 | 0 | 887.22 | 0 | 2.74 | 0.06 | 0.01 | 9.98 | 0
03-04Hr | 36.04 | 22.3 | 0.02 | 90.72 | 2.01 | 0.22 | 0.01 | 0.01 | 14.39 | 126.72 | 3.38 | 11.25 | 0.02 | 0 | 887.37 | 0.01 | 2.62 | 0.06 | 0.01 | 9.51 | 0
04-05Hr | 35.92 | 23.45 | 0.02 | 88.57 | 2.25 | 0.21 | 0.01 | 0.01 | 14.44 | 116.49 | 3.54 | 11.24 | 0.02 | 0 | 887.8 | 0 | 2.72 | 0.06 | 0.01 | 11.24 | 0
05-06Hr | 36.15 | 22.3 | 0.02 | 86.55 | 2.17 | 0.15 | 0.01 | 0.01 | 14.91 | 107.67 | 3.27 | 11.28 | 0.02 | 0 | 888.42 | 0 | 2.62 | 0.06 | 0.01 | 13.34 | 6.78
06-07hr | 36.32 | 22.13 | 0.02 | 76.35 | 2.26 | 0.1 | 0.01 | 0.01 | 18.11 | 91.48 | 3.27 | 11.36 | 0.02 | 0 | 889.23 | 0 | 2.75 | 0.06 | 0.01 | 20.19 | 12.15
Avg | 37.05 | 22.83 | 0.02 | 74.08 | 2.87 | 0.18 | 0.01 | 0.01 | 17.73 | 100.57 | 3.41 | 11.59 | 0.02 | 0 | 888.13 | 0 | 2.67 | 0.06 | 0.01 | 31.05 | 32.53
Min | 35.92 | 21.52 | 0.02 | 50.8 | 1.11 | 0.1 | 0.01 | 0.01 | 14.39 | 86.45 | 3.19 | 11.24 | 0.02 | 0 | 886.86 | 0 | 2.53 | 0.06 | 0.01 | 9.51 | 0
Max | 38.44 | 24.33 | 0.02 | 90.72 | 7.85 | 0.24 | 0.01 | 0.01 | 23.4 | 155.94 | 3.59 | 12.03 | 0.02 | 0 | 889.85 | 0.01 | 2.83 | 0.06 | 0.01 | 68.12 | 148.7
Geom.Mean | 37.05 | 22.83 | 0.02 | 74.08 | 2.87 | 0.18 | 0.01 | 0.01 | 17.73 | 100.57 | 3.41 | 11.59 | 0.02 | 0 | 888.13 | 0 | 2.67 | 0.06 | 0.01 | 31.05 | 32.53
Median | 36.72 | 22.75 | 0.02 | 78.74 | 2.36 | 0.18 | 0.01 | 0.01 | 16.3 | 93.43 | 3.42 | 11.49 | 0.02 | 0 | 888 | 0 | 2.67 | 0.06 | 0.01 | 26.73 | 0
Mode | 36.52 | 22.3 | 0.02 | 50.8 | 1.18 | 0.16 | 0.01 | 0.01 | 14.56 | 146.07 | 3.45 | 11.36 | 0.02 | 0 | 888.42 | 0 | 2.62 | 0.06 | 0.01 | 9.98 | 0
Std.Deviation | 0.9 | 0.68 | 0 | 13.62 | 1.41 | 0.03 | 0 | 0 | 3.26 | 18.32 | 0.11 | 0.29 | 0 | 0 | 0.9 | 0 | 0.07 | 0 | 0 | 18.24 | 52.58
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0