## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 13 |  |  |  | Date : 13/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 13/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 5 | 0.16 | 6.01 | 83.78 | 24.67 | 120.11 | 0 | 3.23 | 2.55 | 1.23 | 0.06 | 0 | 41.65 | 881.8 | 59.83 | 3.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 4 | 0.14 | 6.02 | 80.6 | 25.92 | 126.14 | 0 | 3.23 | 2.56 | 1.43 | 0.06 | 0 | 38.6 | 882.18 | 81.86 | 3.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 6 | 0.12 | 6.01 | 79.1 | 26.66 | 129.26 | 0 | 3.13 | 2.5 | 0.93 | 0.06 | 0 | 39.57 | 882.38 | 90.21 | 3.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 11 | 0.17 | 6.05 | 76.86 | 27.82 | 129.52 | 0 | 3.2 | 2.53 | 0.95 | 0.06 | 0 | 32.75 | 882.48 | 146.02 | 3.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 11 | 0.15 | 6.08 | 72.43 | 29.19 | 167.89 | 1.83 | 3.21 | 2.51 | 1.14 | 0.06 | 0 | 5.87 | 882.09 | 173.59 | 2.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 8 | 0.27 | 6.08 | 70.49 | 30.41 | 170.82 | 0.17 | 3.25 | 2.45 | 2.07 | 0.06 | 0 | 5.98 | 881.58 | 169.16 | 2.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 16 | 0.23 | 6.05 | 68.21 | 30.83 | 184.85 | 0 | 3.38 | 2.55 | 2.2 | 0.06 | 0 | 4.67 | 880.8 | 119.83 | 2.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 13 | 0.24 | 6.15 | 70.15 | 29.84 | 187.17 | 0 | 3.27 | 2.48 | 2.6 | 0.06 | 0 | 5.26 | 880.12 | 107.4 | 2.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 27 | 0.2 | 6.3 | 76.72 | 27.81 | 233.41 | 0 | 3.2 | 2.51 | 3.58 | 0.06 | 0 | 5.59 | 879.79 | 11.36 | 2.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 21 | 0.12 | 6.3 | 77.77 | 27.2 | 212.52 | 0 | 3.16 | 2.58 | 4.92 | 0.06 | 0 | 5.23 | 880.11 | 1.7 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 19 | 0.11 | 6.29 | 77.53 | 26.6 | 205.1 | 0 | 3.07 | 2.53 | 5.45 | 0.06 | 0 | 16.54 | 880.71 | 0 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 13 | 0.31 | 6.28 | 80.05 | 25.98 | 205.04 | 0 | 3.25 | 2.45 | 4.99 | 0.06 | 0 | 6.28 | 881.29 | 0 | 2.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 13 | 0.16 | 6.25 | 77.84 | 25.93 | 180.4 | 1.84 | 3.17 | 2.52 | 4.42 | 0.06 | 0 | 4.34 | 882.4 | 0 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 12 | 0.14 | 6.25 | 78.33 | 25.8 | 194.77 | 3.83 | 3.13 | 2.5 | 4.61 | 0.06 | 0 | 5.34 | 883.36 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 18 | 0.12 | 6.24 | 84.96 | 25.09 | 194.05 | 0.33 | 3.18 | 2.57 | 3.82 | 0.06 | 0 | 5.34 | 883.53 | 0 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 13.78 | 0.18 | 6.11 | 87.93 | 24.56 | 202.39 | 0 | 3.1 | 2.45 | 3.07 | 0.06 | 0 | 5.22 | 883.45 | 0 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 16 | 0.26 | 6.06 | 86.78 | 24.29 | 201.58 | 0 | 3.17 | 2.43 | 3.39 | 0.06 | 0 | 6.11 | 883.03 | 0 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 8.86 | 0.17 | 6.03 | 85.31 | 24.14 | 181.7 | 0 | 3.21 | 2.51 | 2.78 | 0.06 | 0 | 8.39 | 882.75 | 0 | 2.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 5 | 0.2 | 6.06 | 89.78 | 23.7 | 202.66 | 0 | 3.2 | 2.49 | 2.43 | 0.06 | 0 | 5.16 | 882.17 | 0 | 1.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 5 | 0.16 | 6.06 | 92.31 | 23.29 | 212 | 0 | 3.18 | 2.54 | 2.13 | 0.06 | 0 | 4.77 | 881.81 | 0 | 1.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 7 | 0.19 | 6.05 | 95.8 | 22.9 | 175.93 | 0.03 | 3.1 | 2.39 | 1.82 | 0.06 | 0 | 6.2 | 881.84 | 0 | 1.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 5 | 0.13 | 6.03 | 99.25 | 22.6 | 168.25 | 0 | 3.16 | 2.49 | 1.87 | 0.06 | 0 | 10.13 | 882.21 | 0 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 6 | 0.22 | 6.03 | 99.49 | 22.6 | 189.65 | 0 | 3.14 | 2.43 | 1.23 | 0.06 | 0 | 6.8 | 882.41 | 2.36 | 1.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 4 | 0.16 | 6.02 | 98.83 | 23.41 | 163.91 | 0 | 3.25 | 2.64 | 0.6 | 0.06 | 0 | 10.29 | 882.52 | 29.66 | 1.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 12 | 0.18 | 6.05 | 86.19 | 26.3 | 204.83 | 0 | 3.13 | 2.54 | 0.65 | 0.06 | 0 | 15.27 | 882.94 | 56.1 | 1.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 11.19 | 0.18 | 6.11 | 83.06 | 25.9 | 181.76 | 0.32 | 3.19 | 2.51 | 2.57 | 0.06 | 0 | 12.05 | 881.99 | 41.96 | 2.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 4 | 0.11 | 6.01 | 68.21 | 22.6 | 120.11 | 0 | 3.07 | 2.39 | 0.6 | 0.06 | 0 | 4.34 | 879.79 | 0 | 1.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 27 | 0.31 | 6.3 | 99.49 | 30.83 | 233.41 | 3.83 | 3.38 | 2.64 | 5.45 | 0.06 | 0 | 41.65 | 883.53 | 173.59 | 3.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 11.19 | 0.18 | 6.11 | 83.06 | 25.9 | 181.76 | 0.32 | 3.19 | 2.51 | 2.57 | 0.06 | 0 | 12.05 | 881.99 | 41.96 | 2.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 11 | 0.17 | 6.06 | 80.6 | 25.92 | 187.17 | 0 | 3.18 | 2.51 | 2.2 | 0.06 | 0 | 6.11 | 882.18 | 1.7 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 5 | 0.16 | 6.05 | 68.21 | 22.6 | 129.26 | 0 | 3.13 | 2.51 | 1.23 | 0.06 | 0 | 5.34 | 880.12 | 0 | 2.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 5.99 | 0.05 | 0.11 | 9.14 | 2.41 | 29.62 | 0.89 | 0.07 | 0.06 | 1.48 | 0 | 0 | 12.09 | 1.04 | 59.35 | 0.72 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0