## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 29 |  |  |  | Date : 29/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 29/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 6.95 | 0.23 | 5.16 | 86.2 | 24.11 | 172.17 | 0 | 3.29 | 2.49 | 1.58 | 0.06 | 0 | 18.23 | 879.19 | 82.55 | 2.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 7 | 0.15 | 5.17 | 77.95 | 26.23 | 143.08 | 0.03 | 3.14 | 2.51 | 1.93 | 0.06 | 0 | 11.09 | 879.19 | 145.77 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 7.98 | 0.15 | 5.17 | 74.26 | 27.32 | 171.79 | 0 | 3.26 | 2.57 | 2.18 | 0.06 | 0 | 6.83 | 879.23 | 144.02 | 2.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 10.95 | 0.21 | 5.26 | 73.65 | 27.54 | 181.34 | 0 | 3.17 | 2.46 | 2.37 | 0.06 | 0 | 8.49 | 879.17 | 139.04 | 2.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 9.03 | 0.15 | 5.22 | 69.56 | 29.23 | 155.45 | 0 | 3.16 | 2.54 | 2.3 | 0.06 | 0 | 6.27 | 878.8 | 110.66 | 1.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 5.07 | 0.18 | 5.3 | 70.68 | 29.97 | 160.02 | 0 | 3.22 | 2.55 | 2.67 | 0.06 | 0 | 6.82 | 878.31 | 114.69 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 11.88 | 0.15 | 5.38 | 66.42 | 31.23 | 196.98 | 0 | 3.17 | 2.58 | 2.97 | 0.06 | 0 | 8.75 | 877.63 | 172.92 | 1.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 12.98 | 0.15 | 5.41 | 67.24 | 30.57 | 207.68 | 0 | 3.23 | 2.51 | 3.26 | 0.06 | 0 | 6.81 | 876.95 | 155.68 | 2.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 9.07 | 0.23 | 5.45 | 66.86 | 31.09 | 152.88 | 0 | 3.17 | 2.43 | 4.53 | 0.06 | 0 | 7 | 876.35 | 90.55 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 9.98 | 0.2 | 5.44 | 79.97 | 27.87 | 166.94 | 0 | 3.07 | 2.41 | 6.13 | 0.06 | 0 | 6.03 | 876.34 | 23.44 | 1.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 17.87 | 0.25 | 5.45 | 90.83 | 25.59 | 165.88 | 0 | 3.33 | 2.52 | 6.49 | 0.06 | 0 | 7.76 | 876.95 | 0.08 | 1.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 22.92 | 0.31 | 5.4 | 97.21 | 24.18 | 142.48 | 0 | 3.37 | 2.52 | 6.41 | 0.06 | 0.57 | 9.81 | 877.72 | 0 | 1.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 10.22 | 0.19 | 5.36 | 99.33 | 22.67 | 222.96 | 1.83 | 3.22 | 2.49 | 6.46 | 0.06 | 0.47 | 10.49 | 878.38 | 0 | 2.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 6.07 | 0.09 | 5.29 | 99.5 | 22.24 | 219.62 | 1.08 | 3.13 | 2.57 | 5.38 | 0.06 | 0 | 8.93 | 879.05 | 0 | 3.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 6.98 | 0.25 | 5.21 | 99.5 | 22.12 | 173.84 | 0.08 | 3.22 | 2.47 | 4.07 | 0.06 | 0 | 6.25 | 879.55 | 0 | 2.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 7 | 0.16 | 5.26 | 99.23 | 22.25 | 181.83 | 0 | 3.25 | 2.58 | 3.27 | 0.06 | 0 | 7.58 | 879.71 | 0 | 2.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 6.02 | 0.16 | 5.27 | 98.88 | 22.2 | 169.53 | 1.83 | 3.29 | 2.56 | 2.98 | 0.06 | 0 | 7.03 | 879.35 | 0 | 2.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 3 | 0.16 | 5.19 | 99.5 | 22.04 | 158.3 | 0.14 | 3.21 | 2.57 | 2.74 | 0.06 | 0 | 7.59 | 879.41 | 0 | 2.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 1 | 0.17 | 5.18 | 99.5 | 22.07 | 183.35 | 0 | 3.21 | 2.54 | 2.34 | 0.06 | 0 | 6.45 | 878.98 | 0 | 2.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 2 | 0.11 | 5.2 | 99.5 | 22.02 | 168.52 | 0 | 3.14 | 2.53 | 1.21 | 0.06 | 0 | 6.01 | 878.65 | 0 | 2.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 4 | 0.09 | 5.22 | 99.5 | 21.76 | 144.13 | 0 | 3.12 | 2.56 | 1.06 | 0.06 | 0 | 6.67 | 878.38 | 0 | 2.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 4 | 0.2 | 5.2 | 99.5 | 21.59 | 155.4 | 0 | 3.28 | 2.55 | 1.12 | 0.06 | 0 | 9.19 | 878.49 | 0.08 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 2 | 0.16 | 5.15 | 99.29 | 21.82 | 197.89 | 0 | 3.24 | 2.56 | 0.92 | 0.06 | 0 | 15.67 | 879.04 | 17.37 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 2 | 0.18 | 5.18 | 87.63 | 24.32 | 186.2 | 0 | 3.21 | 2.53 | 2.35 | 0.06 | 0 | 11.84 | 879.43 | 76.41 | 2.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 7 | 0.24 | 5.19 | 84.35 | 25.52 | 150.99 | 0 | 3.34 | 2.52 | 0.88 | 0.06 | 0 | 7.06 | 879.68 | 70.48 | 2.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 7.72 | 0.18 | 5.27 | 87.44 | 25.1 | 173.17 | 0.2 | 3.22 | 2.52 | 3.1 | 0.06 | 0.04 | 8.59 | 878.56 | 53.75 | 2.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1 | 0.09 | 5.15 | 66.42 | 21.59 | 142.48 | 0 | 3.07 | 2.41 | 0.88 | 0.06 | 0 | 6.01 | 876.34 | 0 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 22.92 | 0.31 | 5.45 | 99.5 | 31.23 | 222.96 | 1.83 | 3.37 | 2.58 | 6.49 | 0.06 | 0.57 | 18.23 | 879.71 | 172.92 | 3.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 7.72 | 0.18 | 5.27 | 87.44 | 25.1 | 173.17 | 0.2 | 3.22 | 2.52 | 3.1 | 0.06 | 0.04 | 8.59 | 878.56 | 53.75 | 2.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 7 | 0.17 | 5.22 | 90.83 | 24.18 | 169.53 | 0 | 3.22 | 2.53 | 2.67 | 0.06 | 0 | 7.58 | 878.98 | 17.37 | 2.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 2 | 0.15 | 5.22 | 99.5 | 21.76 | 142.48 | 0 | 3.17 | 2.57 | 0.92 | 0.06 | 0 | 6.83 | 878.38 | 0 | 1.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 5.05 | 0.05 | 0.1 | 13.02 | 3.35 | 22.52 | 0.54 | 0.07 | 0.05 | 1.82 | 0 | 0.14 | 3.01 | 1.01 | 63.02 | 0.44 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0