## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 23 |  |  |  | Date : 23/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 23/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.29 | 233.88 | 0.02 | 66.13 | 1.93 | 0.39 | 0.01 | 0.01 | 22.43 | NA | 3.62 | 10.23 | 0.02 | 0 | 892.23 | NA | 2.63 | 0.06 | 0.01 | 11.16 | 14.37
07-08Hr | 0.11 | 199.38 | 0.02 | 60.79 | 2.25 | 0.15 | 0.01 | 0.01 | 23.41 | NA | 3.51 | 10.3 | 0.02 | 0 | 892.86 | NA | 2.68 | 0.06 | 0.01 | 9.78 | 53.81
08-09Hr | 0.12 | 221.98 | 0.02 | 71.7 | 1.61 | 0.21 | 0.01 | 0.01 | 21 | NA | 3.47 | 10.41 | 0.02 | 0 | 892.93 | NA | 2.58 | 0.06 | 0.01 | 7.85 | 71.24
09-10Hr | 0.16 | 226.32 | 0.02 | 66.88 | 1.9 | 0.33 | 0.01 | 0.01 | 23.08 | NA | 3.33 | 10.51 | 0.02 | 0 | 892.47 | NA | 2.56 | 0.06 | 0.01 | 12.48 | 124.44
10-11Hr | 0.07 | 208.82 | 0.02 | 54.39 | 1.71 | 0.39 | 0.01 | 0.01 | 26.56 | NA | 3.6 | 10.62 | 0.02 | 0 | 891.76 | NA | 2.61 | 0.06 | 0.01 | 14.07 | 220.47
11-12Hr | 0.17 | 194.06 | 0.02 | 52.79 | 1.93 | 0.31 | 0.01 | 0.01 | 26.11 | NA | 3.31 | 10.83 | 0.02 | 0 | 891.01 | NA | 2.51 | 0.06 | 0.01 | 15.45 | 195.17
12-13Hr | 0.1 | 230.43 | 0.02 | 51.35 | 2.81 | 0.2 | 0.01 | 0.01 | 25.36 | NA | 3.47 | 10.97 | 0.02 | 0 | 890.5 | NA | 2.7 | 0.06 | 0.01 | 12.6 | 166.05
13-14Hr | 0.05 | 203.16 | 0.02 | 54.59 | 3.13 | 0.13 | 0.01 | 0.01 | 24.19 | NA | 3.15 | 10.94 | 0.02 | 0 | 890.18 | NA | 2.55 | 0.06 | 0.01 | 14.79 | 104.76
14-15Hr | 0.19 | 199.31 | 0.02 | 71.61 | 2.89 | 0.18 | 0.01 | 0.01 | 19.69 | NA | 3.26 | 11.01 | 0.02 | 0 | 889.93 | NA | 2.58 | 0.06 | 0.01 | 12.61 | 12.81
15-16Hr | 0.08 | 226.02 | 0.02 | 78.36 | 2.65 | 0.15 | 0.01 | 0.01 | 17.62 | NA | 3.47 | 10.97 | 0.02 | 0 | 890.07 | NA | 2.68 | 0.06 | 0.01 | 15.29 | 0
16-17Hr | 0.11 | 226.86 | 0.02 | 81.33 | 2.01 | 0.1 | 0.01 | 0.01 | 16.65 | NA | 3.13 | 11.08 | 0.02 | 0 | 890.24 | NA | 2.48 | 0.06 | 0.01 | 11.65 | 0
17-18Hr | 0.08 | 244.02 | 0.02 | 83.32 | 1.71 | 0.28 | 0.01 | 0.01 | 16.33 | NA | 3.42 | 10.94 | 0.02 | 0 | 890.7 | NA | 2.65 | 0.06 | 0.01 | 9.77 | 0
18-19Hr | 0.08 | 249.33 | 0.02 | 85.45 | 1.66 | 0.15 | 0.01 | 0.01 | 15.99 | NA | 2.99 | 11.04 | 0.02 | 0 | 891.16 | NA | 2.38 | 0.06 | 0.01 | 8.9 | 0
19-20Hr | 0.1 | 223.22 | 0.02 | 89.52 | 1.5 | 0.03 | 0.01 | 0.01 | 15.41 | NA | 3.42 | 10.87 | 0.02 | 0 | 891.46 | NA | 2.71 | 0.06 | 0.01 | 13.89 | 0
20-21Hr | 0.05 | 190.65 | 0.02 | 88.7 | 1.98 | 0.13 | 0.01 | 0.01 | 15.32 | NA | 3.2 | 10.83 | 0.02 | 0 | 891.61 | NA | 2.56 | 0.06 | 0.01 | 18.73 | 0
21-22Hr | 0.04 | 253.62 | 0.02 | 90.73 | 1.82 | 0.23 | 0.01 | 0.01 | 14.54 | NA | 3.46 | 10.9 | 0.02 | 0 | 891.54 | NA | 2.7 | 0.06 | 0.01 | 12.59 | 0
22-23Hr | 0.06 | 211.22 | 0.02 | 93.78 | 1.82 | 0.08 | 0.01 | 0.01 | 14.36 | NA | 3.06 | 10.8 | 0.02 | 0 | 891.42 | NA | 2.68 | 0.06 | 0.01 | 13.87 | 0
23-00Hr | 0.26 | 211.27 | 0.02 | 94.93 | 1.82 | 0.28 | 0.01 | 0.01 | 13.93 | NA | 3.6 | 10.69 | 0.02 | 0 | 891.08 | NA | 2.73 | 0.06 | 0.01 | 20.63 | 0
00-01Hr | 0.1 | 222.98 | 0.02 | 93.82 | 2.06 | 0.26 | 0.01 | 0.01 | 14.15 | NA | 3.31 | 10.83 | 0.02 | 0 | 890.59 | NA | 2.65 | 0.06 | 0.01 | 13.35 | 0
01-02Hr | 0.07 | 224.47 | 0.02 | 90.78 | 2.57 | 0.41 | 0.01 | 0.01 | 14.45 | NA | 3.6 | 11.26 | 0.02 | 0 | 890.36 | NA | 2.53 | 0.06 | 0.01 | 14.54 | 0
02-03Hr | 0.08 | 209.26 | 0.02 | 86.29 | 2.57 | 0.13 | 0.01 | 0.01 | 15.08 | NA | 3.28 | 10.62 | 0.02 | 0 | 890.35 | NA | 2.75 | 0.06 | 0.01 | 11.36 | 0
03-04Hr | 0.08 | 233.26 | 0.02 | 85.37 | 2.65 | 0.13 | 0.01 | 0.01 | 15.05 | NA | 3.22 | 10.3 | 0.02 | 0 | 890.35 | NA | 2.63 | 0.06 | 0.01 | 14.15 | 0
04-05Hr | 0.09 | 238.63 | 0.02 | 81.4 | 3.05 | 0 | 0.01 | 0.01 | 15.24 | NA | 3.29 | 10.3 | 0.02 | 0 | 890.79 | NA | 2.86 | 0.06 | 0.01 | 11.96 | 6.48
05-06Hr | 0.14 | 198.78 | 0.02 | 74.4 | 3.21 | 0.08 | 0.01 | 0.01 | 17.13 | NA | 3.24 | 10.16 | 0.02 | 0 | 891.45 | NA | 2.63 | 0.06 | 0.01 | 11.3 | 47.78
06-07hr | 0 | 224.53 | 0.02 | 67.94 | 3.21 | 0 | 0.01 | 0.01 | 18.48 | NA | 2.52 | 10.01 | 0.02 | 0 | 891.77 | NA | 2.48 | 0.06 | 0.01 | 9.62 | 8.91
Avg | 0.11 | 220.22 | 0.02 | 76.65 | 2.26 | 0.19 | 0.01 | 0.01 | 18.46 | NA | 3.32 | 10.7 | 0.02 | 0 | 891.15 | NA | 2.62 | 0.06 | 0.01 | 12.9 | 41.05
Min | 0 | 190.65 | 0.02 | 51.35 | 1.5 | 0 | 0.01 | 0.01 | 13.93 | NA | 2.52 | 10.01 | 0.02 | 0 | 889.93 | NA | 2.38 | 0.06 | 0.01 | 7.85 | 0
Max | 0.29 | 253.62 | 0.02 | 94.93 | 3.21 | 0.41 | 0.01 | 0.01 | 26.56 | NA | 3.62 | 11.26 | 0.02 | 0 | 892.93 | NA | 2.86 | 0.06 | 0.01 | 20.63 | 220.47
Geom.Mean | 0.11 | 220.22 | 0.02 | 76.65 | 2.26 | 0.19 | 0.01 | 0.01 | 18.46 | NA | 3.32 | 10.7 | 0.02 | 0 | 891.15 | NA | 2.62 | 0.06 | 0.01 | 12.9 | 41.05
Median | 0.09 | 223.22 | 0.02 | 81.33 | 2.01 | 0.15 | 0.01 | 0.01 | 16.65 | NA | 3.31 | 10.83 | 0.02 | 0 | 891.08 | NA | 2.63 | 0.06 | 0.01 | 12.6 | 0
Mode | 0.08 | 190.65 | 0.02 | 51.35 | 1.82 | 0.13 | 0.01 | 0.01 | 13.93 | NA | 3.47 | 10.3 | 0.02 | 0 | 890.35 | NA | 2.63 | 0.06 | 0.01 | 7.85 | 0
Std.Deviation | 0.07 | 17.19 | 0 | 14.07 | 0.56 | 0.12 | 0 | 0 | 4.24 | NA | 0.24 | 0.33 | 0 | 0 | 0.86 | NA | 0.1 | 0 | 0 | 2.89 | 67.5
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0