## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 4 |  |  |  | Date : 04/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 04/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 20 | 0.19 | 1.72 | 98.89 | 19.72 | 244.02 | 0.06 | 3.26 | 2.46 | 2.55 | 0.06 | 0 | 21.5 | 887.22 | 51.1 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 20 | 0.16 | 1.64 | 83.23 | 24.14 | 231.91 | 0 | 3.15 | 2.54 | 0.08 | 0.06 | 0 | 7.33 | 887.64 | 205.12 | 0.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 18 | 0.21 | 1.72 | 74.19 | 25.79 | 187.65 | 0 | 3.24 | 2.45 | 0.37 | 0.06 | 0 | 5.94 | 887.82 | 235.09 | 0.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 25 | 0.21 | 1.71 | 73.27 | 25.74 | 216.6 | 0 | 3.21 | 2.5 | 0.45 | 0.06 | 0 | 7.08 | 887.39 | 159.12 | 0.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 21 | 0.27 | 1.72 | 68.61 | 26.71 | 220.11 | 0 | 3.19 | 2.39 | 0.29 | 0.06 | 0 | 6.36 | 886.7 | 110.92 | 0.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 23 | 0.2 | 1.72 | 66.89 | 27.12 | 204.07 | 0 | 3.25 | 2.45 | 0.23 | 0.06 | 0.02 | 13.48 | 886.09 | 84.41 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 28 | 0.32 | 1.72 | 70.9 | 26.41 | 216.57 | 0 | 3.31 | 2.39 | 0.45 | 0.06 | 0 | 7.58 | 885.37 | 84.92 | 0.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 32 | 0.24 | 1.72 | 78.34 | 24.64 | 212.64 | 0 | 3.29 | 2.54 | 1.54 | 0.06 | 0 | 5.4 | 884.93 | 64.62 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 30 | 0.09 | 1.72 | 70.23 | 26.43 | 198.72 | 0 | 3.13 | 2.5 | 0.54 | 0.06 | 0 | 21.26 | 884.44 | 88.62 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 34 | 0.19 | 1.72 | 74.37 | 24.66 | 223.98 | 0.96 | 3.25 | 2.47 | 0.95 | 0.06 | 0 | 6.55 | 884.48 | 26.29 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 35 | 0.21 | 1.72 | 79.69 | 22.97 | 202.49 | 0.05 | 3.18 | 2.43 | 1.32 | 0.06 | 0 | 7.46 | 885.01 | 2.22 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 43 | 0.27 | 1.72 | 83.23 | 21.97 | 208.15 | 0.95 | 3.29 | 2.43 | 0.87 | 0.06 | 0 | 14.04 | 885.44 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 31 | 0.21 | 1.72 | 88.53 | 21.37 | 209.89 | 2.89 | 3.1 | 2.4 | 0.38 | 0.06 | 0 | 7.4 | 885.84 | 0 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 19 | 0.18 | 1.72 | 86.12 | 21.54 | 229.66 | 1.08 | 3.15 | 2.5 | 0.29 | 0.06 | 0 | 6.77 | 886.24 | 0 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 25 | 0.26 | 1.72 | 86.55 | 21.41 | 207.52 | 0.04 | 3.31 | 2.55 | 0.09 | 0.06 | 0 | 6.17 | 886.82 | 0 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 19 | 0.21 | 1.72 | 88.82 | 21.08 | 210.83 | 0 | 3.37 | 2.58 | 0.04 | 0.06 | 0 | 6.39 | 886.71 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 22 | 0.19 | 1.72 | 89.2 | 21.05 | 227.43 | 0 | 3.23 | 2.53 | 0.84 | 0.06 | 0 | 7.46 | 886.48 | 0 | 0.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 23 | 0.19 | 1.71 | 92.28 | 20.65 | 196.78 | 0 | 3.23 | 2.53 | 0 | 0.06 | 0 | 11.03 | 886.16 | 0 | 0.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 22 | 0.21 | 1.72 | 94.04 | 20.44 | 202.56 | 0 | 3.27 | 2.47 | 0 | 0.06 | 0 | 8.84 | 885.92 | 0 | 0.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 24 | 0.14 | 1.72 | 93.35 | 20.27 | 211.76 | 0 | 3.18 | 2.5 | 0 | 0.06 | 0 | 9.33 | 885.91 | 0 | 0.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 21 | 0.22 | 1.72 | 88.6 | 20.38 | 216.37 | 0 | 3.29 | 2.5 | 0 | 0.06 | 0 | 9.86 | 885.79 | 0 | 0.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 20 | 0.16 | 1.71 | 88.47 | 20.1 | 219.68 | 0 | 3.31 | 2.66 | 0 | 0.06 | 0 | 8.09 | 885.92 | 0.22 | 0.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 23 | 0.22 | 1.72 | 80.74 | 21.73 | 218.74 | 2.86 | 3.4 | 2.58 | 0 | 0.06 | 0 | 7.46 | 886.56 | 45.62 | 0.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 21 | 0.16 | 1.71 | 73.62 | 24.66 | 221.57 | 1.08 | 3.34 | 2.58 | 0 | 0.06 | 0 | 7.54 | 887.02 | 103.9 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 24.96 | 0.2 | 1.71 | 82.17 | 22.96 | 214.15 | 0.42 | 3.25 | 2.5 | 0.47 | 0.06 | 0 | 9.18 | 886.16 | 52.59 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 18 | 0.09 | 1.64 | 66.89 | 19.72 | 187.65 | 0 | 3.1 | 2.39 | 0 | 0.06 | 0 | 5.4 | 884.44 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 43 | 0.32 | 1.72 | 98.89 | 27.12 | 244.02 | 2.89 | 3.4 | 2.66 | 2.55 | 0.06 | 0.02 | 21.5 | 887.82 | 235.09 | 0.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 24.96 | 0.2 | 1.71 | 82.17 | 22.96 | 214.15 | 0.42 | 3.25 | 2.5 | 0.47 | 0.06 | 0 | 9.18 | 886.16 | 52.59 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6.12 | 0.05 | 0.02 | 8.87 | 2.43 | 12.27 | 0.83 | 0.07 | 0.07 | 0.61 | 0 | 0 | 4.24 | 0.91 | 68.05 | 0.23 | 0 | 0 | 0 | 0 | 0
Mode | 20 | 0.21 | 1.72 | 83.23 | 24.66 | 244.02 | 0 | 3.31 | 2.5 | 0 | 0.06 | 0 | 7.46 | 885.92 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 23 | 0.21 | 1.72 | 83.23 | 21.97 | 216.37 | 0 | 3.25 | 2.5 | 0.29 | 0.06 | 0 | 7.46 | 886.16 | 26.29 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0