## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 11 |  |  |  | Date : 11/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | No Datra : power issue
07-08Hr
08-09Hr | 32 | 0.18 | 7.45 | 68.78 | 29.48 | 137.97 | 0 | 3.39 | 2.67 | 0 | 0.06 | 0 | 39.23 | 886.19 | 133.6 | 4.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 29.44 | 0.19 | 7.73 | 69.54 | 28.97 | 116.33 | 0 | 3.22 | 2.49 | 0 | 0.06 | 0 | 39.2 | 885.93 | 85.37 | 1.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 25.63 | 0.15 | 7.75 | 74.25 | 27.84 | 105.2 | 0.82 | 3.2 | 2.54 | 0 | 0.06 | 0 | 48.73 | 885.26 | 34.26 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 27.52 | 0.21 | 7.79 | 75.77 | 27.6 | 103.73 | 0.21 | 3.26 | 2.53 | 0 | 0.06 | 0 | 60.17 | 884.51 | 34.5 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 31.14 | 0.26 | 7.74 | 77.74 | 27.44 | 104.57 | 0 | 3.39 | 2.6 | 0 | 0.06 | 0 | 47.87 | 884.06 | 32.88 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0 | NA | 84.64 | 25.86 | 92.31 | 0 | 3.19 | 2.81 | 0 | NA | 0 | 59.74 | 883.25 | 35.48 | NA | NA | NA | NA | NA | NA
14-15Hr | NA | 0.05 | NA | 78.99 | 27.59 | 101.25 | 0 | 2.99 | 2.38 | 0 | NA | 0 | 63.37 | 882.74 | 46.2 | NA | NA | NA | NA | NA | NA
15-16Hr | NA | 0.1 | NA | 80.69 | 26.97 | 93.35 | 0 | 3.17 | 2.76 | 0 | NA | 0 | 65.49 | 882.51 | 19.51 | NA | NA | NA | NA | NA | NA
16-17Hr | NA | 0.26 | NA | 89.29 | 24.78 | 89.76 | 0 | 3.52 | 2.74 | 0 | NA | 0 | 47.14 | 882.63 | 1.13 | NA | NA | NA | NA | NA | NA
17-18Hr | NA | 0.15 | NA | 89.89 | 24.09 | 110.76 | 0 | 3.11 | 2.43 | 0 | NA | 0 | 68.77 | 883.16 | 0 | NA | NA | NA | NA | NA | NA
18-19Hr | NA | 0.26 | NA | 93.09 | 23.45 | 105.35 | 1.43 | 3.27 | 2.56 | 0 | NA | 0 | 55.84 | 883.51 | 0 | NA | NA | NA | NA | NA | NA
19-20Hr | NA | 0.05 | NA | 95.37 | 23.41 | 97.96 | 0.5 | 3.24 | 2.63 | 0 | NA | 0 | 57.49 | 884.11 | 0 | NA | NA | NA | NA | NA | NA
20-21Hr | NA | 0.15 | NA | 96.36 | 23.3 | 112.04 | 0 | 3.04 | 2.44 | 0 | NA | 0 | 60.41 | 884.66 | 0 | NA | NA | NA | NA | NA | NA
21-22Hr | NA | 0.06 | NA | 96.51 | 23.33 | 110.27 | 0 | 3.11 | 2.55 | 0 | NA | 0 | 56.65 | 884.73 | 0 | NA | NA | NA | NA | NA | NA
22-23Hr | NA | 0.08 | NA | 97.52 | 22.99 | 122.12 | 0 | 3.58 | 2.85 | 0 | NA | 0 | 62.87 | 884.07 | 0 | NA | NA | NA | NA | NA | NA
23-00Hr | NA | 0.04 | NA | 99.18 | 22.66 | 134.56 | 0 | 3.38 | 2.84 | 0 | NA | 0 | 64.7 | 883.44 | 0 | NA | NA | NA | NA | NA | NA
00-01Hr | NA | 0.05 | NA | 99.5 | 22.44 | 130.31 | 0 | 2.93 | 2.51 | 0 | NA | 0 | 69.24 | 883.01 | 0 | NA | NA | NA | NA | NA | NA
01-02Hr | NA | 0.1 | NA | 99.5 | 22.17 | 119.22 | 0 | 2.93 | 2.31 | 0 | NA | 0 | 67.94 | 882.7 | 0 | NA | NA | NA | NA | NA | NA
02-03Hr | NA | 0.1 | NA | 99.16 | 21.98 | 130.63 | 0 | 2.66 | 2.31 | 0 | NA | 0 | 68.61 | 882.51 | 0 | NA | NA | NA | NA | NA | NA
03-04Hr | NA | 0.46 | NA | 99.5 | 21.86 | 126.63 | 0 | 3.78 | 2.58 | 0 | NA | 0 | 59.54 | 882.43 | 0 | NA | NA | NA | NA | NA | NA
04-05Hr | NA | 0.1 | NA | 99.5 | 21.8 | 126.79 | 0 | 3.29 | 2.58 | 0 | NA | 0 | 58.11 | 882.78 | 0.44 | NA | NA | NA | NA | NA | NA
05-06Hr | NA | 0.46 | NA | 97.13 | 22.24 | 139.59 | 0 | 3.06 | 2.14 | 0 | NA | 0 | 45.48 | 883.54 | 5.8 | NA | NA | NA | NA | NA | NA
06-07hr | NA | 0.2 | NA | 96.19 | 22.91 | 119.12 | 0 | 3.11 | 2.55 | 0 | NA | 0 | 70.1 | 883.83 | 10.38 | NA | NA | NA | NA | NA | NA
Avg | 29.15 | 0.16 | 7.69 | 89.48 | 24.57 | 114.34 | 0.13 | 3.21 | 2.56 | 0 | 0.06 | 0 | 58.12 | 883.72 | 19.11 | 2.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 25.63 | 0 | 7.45 | 68.78 | 21.8 | 89.76 | 0 | 2.66 | 2.14 | 0 | 0.06 | 0 | 39.2 | 882.43 | 0 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 32 | 0.46 | 7.79 | 99.5 | 29.48 | 139.59 | 1.43 | 3.78 | 2.85 | 0 | 0.06 | 0 | 70.1 | 886.19 | 133.6 | 4.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 29.15 | 0.16 | 7.69 | 89.48 | 24.57 | 114.34 | 0.13 | 3.21 | 2.56 | 0 | 0.06 | 0 | 58.12 | 883.72 | 19.11 | 2.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 29.44 | 0.15 | 7.74 | 95.37 | 23.41 | 112.04 | 0 | 3.2 | 2.55 | 0 | 0.06 | 0 | 59.74 | 883.51 | 0.44 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 32 | 0.1 | 7.74 | 99.5 | 21.98 | 130.31 | 0 | 3.11 | 2.58 | 0 | 0.06 | 0 | 39.2 | 882.51 | 0 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 2.61 | 0.12 | 0.14 | 10.65 | 2.53 | 14.95 | 0.35 | 0.24 | 0.18 | 0 | 0 | 0 | 9.4 | 1.09 | 33.1 | 1.2 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 5 | 23 | 5 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 5 | 23 | 23 | 23 | 23 | 5 | 5 | 5 | 5 | 5 | 5
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 20 | 92 | 20 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 20 | 92 | 92 | 92 | 92 | 20 | 20 | 20 | 20 | 20 | 20
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0