## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 31 |  |  |  | Date : 31/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 31/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
07-08Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
08-09Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
09-10Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
10-11Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
11-12Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
12-13Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
13-14Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
14-15Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15-16Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16-17Hr | 36.11 | 22.9 | 0.02 | 54.26 | 16.82 | 0.1 | 0.01 | 0.01 | 15.56 | 86.51 | 3.6 | 11.29 | 0.02 | 0 | 884.67 | 0.12 | 2.94 | 0.06 | 0.01 | 29.28 | 0
17-18Hr | 36.4 | 22.95 | 0.02 | 44.92 | 7.91 | 0.16 | 0.01 | 0.01 | 15.3 | 86.63 | 3.45 | 11.4 | 0.02 | 0 | 885.04 | 0 | 2.72 | 0.06 | 0.01 | 24.32 | 0
18-19Hr | 36.26 | 21.95 | 0.02 | 40.91 | 4.04 | 0.12 | 0.01 | 0.01 | 15.41 | 102.01 | 3.26 | 11.34 | 0.02 | 0 | 885.53 | 0.01 | 2.63 | 0.06 | 0.01 | 19.87 | 0
19-20Hr | 35.96 | 22.94 | 0.02 | 57.44 | 2.53 | 0.15 | 0.01 | 0.01 | 14.23 | 85.06 | 3.38 | 11.25 | 0.02 | 0.01 | 885.99 | 0 | 2.66 | 0.06 | 0.01 | 17.96 | 0
20-21Hr | 35.8 | 23.38 | 0.02 | 56.69 | 3.41 | 0.21 | 0.01 | 0.01 | 14.25 | 98.27 | 3.56 | 11.19 | 0.02 | 0 | 886.16 | 0 | 2.71 | 0.06 | 0.01 | 16.37 | 0
21-22Hr | 35.39 | 23.11 | 0.02 | 60.08 | 3.98 | 0.18 | 0.01 | 0.01 | 14.02 | 98.24 | 3.51 | 11.1 | 0.02 | 0 | 886.16 | 0 | 2.69 | 0.06 | 0.01 | 15.46 | 0
22-23Hr | 35.29 | 21.95 | 0.02 | 54.13 | 5.26 | 0.16 | 0.01 | 0.01 | 14.33 | 110.35 | 3.32 | 11.05 | 0.02 | 0.02 | 885.94 | 0 | 2.6 | 0.06 | 0.01 | 13.71 | 0
23-00Hr | 35.13 | 22.69 | 0.02 | 43.79 | 3.72 | 0.14 | 0.01 | 0.01 | 14.4 | 125.73 | 3.41 | 11.01 | 0.02 | 0.03 | 885.93 | 0 | 2.72 | 0.06 | 0.01 | 11.9 | 0
00-01Hr | 35.2 | 22.57 | 0.02 | 33.92 | 5.17 | 0.2 | 0.01 | 0.01 | 15.18 | 119.81 | 3.38 | 11 | 0.02 | 0 | 885.76 | 0 | 2.68 | 0.06 | 0.01 | 10.15 | 0
01-02Hr | 35.31 | 22.62 | 0.02 | 32.1 | 8.38 | 0.12 | 0.01 | 0.01 | 15.52 | 122.42 | 3.32 | 11.04 | 0.02 | 0 | 885.62 | 0 | 2.65 | 0.06 | 0.01 | 8.43 | 0
02-03Hr | 35.31 | 24.33 | 0.02 | 32.91 | 7.11 | 0.21 | 0.01 | 0.01 | 15.08 | 138.13 | 3.66 | 11.05 | 0.02 | 0 | 885.49 | 0 | 2.79 | 0.06 | 0.01 | 9.65 | 0
03-04Hr | 35.32 | 22.74 | 0.02 | 33.34 | 8.08 | 0.22 | 0.01 | 0.01 | 15.15 | 117.81 | 3.44 | 11.04 | 0.02 | 0 | 885.58 | 0 | 2.62 | 0.06 | 0.01 | 8.48 | 0
04-05Hr | 35.39 | 22.67 | 0.02 | 32.72 | 7.73 | 0.12 | 0.01 | 0.01 | 15.07 | 143.15 | 3.41 | 11.05 | 0.02 | 0 | 885.95 | 0 | 2.7 | 0.06 | 0.01 | 7.3 | 0
05-06Hr | 35.53 | 22.39 | 0.02 | 30.65 | 5.73 | 0.13 | 0.01 | 0.01 | 16.57 | 118.27 | 3.45 | 11.12 | 0.02 | 0 | 886.69 | 0.01 | 2.71 | 0.06 | 0.01 | 9.68 | 26.45
06-07hr | 35.46 | 22.43 | 0.02 | 26.42 | 4.81 | 0.14 | 0.01 | 0.01 | 20.22 | 95.27 | 3.38 | 11.1 | 0.02 | 0 | 887.61 | 0 | 2.75 | 0.06 | 0.01 | 17.33 | 9.99
Avg | 35.59 | 22.77 | 0.02 | 42.29 | 6.31 | 0.16 | 0.01 | 0.01 | 15.35 | 109.84 | 3.44 | 11.14 | 0.02 | 0 | 885.87 | 0.01 | 2.7 | 0.06 | 0.01 | 14.66 | 2.43
Min | 35.13 | 21.95 | 0.02 | 26.42 | 2.53 | 0.1 | 0.01 | 0.01 | 14.02 | 85.06 | 3.26 | 11 | 0.02 | 0 | 884.67 | 0 | 2.6 | 0.06 | 0.01 | 7.3 | 0
Max | 36.4 | 24.33 | 0.02 | 60.08 | 16.82 | 0.22 | 0.01 | 0.01 | 20.22 | 143.15 | 3.66 | 11.4 | 0.02 | 0.03 | 887.61 | 0.12 | 2.94 | 0.06 | 0.01 | 29.28 | 26.45
Geom.Mean | 35.59 | 22.77 | 0.02 | 42.29 | 6.31 | 0.16 | 0.01 | 0.01 | 15.35 | 109.84 | 3.44 | 11.14 | 0.02 | 0 | 885.87 | 0.01 | 2.7 | 0.06 | 0.01 | 14.66 | 2.43
Median | 35.39 | 22.69 | 0.02 | 40.91 | 5.26 | 0.15 | 0.01 | 0.01 | 15.15 | 110.35 | 3.41 | 11.1 | 0.02 | 0 | 885.93 | 0 | 2.7 | 0.06 | 0.01 | 13.71 | 0
Mode | 35.39 | 21.95 | 0.02 | 32.1 | 2.53 | 0.12 | 0.01 | 0.01 | 15.15 | 98.27 | 3.38 | 11.05 | 0.02 | 0 | 886.16 | 0 | 2.72 | 0.06 | 0.01 | 7.3 | 0
Std.Deviation | 0.41 | 0.58 | 0 | 11.55 | 3.46 | 0.04 | 0 | 0 | 1.5 | 18.5 | 0.11 | 0.13 | 0 | 0.01 | 0.68 | 0.03 | 0.08 | 0 | 0 | 6.36 | 7.13
Valid Data Points | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0