## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 22 |  |  |  | Date : 22/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 22/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 8 | 0.16 | 4.87 | 98.16 | 22.64 | 135.08 | 0 | 3.38 | 2.65 | 0.59 | 0.06 | 0 | 7.44 | 883.14 | 43.98 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 21 | 0.33 | 4.86 | 92.19 | 23.84 | 112.1 | 0 | 3.34 | 2.45 | 0.87 | 0.06 | 0 | 8.09 | 883.25 | 65.32 | 2.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 18 | 0.1 | 4.86 | 85.69 | 25.61 | 127.47 | 0 | 3.14 | 2.53 | 1.12 | 0.06 | 0 | 6.59 | 882.85 | 140.8 | 2.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 25 | 0.17 | 4.88 | 79.04 | 26.89 | 144.74 | 0 | 3.25 | 2.58 | 1.02 | 0.06 | 0 | 13.75 | 882.52 | 127.11 | 3.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 22 | 0.17 | 4.91 | 70.97 | 29.15 | 127.91 | 1.93 | 3.2 | 2.53 | 1.46 | 0.06 | 0 | 7.83 | 881.79 | 118.58 | 2.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 20 | 0.22 | 4.99 | 67.62 | 30.25 | 105.61 | 2 | 3.17 | 2.52 | 0.96 | 0.06 | 0 | 8.36 | 881.42 | 150.15 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 21 | 0.26 | 5.07 | 69 | 30.19 | 127.97 | 1.03 | 3.21 | 2.39 | 1.05 | 0.06 | 0 | 8.37 | 880.65 | 155.49 | 2.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 23 | 0.15 | 5.14 | 79.92 | 27.79 | 142.89 | 1 | 3.22 | 2.55 | 2.04 | 0.06 | 0 | 7.51 | 880.1 | 36.8 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 37 | 0.15 | 5.14 | 92.32 | 24.91 | 134.89 | 0.03 | 3.24 | 2.56 | 3.37 | 0.06 | 0.04 | 6.94 | 879.79 | 13.3 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 15 | 0.18 | 5.08 | 97.94 | 23.76 | 109.1 | 0 | 3.25 | 2.49 | 3.5 | 0.06 | 0.07 | 8.56 | 879.73 | 3.55 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 10 | 0.27 | 5.07 | 99.17 | 22.83 | 79.98 | 0 | 3.33 | 2.49 | 2.96 | 0.06 | 0 | 11.32 | 879.95 | 1.09 | 1.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 11 | 0.21 | 5.13 | 97.18 | 22.68 | 143.5 | 0 | 3.08 | 2.36 | 2.45 | 0.06 | 0 | 7.51 | 880.7 | 0 | 2.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 16 | 0.1 | 5.06 | 98.55 | 22.55 | 143.04 | 0.97 | 3.05 | 2.48 | 2.07 | 0.06 | 0 | 5.92 | 881.73 | 0 | 2.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 27 | 0.19 | 5.04 | 98.04 | 22.36 | 148.1 | 0.03 | 3.18 | 2.44 | 1.63 | 0.06 | 0.01 | 6.28 | 882.31 | 0 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 17 | 0.2 | 5.01 | 99.08 | 22.32 | 169.41 | 3.87 | 3.21 | 2.48 | 1.31 | 0.06 | 0.08 | 5.51 | 882.99 | 0 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 11 | 0.26 | 4.97 | 99.3 | 22.2 | 187.46 | 2.07 | 3.3 | 2.53 | 1.24 | 0.06 | 0 | 5.32 | 882.87 | 0 | 2.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 11 | 0.2 | 4.98 | 99.39 | 21.96 | 215.6 | 0.07 | 3.31 | 2.55 | 1.05 | 0.06 | 0 | 6.32 | 881.97 | 0 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 6.9 | 0.21 | 4.95 | 99.49 | 21.56 | 226.97 | 0 | 3.37 | 2.54 | 1.2 | 0.06 | 0 | 6.71 | 881.36 | 0 | 3.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 3 | 0.21 | 4.89 | 99.47 | 21.48 | 210.29 | 0 | 3.4 | 2.61 | 1.07 | 0.06 | 0 | 6.98 | 880.75 | 0 | 3.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 0 | 0.28 | 4.89 | 99.5 | 21.39 | 203.47 | 0 | 3.23 | 2.43 | 1.03 | 0.06 | 0 | 6.78 | 880.14 | 0 | 3.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 0 | 0.13 | 4.86 | 99.5 | 21.29 | 211.26 | 0 | 3.32 | 2.66 | 1.95 | 0.06 | 0 | 6.44 | 880.23 | 0 | 3.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 4 | 0.19 | 4.89 | 98.95 | 21.37 | 203.51 | 0 | 3.25 | 2.52 | 0.51 | 0.06 | 0 | 9.38 | 880.57 | 0 | 2.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 7 | 0.14 | 4.88 | 96.93 | 21.66 | 204.59 | 0 | 3.23 | 2.54 | 0.27 | 0.06 | 0 | 5.66 | 881.17 | 0.9 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 9 | 0.2 | 4.87 | 95.23 | 21.94 | 177.8 | 0 | 3.29 | 2.5 | 0.39 | 0.06 | 0 | 6.38 | 881.48 | 13.7 | 3.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 13 | 0.18 | 4.87 | 92.19 | 22.71 | 131.35 | 0 | 3.19 | 2.6 | 0.4 | 0.06 | 0 | 7.5 | 881.46 | 45.27 | 2.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 14.24 | 0.19 | 4.97 | 92.19 | 23.81 | 156.96 | 0.52 | 3.25 | 2.52 | 1.42 | 0.06 | 0.01 | 7.5 | 881.4 | 36.64 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0.1 | 4.86 | 67.62 | 21.29 | 79.98 | 0 | 3.05 | 2.36 | 0.27 | 0.06 | 0 | 5.32 | 879.73 | 0 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 37 | 0.33 | 5.14 | 99.5 | 30.25 | 226.97 | 3.87 | 3.4 | 2.66 | 3.5 | 0.06 | 0.08 | 13.75 | 883.25 | 155.49 | 3.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 14.24 | 0.19 | 4.97 | 92.19 | 23.81 | 156.96 | 0.52 | 3.25 | 2.52 | 1.42 | 0.06 | 0.01 | 7.5 | 881.4 | 36.64 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 13 | 0.19 | 4.95 | 97.94 | 22.64 | 143.5 | 0 | 3.24 | 2.53 | 1.12 | 0.06 | 0 | 6.98 | 881.42 | 1.09 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 11 | 0.21 | 4.87 | 92.19 | 21.56 | 131.35 | 0 | 3.25 | 2.53 | 1.05 | 0.06 | 0 | 7.51 | 879.73 | 0 | 3.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 9 | 0.06 | 0.1 | 10.44 | 2.84 | 40.87 | 0.98 | 0.09 | 0.07 | 0.89 | 0 | 0.02 | 1.86 | 1.12 | 55.22 | 0.55 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0