## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 5 |  |  |  | Date : 05/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 05/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 9 | 0.23 | 5.66 | 92.43 | 22.7 | 123.43 | 0 | 3.3 | 2.55 | 0.31 | 0.06 | 0 | 44.38 | 881.43 | 81.12 | 3.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 10 | 0.14 | 5.68 | 84.54 | 24.77 | 119.11 | 0 | 3.14 | 2.49 | 0.55 | 0.06 | 0 | 34.78 | 881.38 | 112.6 | 3.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 13 | 0.24 | 5.71 | 88.06 | 24.01 | 115.65 | 0 | 3.26 | 2.51 | 0.72 | 0.06 | 0 | 36.31 | 881.35 | 100.56 | 3.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 12 | 0.23 | 5.76 | 81.38 | 26.17 | 111.17 | 0 | 3.31 | 2.51 | 0.43 | 0.06 | 0 | 31.58 | 881.08 | 143.95 | 2.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 22.63 | 0.38 | 5.84 | 75.74 | 27.72 | 110.9 | 0 | 3.42 | 2.46 | 0.72 | 0.06 | 0 | 29.71 | 880.74 | 123.57 | 2.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 21 | 0.11 | 5.92 | 75.78 | 27.81 | 126 | 0 | 3.14 | 2.56 | 0.34 | 0.06 | 0 | 29.47 | 880.07 | 165.83 | 2.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 18 | 0.25 | 5.94 | 79.58 | 26.79 | 123.16 | 0 | 3.19 | 2.41 | 0.84 | 0.06 | 0 | 28.54 | 879.42 | 107.95 | 2.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 8.87 | 0.11 | 5.9 | 82.3 | 26.01 | 131.5 | 0 | 3.21 | 2.56 | 1.33 | 0.06 | 0 | 28.96 | 878.77 | 79.58 | 2.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 13 | 0.16 | 5.97 | 82.89 | 25.68 | 124.43 | 0 | 3.08 | 2.39 | 2.06 | 0.06 | 0 | 31.98 | 878.21 | 58.21 | 2.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 19 | 0.11 | 6.03 | 89.7 | 23.37 | 105.08 | 0 | 3.11 | 2.51 | 2.49 | 0.06 | 0.01 | 42.39 | 878.58 | 7.53 | 2.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 11 | 0.21 | 6.02 | 93.95 | 22.41 | 107.06 | 0 | 3.27 | 2.53 | 2.24 | 0.06 | 0 | 45.53 | 879.12 | 0.04 | 3.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 11 | 0.11 | 5.97 | 94.7 | 22.34 | 113.12 | 0 | 3.27 | 2.66 | 1.67 | 0.06 | 0 | 47.84 | 880.17 | 0 | 3.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 10 | 0.17 | 5.92 | 93.59 | 22.26 | 98.24 | 0 | 3.11 | 2.47 | 1.13 | 0.06 | 0 | 47.22 | 880.55 | 0 | 3.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 13.78 | 0.22 | 5.93 | 96.93 | 21.81 | 113.48 | 0 | 3.24 | 2.52 | 0.69 | 0.06 | 0 | 52.4 | 880.86 | 0 | 2.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 10 | 0.25 | 5.88 | 96.1 | 21.89 | 108.69 | 0 | 3.36 | 2.56 | 0.7 | 0.06 | 0 | 51.96 | 881.34 | 0 | 2.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 7 | 0.26 | 5.8 | 96.32 | 21.87 | 102.12 | 0 | 3.32 | 2.45 | 0.51 | 0.06 | 0 | 52.03 | 881.22 | 0 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 4 | 0.21 | 5.81 | 94.57 | 21.97 | 113.36 | 0 | 3.13 | 2.37 | 0.27 | 0.06 | 0 | 48.14 | 880.77 | 0 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 3 | 0.25 | 5.75 | 94.63 | 21.65 | 120.59 | 0 | 3.29 | 2.5 | 0.09 | 0.06 | 0 | 51.74 | 880.11 | 0 | 2.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 4 | 0.15 | 5.82 | 95.99 | 21.37 | 121.52 | 0 | 3.15 | 2.51 | 0.04 | 0.06 | 0 | 52.09 | 879.21 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 7 | 0.14 | 5.78 | 98.2 | 21.23 | 115.19 | 0 | 3.25 | 2.55 | 0.13 | 0.06 | 0 | 56.02 | 879.02 | 0 | 1.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 5 | 0.19 | 5.82 | 99.5 | 21.15 | 110.82 | 0 | 3.01 | 2.35 | 1.93 | 0.06 | 0 | 65.72 | 879.29 | 0 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 2 | 0.23 | 5.79 | 99.5 | 21.15 | 119.61 | 0 | 3.18 | 2.43 | 0.49 | 0.06 | 0 | 62.04 | 879.49 | 0 | 2.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 3 | 0.24 | 5.76 | 99.49 | 21.52 | 145.54 | 0 | 3.29 | 2.56 | 2.12 | 0.06 | 0 | 38.32 | 879.79 | 1.22 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 3 | 0.19 | 5.76 | 99.49 | 21.86 | 129.99 | 1.83 | 3.26 | 2.57 | 0.09 | 0.06 | 0 | 45.67 | 880.19 | 9.37 | 1.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 2 | 0.08 | 5.78 | 99.39 | 22.04 | 125 | 2 | 3.11 | 2.49 | 0.04 | 0.06 | 0 | 44.14 | 880.41 | 29.11 | 1.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 9.69 | 0.19 | 5.84 | 91.39 | 23.26 | 117.39 | 0.15 | 3.22 | 2.5 | 0.88 | 0.06 | 0 | 43.96 | 880.1 | 40.83 | 2.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 2 | 0.08 | 5.66 | 75.74 | 21.15 | 98.24 | 0 | 3.01 | 2.35 | 0.04 | 0.06 | 0 | 28.54 | 878.21 | 0 | 1.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 22.63 | 0.38 | 6.03 | 99.5 | 27.81 | 145.54 | 2 | 3.42 | 2.66 | 2.49 | 0.06 | 0.01 | 65.72 | 881.43 | 165.83 | 3.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 9.69 | 0.19 | 5.84 | 91.39 | 23.26 | 117.39 | 0.15 | 3.22 | 2.5 | 0.88 | 0.06 | 0 | 43.96 | 880.1 | 40.83 | 2.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 10 | 0.21 | 5.82 | 94.57 | 22.26 | 115.65 | 0 | 3.24 | 2.51 | 0.69 | 0.06 | 0 | 45.53 | 880.17 | 1.22 | 2.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 3 | 0.11 | 5.76 | 99.5 | 21.15 | 129.99 | 0 | 3.11 | 2.51 | 0.72 | 0.06 | 0 | 28.96 | 878.21 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 5.96 | 0.07 | 0.1 | 7.8 | 2.18 | 10.31 | 0.53 | 0.1 | 0.07 | 0.77 | 0 | 0 | 10.55 | 0.97 | 55.36 | 0.62 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0