## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-01-01 | Station Name : |  | Sikulpuikawn |  |  | JANUARY
Report No |  | 17 |  |  |  | Date : 17/01/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 17/01/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 22 | 0 | 2.57 | 65.63 | 20.77 | 219.6 | 4 | 0.78 | 1.08 | 7.5 | 0.06 | 0 | 10.28 | 892.21 | 31.81 | 5.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 35 | 0.04 | 2.57 | 53.9 | 23.73 | 221.46 | 2.18 | 0.64 | 0.99 | 8.6 | 0.06 | 0 | 8.36 | 892.84 | 26.46 | 5.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 44 | 0 | 2.57 | 51.44 | 23.64 | 234.37 | 1 | 0.71 | 0.99 | 11.64 | 0.06 | 0 | 9.96 | 893.08 | 201.76 | 5.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 32 | 0 | 2.57 | 49.35 | 24.64 | 236.67 | 1 | 0.68 | 0.98 | 5.69 | 0.06 | 0 | 10.51 | 892.46 | 236.99 | 5.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 32 | 0 | 2.57 | 46.22 | 24.71 | 226.1 | 0.07 | 0.62 | 0.93 | 5.63 | 0.06 | 0 | 8.33 | 891.57 | 265.11 | 6.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 27 | 0 | 2.57 | 41.78 | 24.61 | 237.34 | 0 | 0.56 | 0.99 | 6.33 | 0.06 | 0 | 8.49 | 890.5 | 258.84 | 7.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 30 | 0.01 | 2.57 | 39.5 | 25.84 | 244.96 | 0 | 0.69 | 1.04 | 6.43 | 0.06 | 0 | 9.47 | 889.74 | 229.87 | 6.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 22 | 0 | 2.58 | 37.14 | 26.73 | 116.67 | 0 | 0.8 | 1.08 | 7.95 | 0.06 | 0 | 12.13 | 889.22 | 186.98 | 6.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 29 | 0 | 2.74 | 41.84 | 25.86 | 163.69 | 0 | 0.57 | 1.03 | 11.29 | 0.06 | 0 | 10.66 | 888.99 | 120.65 | 6.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 37 | 0.01 | 2.57 | 61.72 | 21.07 | 196.04 | 0 | 0.65 | 1.04 | 5.94 | 0.06 | 0 | 7.19 | 889.06 | 35.54 | 6.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 58 | 0.01 | 2.57 | 76.62 | 17.96 | 182.82 | 0 | 0.92 | 1.1 | 5.35 | 0.06 | 0 | 8.15 | 889.53 | 0 | 5.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 66 | 0 | 2.57 | 82.87 | 16.92 | 110.35 | 0 | 0.62 | 1 | 5.04 | 0.06 | 0 | 29.64 | 890.08 | 0 | 5.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 51 | 0 | 2.59 | 83.06 | 16.35 | 180.05 | 0 | 0.53 | 0.96 | 6.41 | 0.06 | 0 | 21.55 | 890.45 | 0 | 5.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 40 | 0.01 | 2.57 | 84.94 | 15.63 | 209.88 | 2.87 | 0.68 | 1.08 | 2.51 | 0.06 | 0 | 15.21 | 890.7 | 0 | 4.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 33 | 0 | 2.57 | 86.81 | 15.46 | 227.65 | 3.96 | 0.65 | 1.04 | 2.62 | 0.06 | 0 | 12.06 | 890.96 | 0 | 5.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 39 | 0.04 | 2.57 | 88.48 | 15.23 | 218.26 | 2 | 0.57 | 0.87 | 2.63 | 0.06 | 0 | 12.6 | 891.15 | 0 | 4.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 42 | 0 | 2.57 | 88.29 | 15.31 | 225.44 | 1 | 0.67 | 0.98 | 2.92 | 0.06 | 0 | 13.6 | 890.89 | 0 | 4.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 35 | 0.01 | 2.57 | 90.89 | 14.54 | 219.88 | 2 | 0.74 | 1.07 | 3.51 | 0.06 | 0 | 16.89 | 890.7 | 0 | 4.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 29.23 | 0 | 2.56 | 89.6 | 14.32 | 218.36 | 2.92 | 0.62 | 1.06 | 3.43 | 0.06 | 0 | 15.59 | 890.31 | 0 | 4.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 28 | 0 | 2.57 | 91.22 | 13.95 | 217.64 | 0.13 | 0.82 | 1.14 | 5.87 | 0.06 | 0 | 17.48 | 889.97 | 0 | 5.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 31 | 0.02 | 2.57 | 90.09 | 14.16 | 205.94 | 0 | 0.68 | 1.04 | 10.55 | 0.06 | 0 | 17.79 | 889.73 | 0 | 6.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 30 | 0.01 | 2.57 | 88.9 | 14.1 | 213.28 | 2.86 | 0.74 | 1.04 | 10.54 | 0.06 | 0 | 15.89 | 889.74 | 0 | 6.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 34 | 0.04 | 2.57 | 89.42 | 14.19 | 206.9 | 2.04 | 0.66 | 1.04 | 9.62 | 0.06 | 0 | 17.6 | 890.26 | 0 | 6.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 31 | 0.01 | 2.57 | 84.7 | 15.46 | 210.04 | 2.95 | 0.78 | 1.05 | 8.82 | 0.06 | 0 | 11.86 | 890.82 | 49.73 | 6.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 35.72 | 0.01 | 2.58 | 71.02 | 18.97 | 205.97 | 1.29 | 0.68 | 1.03 | 6.53 | 0.06 | 0 | 13.39 | 890.62 | 68.49 | 5.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 22 | 0 | 2.56 | 37.14 | 13.95 | 110.35 | 0 | 0.53 | 0.87 | 2.51 | 0.06 | 0 | 7.19 | 888.99 | 0 | 4.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 66 | 0.04 | 2.74 | 91.22 | 26.73 | 244.96 | 4 | 0.92 | 1.14 | 11.64 | 0.06 | 0 | 29.64 | 893.08 | 265.11 | 7.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 35.72 | 0.01 | 2.58 | 71.02 | 18.97 | 205.97 | 1.29 | 0.68 | 1.03 | 6.53 | 0.06 | 0 | 13.39 | 890.62 | 68.49 | 5.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 10.28 | 0.01 | 0.03 | 19.84 | 4.63 | 33.46 | 1.37 | 0.09 | 0.06 | 2.79 | 0 | 0 | 5.04 | 1.12 | 97.76 | 0.72 | 0 | 0 | 0 | 0 | 0
Mode | 22 | 0 | 2.57 | 65.63 | 15.46 | 219.6 | 0 | 0.68 | 1.04 | 7.5 | 0.06 | 0 | 10.28 | 889.74 | 0 | 4.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 33 | 0 | 2.57 | 83.06 | 16.92 | 218.26 | 1 | 0.68 | 1.04 | 6.33 | 0.06 | 0 | 12.13 | 890.5 | 0 | 5.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0