## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 15 |  |  |  | Date : 15/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 15/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.17 | 181.12 | 0.02 | 68.78 | 0.43 | 0.49 | 0.01 | 0.01 | 29.55 | NA | 3.51 | 8.87 | 0.02 | 0 | 888.64 | NA | 2.48 | 0.06 | 0.01 | 9.5 | 48.61
07-08Hr | 0.06 | 170.9 | 0.02 | 63.46 | 0.81 | 0.18 | 0.01 | 0.01 | 30.78 | NA | 3.28 | 8.76 | 0.02 | 0 | 889.06 | NA | 2.51 | 0.06 | 0.01 | 10.27 | 12.13
08-09Hr | 0.14 | 156.86 | 0.02 | 62.59 | 0.75 | 0.28 | 0.01 | 0.01 | 31.76 | NA | 3.19 | 8.9 | 0.02 | 0 | 889.02 | NA | 2.45 | 0.06 | 0.01 | 11.07 | 172.97
09-10Hr | 0.07 | 161.19 | 0.02 | 70.34 | 0.43 | 0.23 | 0.01 | 0.01 | 30.31 | NA | 3.53 | 9.08 | 0.02 | 0 | 888.58 | NA | 2.66 | 0.06 | 0.01 | 11.05 | 100.86
10-11Hr | 0.11 | 168.47 | 0.02 | 71.53 | 0.65 | 0 | 0.01 | 0.01 | 29.89 | NA | 3.06 | 9.05 | 0.02 | 0 | 887.62 | NA | 2.66 | 0.06 | 0.01 | 12.76 | 99.71
11-12Hr | 0.09 | 171.76 | 0.02 | 77.45 | 0.86 | 0.1 | 0.01 | 0.01 | 27.85 | NA | 3.02 | 9.12 | 0.02 | 0 | 886.69 | NA | 2.48 | 0.06 | 0.01 | 11.61 | 44.34
12-13Hr | 0.08 | 212.47 | 0.02 | 82.72 | 0.54 | 0.23 | 0.01 | 0.01 | 26.52 | NA | 3.24 | 9.15 | 0.02 | 0 | 885.87 | NA | 2.51 | 0.06 | 0.01 | 12.51 | 19.5
13-14Hr | 0.08 | 178.5 | 0.02 | 87.55 | 0.62 | 0.1 | 0.01 | 0.01 | 25.37 | NA | 3.26 | 9.15 | 0.02 | 0.01 | 885.48 | NA | 2.58 | 0.06 | 0.01 | 11.26 | 15.12
14-15Hr | 0.06 | 178.09 | 0.02 | 88.16 | 0.62 | 0.39 | 0.01 | 0.01 | 24.86 | NA | 3.4 | 9.08 | 0.02 | 0 | 885.49 | NA | 2.55 | 0.06 | 0.01 | 11.7 | 50.61
15-16Hr | 0.14 | 179.13 | 0.02 | 88.07 | 0.54 | 0.36 | 0.01 | 0.01 | 24.79 | NA | 3.26 | 9.08 | 0.02 | 0 | 886.05 | NA | 2.3 | 0.06 | 0.01 | 9.72 | 8.83
16-17Hr | 0.08 | 174.37 | 0.02 | 93.07 | 0.53 | 0 | 0.01 | 0.01 | 23.19 | NA | 3.28 | 9.01 | 0.02 | 0 | 886.68 | NA | 2.78 | 0.06 | 0.01 | 15.51 | 0
17-18Hr | 0.17 | 210.8 | 0.02 | 91.91 | 1.26 | 0.08 | 0.01 | 0.01 | 22.02 | NA | 2.95 | 9.04 | 0.02 | 0 | 887.4 | NA | 2.6 | 0.06 | 0.01 | 10.64 | 0
18-19Hr | 0.1 | 194.68 | 0.02 | 86.75 | 1.26 | 0.08 | 0.01 | 0.01 | 21.51 | NA | 3.04 | 9.19 | 0.02 | 0 | 887.83 | NA | 2.63 | 0.06 | 0.01 | 9.24 | 0
19-20Hr | 0.11 | 172.33 | 0.02 | 79.85 | 1.02 | 0.39 | 0.01 | 0.01 | 21.82 | NA | 3.31 | 8.87 | 0.02 | 0 | 887.87 | NA | 2.41 | 0.06 | 0.01 | 10.83 | 0
20-21Hr | 0.06 | 187.28 | 0.02 | 86.69 | 0.91 | 0.16 | 0.01 | 0.01 | 21.36 | NA | 2.99 | 8.8 | 0.02 | 0 | 888.25 | NA | 2.41 | 0.06 | 0.01 | 13.26 | 0
21-22Hr | 0.08 | 185.74 | 0.02 | 79.46 | 1.23 | 0.13 | 0.01 | 0.01 | 21.33 | NA | 3.42 | 8.83 | 0.02 | 0 | 888.18 | NA | 2.68 | 0.06 | 0.01 | 12.91 | 0
22-23Hr | 0.18 | 203.47 | 0.02 | 77.35 | 1.74 | 0.08 | 0.01 | 0.01 | 21.5 | NA | 3.42 | 8.94 | 0.02 | 0 | 888 | NA | 2.78 | 0.06 | 0.01 | 12.25 | 0
23-00Hr | 0.12 | 188.13 | 0.02 | 77.84 | 1.58 | 0.08 | 0.01 | 0.01 | 21.39 | NA | 2.99 | 8.87 | 0.02 | 0 | 887.61 | NA | 2.48 | 0.06 | 0.01 | 11.3 | 0
00-01Hr | 0.24 | 177.06 | 0.02 | 83.2 | 1.28 | 0.23 | 0.01 | 0.01 | 21.07 | NA | 3.4 | 9.01 | 0.02 | 0 | 887.32 | NA | 2.68 | 0.06 | 0.01 | 14.5 | 0
01-02Hr | 0.14 | 184.34 | 0.02 | 86.85 | 1.39 | 0.23 | 0.01 | 0.01 | 20.84 | NA | 3.4 | 8.87 | 0.02 | 0 | 887.09 | NA | 2.58 | 0.06 | 0.01 | 12.69 | 0
02-03Hr | 0.22 | 166.67 | 0.02 | 96.05 | 0.96 | 0.33 | 0.01 | 0.01 | 20.47 | NA | 3.26 | 8.87 | 0.02 | 0 | 886.9 | NA | 2.36 | 0.06 | 0.01 | 24.28 | 0
03-04Hr | 0.12 | 189.94 | 0.02 | 95.84 | 0.85 | 0.21 | 0.01 | 0.01 | 20.14 | NA | 3.51 | 8.72 | 0.02 | 0 | 887.17 | NA | 2.75 | 0.06 | 0.01 | 19.1 | 0
04-05Hr | 0.04 | 184.79 | 0.02 | 95.17 | 0.51 | 0.18 | 0.01 | 0.01 | 21 | NA | 3.31 | 8.65 | 0.02 | 0 | 887.79 | NA | 2.56 | 0.06 | 0.01 | 17.51 | 13.64
05-06Hr | 0.28 | 181.04 | 0.02 | 82.42 | 0.75 | 0.31 | 0.01 | 0.01 | 24.57 | NA | 3.22 | 8.8 | 0.02 | 0 | 888.49 | NA | 2.46 | 0.06 | 0.01 | 15.53 | 65.66
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | 0.12 | 181.63 | 0.02 | 82.21 | 0.9 | 0.2 | 0.01 | 0.01 | 24.33 | NA | 3.26 | 8.95 | 0.02 | 0 | 887.46 | NA | 2.56 | 0.06 | 0.01 | 12.96 | 27.17
Min | 0.04 | 156.86 | 0.02 | 62.59 | 0.43 | 0 | 0.01 | 0.01 | 20.14 | NA | 2.95 | 8.65 | 0.02 | 0 | 885.48 | NA | 2.3 | 0.06 | 0.01 | 9.24 | 0
Max | 0.28 | 212.47 | 0.02 | 96.05 | 1.74 | 0.49 | 0.01 | 0.01 | 31.76 | NA | 3.53 | 9.19 | 0.02 | 0.01 | 889.06 | NA | 2.78 | 0.06 | 0.01 | 24.28 | 172.97
Geom.Mean | 0.12 | 181.63 | 0.02 | 82.21 | 0.9 | 0.2 | 0.01 | 0.01 | 24.33 | NA | 3.26 | 8.95 | 0.02 | 0 | 887.46 | NA | 2.56 | 0.06 | 0.01 | 12.96 | 27.17
Median | 0.11 | 180.08 | 0.02 | 82.96 | 0.83 | 0.2 | 0.01 | 0.01 | 22.61 | NA | 3.27 | 8.92 | 0.02 | 0 | 887.62 | NA | 2.55 | 0.06 | 0.01 | 11.97 | 4.42
Mode | 0.08 | 156.86 | 0.02 | 62.59 | 0.43 | 0.23 | 0.01 | 0.01 | 20.84 | NA | 3.26 | 8.87 | 0.02 | 0 | 887.09 | NA | 2.48 | 0.06 | 0.01 | 9.5 | 0
Std.Deviation | 0.06 | 13.92 | 0 | 9.71 | 0.37 | 0.13 | 0 | 0 | 3.8 | NA | 0.18 | 0.15 | 0 | 0 | 1.04 | NA | 0.13 | 0 | 0 | 3.44 | 44.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | NA | 24 | 24 | 24 | 24 | 24 | NA | 24 | 24 | 24 | 24 | 24
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | NA | 96 | 96 | 96 | 96 | 96 | NA | 96 | 96 | 96 | 96 | 96
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0