## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-01-01 | Station Name : |  | Sikulpuikawn |  |  | JANUARY
Report No |  | 24 |  |  |  | Date : 24/01/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 24/01/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 59 | 0 | 2.57 | 43.69 | 19.44 | 62.99 | 10 | 0.24 | 1.16 | 8.61 | 0.06 | 0 | 34.27 | 888.31 | 107.94 | 10.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | No data : Sofware issue
08-09Hr
09-10Hr
10-11Hr
11-12Hr | 59 | 0.45 | 2.05 | 23 | 25.11 | 207.06 | 9 | 2.06 | 1.85 | 5.36 | 0.1 | 0 | 10.13 | 888.05 | 258.81 | 121.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 0 | 0 | 2.24 | 20.89 | 25.63 | 196.97 | 0 | 0.71 | 1.42 | 6.4 | 0.06 | 0 | 12.69 | 887.74 | 233.43 | 12.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 15 | 0 | 2.24 | 22.46 | 25.37 | 239.55 | 6 | 0.69 | 1.43 | 6.14 | 0.06 | 0 | 5.48 | 887.39 | 190.61 | 7.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 30 | 0 | 2.19 | 23.51 | 24.57 | 206.48 | 4 | 0.69 | 1.17 | 6.65 | 0.06 | 0 | 5.13 | 887.23 | 132.23 | 6.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 17 | 0.01 | 2.13 | 30.63 | 20.87 | 179.79 | 1 | 0.67 | 1.33 | 6.78 | 0.06 | 0 | 6.48 | 887.17 | 38.23 | 6.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 37 | 0.01 | 2.01 | 40.98 | 17.7 | 214.87 | 0 | 0.73 | 1.35 | 4.89 | 0.06 | 0 | 6.98 | 887.39 | 0 | 4.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 58.04 | 0 | 2 | 45.14 | 16.96 | 237.78 | 0 | 0.79 | 1.39 | 2.81 | 0.06 | 0 | 8.61 | 888.05 | 0 | 4.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 44 | 0 | 2 | 46.99 | 16.45 | 228.28 | 1 | 0.78 | 1.31 | 2.78 | 0.06 | 0 | 10.79 | 888.63 | 0 | 4.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 32.55 | 0 | 2 | 45.07 | 16.34 | 191.47 | 0.04 | 0.68 | 1.29 | 2.99 | 0.06 | 0 | 10.66 | 889.01 | 0 | 4.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 36 | 0 | 2 | 48.29 | 15.8 | 232.31 | 0 | 0.72 | 1.37 | 3.08 | 0.06 | 0 | 10.26 | 889.14 | 0 | 4.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 41.75 | 0 | 2 | 49.31 | 15.53 | 231.33 | 1 | 0.71 | 1.36 | 4.34 | 0.06 | 0 | 12.39 | 888.98 | 0 | 4.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 34 | 0 | 2 | 48 | 15.33 | 225.51 | 0 | 0.63 | 1.31 | 4.12 | 0.06 | 0 | 13.46 | 888.83 | 0 | 4.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 29 | 0 | 2 | 46.37 | 15.37 | 222.1 | 0 | 0.87 | 1.4 | 4.17 | 0.06 | 0 | 13.33 | 888.54 | 0 | 4.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 42 | 0 | 2 | 46.5 | 15.35 | 228.14 | 0 | 0.71 | 1.4 | 7.64 | 0.06 | 0 | 14.58 | 888.11 | 0 | 5.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 45 | 0 | 2.01 | 47.22 | 15.43 | 230.61 | 2 | 0.5 | 1.15 | 10.23 | 0.06 | 0 | 12.86 | 887.66 | 0 | 6.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 39 | 0 | 2.01 | 49.12 | 15.55 | 218.56 | 3 | 0.74 | 1.33 | 9.54 | 0.06 | 0 | 12.68 | 887.45 | 0 | 6.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 46 | 0 | 2.01 | 52.96 | 15.25 | 229.38 | 4 | 0.63 | 1.23 | 8.85 | 0.06 | 0 | 11.27 | 887.61 | 0 | 6.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 53 | 0.01 | 2 | 57.86 | 14.87 | 225.06 | 6 | 0.63 | 1.17 | 8.6 | 0.06 | 0 | 11.15 | 888.36 | 0 | 7.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 66 | 0.01 | 2 | 56.64 | 15.42 | 222.4 | 7 | 0.81 | 1.34 | 8.38 | 0.06 | 0 | 10.5 | 889.09 | 1.61 | 7.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 41.23 | 0.02 | 2.07 | 42.23 | 18.12 | 211.53 | 2.84 | 0.75 | 1.34 | 6.12 | 0.06 | 0 | 11.69 | 888.14 | 48.14 | 12.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 15 | 0 | 2 | 20.89 | 14.87 | 62.99 | 0 | 0.24 | 1.15 | 2.78 | 0.06 | 0 | 5.13 | 887.17 | 0 | 4.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 66 | 0.45 | 2.57 | 57.86 | 25.63 | 239.55 | 10 | 2.06 | 1.85 | 10.23 | 0.1 | 0 | 34.27 | 889.14 | 258.81 | 121.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 41.23 | 0.02 | 2.07 | 42.23 | 18.12 | 211.53 | 2.84 | 0.75 | 1.34 | 6.12 | 0.06 | 0 | 11.69 | 888.14 | 48.14 | 12.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 13.46 | 0.1 | 0.14 | 11.27 | 3.82 | 37.37 | 3.21 | 0.33 | 0.15 | 2.35 | 0.01 | 0 | 5.82 | 0.65 | 84.28 | 25.24 | 0 | 0 | 0 | 0 | 0
Mode | 59 | 0 | 2 | 43.69 | 19.44 | 62.99 | 0 | 0.71 | 1.17 | 8.61 | 0.06 | 0 | 34.27 | 888.05 | 0 | 4.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 41.75 | 0 | 2.01 | 46.5 | 16.34 | 225.06 | 1 | 0.71 | 1.34 | 6.4 | 0.06 | 0 | 11.15 | 888.11 | 0 | 6.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 19 | 20 | 20 | 20 | 20 | 20 | 19 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Total Data Points | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Data Availability % | 95 | 100 | 100 | 100 | 100 | 100 | 95 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0