## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 6 |  |  |  | Date : 06/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 06/09/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.36 | 8.19 | 85.63 | 26.78 | 201.44 | NA | 3.46 | 2.71 | 0 | 0.06 | 0 | 12.58 | 888.23 | 77.19 | 0.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.13 | 8.25 | 80.4 | 28.15 | 182.63 | NA | 3.22 | 2.63 | 0 | 0.06 | 0 | 10.81 | 888.5 | 115.01 | 0.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.31 | 8.22 | 79.69 | 28.66 | 208.88 | NA | 3.49 | 2.54 | 0 | 0.06 | 0 | 12.56 | 888.42 | 112.08 | 0.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.05 | 8.25 | 74.74 | 29.83 | 195.74 | NA | 2.99 | 2.46 | 0 | 0.06 | 0 | 8.41 | 888.01 | 89.98 | 0.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.08 | 8.36 | 85.35 | 27.05 | 208.44 | NA | 3.29 | 2.68 | 0 | 0.06 | 0 | 8.7 | 887.3 | 62.63 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.05 | 8.4 | 76.01 | 29.23 | 104.72 | NA | 3.08 | 2.55 | 0 | 0.06 | 0 | 26.83 | 886.46 | 91.56 | 0.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.23 | 8.58 | 74.12 | 29.75 | 131.33 | NA | 3.49 | 2.73 | 0 | 0.06 | 0 | 20.47 | 885.4 | 145.43 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.26 | 8.51 | 81.55 | 28.29 | 173.66 | NA | 3.58 | 2.7 | 0 | 0.06 | 0 | 6.79 | 884.77 | 59.42 | 0.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.28 | 8.58 | 87.9 | 26.67 | 105.78 | NA | 3.26 | 2.5 | 0 | 0.06 | 0 | 17.96 | 884.39 | 15.84 | 0.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.15 | 8.62 | 94.67 | 24.51 | 225.11 | NA | 3.19 | 2.64 | 0 | 0.06 | 0.03 | 6.83 | 884.38 | 0.64 | 0.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.54 | 8.4 | 98.34 | 23.02 | 256.62 | NA | 3.37 | 2.33 | 0 | 0.06 | 0 | 11.84 | 884.69 | 0 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.18 | 8.37 | 98.92 | 23.18 | 245.84 | NA | 3.29 | 2.62 | 0 | 0.06 | 0 | 11.37 | 885.35 | 0 | 0.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.14 | 8.39 | 99.11 | 23.13 | 254.94 | NA | 3.24 | 2.53 | 0 | 0.06 | 0 | 8.94 | 886.34 | 0 | 0.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.31 | 8.4 | 99.1 | 23.1 | 231.14 | NA | 3.44 | 2.48 | 0 | 0.06 | 0 | 9.6 | 887.05 | 0 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.08 | 8.33 | 99.5 | 23 | 242.65 | NA | 3.26 | 2.65 | 0 | 0.06 | 0 | 10.38 | 887.28 | 0 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.26 | 8.43 | 99.5 | 23.12 | 221.96 | NA | 3.31 | 2.48 | 0 | 0.06 | 0 | 12.62 | 887.2 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.1 | 8.19 | 99.5 | 22.67 | 200.41 | NA | 3.28 | 2.65 | 0 | 0.06 | 0.01 | 10.81 | 886.8 | 0 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.36 | 8.36 | 99.5 | 20.82 | 276.32 | NA | 3.38 | 2.44 | 0 | 0.06 | 0.13 | 12.05 | 886.2 | 0 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.18 | 8.33 | 98.9 | 20.99 | 249.19 | NA | 3.28 | 2.58 | 0 | 0.06 | 0.01 | 16.57 | 885.72 | 0 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.1 | 8.15 | 98.57 | 21.17 | 261.87 | NA | 3.22 | 2.61 | 0 | 0.06 | 0 | 14.68 | 885.55 | 0 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.33 | 8.19 | 99.5 | 21.14 | 269.77 | NA | 3.58 | 2.6 | 0 | 0.06 | 0 | 13.46 | 885.66 | 0 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.1 | 8.22 | 99.5 | 21.12 | 281.21 | NA | 3.17 | 2.56 | 0 | 0.06 | 0 | 13.15 | 886.13 | 0 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0 | 8.12 | 99.5 | 20.82 | 283.42 | NA | 3.13 | 2.5 | 0 | 0.06 | 0 | 10.13 | 886.63 | 0.35 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.28 | 8.01 | 99.5 | 20.75 | 240.99 | NA | 3.17 | 2.5 | 0 | 0.06 | 0 | 9.16 | 887.19 | 2.09 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.03 | 8.08 | 99.5 | 21.64 | 211.58 | NA | 3.2 | 2.68 | 0 | 0.06 | 0 | 15.78 | 887.76 | 19.9 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.2 | 8.32 | 92.34 | 24.34 | 218.63 | NA | 3.29 | 2.57 | 0 | 0.06 | 0.01 | 12.5 | 886.46 | 31.68 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0 | 8.01 | 74.12 | 20.75 | 104.72 | NA | 2.99 | 2.33 | 0 | 0.06 | 0 | 6.79 | 884.38 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.54 | 8.62 | 99.5 | 29.83 | 283.42 | NA | 3.58 | 2.73 | 0 | 0.06 | 0.13 | 26.83 | 888.5 | 145.43 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.2 | 8.32 | 92.34 | 24.34 | 218.63 | NA | 3.29 | 2.57 | 0 | 0.06 | 0.01 | 12.5 | 886.46 | 31.68 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.18 | 8.33 | 98.9 | 23.12 | 225.11 | NA | 3.28 | 2.58 | 0 | 0.06 | 0 | 11.84 | 886.46 | 0.35 | 0.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.1 | 8.19 | 99.5 | 20.82 | 256.62 | NA | 3.22 | 2.5 | 0 | 0.06 | 0 | 10.81 | 887.76 | 0 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.13 | 0.16 | 9.49 | 3.23 | 49.87 | NA | 0.15 | 0.1 | 0 | 0 | 0.03 | 4.46 | 1.25 | 46.72 | 0.5 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0