## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 24 |  |  |  | Date : 24/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 24/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 36.35 | 22.41 | 0.02 | 75 | 2.26 | 0.08 | 0.01 | 0.01 | 18.57 | 95.23 | 3.3 | 11.37 | 0.02 | 0 | 889.37 | 0 | 2.75 | 0.06 | 0.01 | 21.42 | 14.54
07-08Hr | 36.48 | 22.57 | 0.02 | 60.38 | 1.9 | 0.08 | 0.01 | 0.01 | 22.18 | 90.85 | 3.33 | 11.4 | 0.02 | 0 | 890.16 | 0 | 2.7 | 0.06 | 0.01 | 33.02 | 56.38
08-09Hr | 36.57 | 22.04 | 0.02 | 58.26 | 2.25 | 0.1 | 0.01 | 0.01 | 21.59 | 86.22 | 3.33 | 11.46 | 0.02 | 0 | 890.1 | 0 | 2.71 | 0.06 | 0.01 | 39.82 | 113.66
09-10Hr | 33.56 | 22.12 | 0.02 | 60.82 | 2.31 | 0.15 | 0.01 | 0.01 | 21.16 | 89.38 | 3.31 | 10.49 | 0.02 | 0 | 889.56 | 0 | 2.6 | 0.06 | 0.01 | 38.67 | 72.7
10-11Hr | 33.66 | 22.3 | 0.02 | 57.08 | 2.22 | 0.2 | 0.01 | 0.01 | 21.58 | 94.79 | 3.38 | 10.52 | 0.02 | 0 | 888.73 | 0 | 2.62 | 0.06 | 0.01 | 48.54 | 99.98
11-12Hr | 34.04 | 23.7 | 0.02 | 53.66 | 1.85 | 0.18 | 0.01 | 0.01 | 22.16 | 90.91 | 3.64 | 10.65 | 0.02 | 0 | 887.97 | 0 | 2.78 | 0.06 | 0.01 | 57.91 | 87.56
12-13Hr | 34.25 | 22.22 | 0.02 | 52.58 | 2.37 | 0.13 | 0.01 | 0.01 | 23.13 | 86.34 | 3.38 | 10.71 | 0.02 | 0 | 887.42 | 0.01 | 2.67 | 0.06 | 0.01 | 61.43 | 132.99
13-14Hr | 34.78 | 21.72 | 0.02 | 56.81 | 2.8 | 0.14 | 0.01 | 0.01 | 22.27 | 87.64 | 3.23 | 10.88 | 0.02 | 0 | 887.19 | 0 | 2.59 | 0.06 | 0.01 | 52.87 | 93.1
14-15Hr | 34.95 | 22.72 | 0.02 | 66.88 | 2.55 | 0.21 | 0.01 | 0.01 | 19.47 | 85.24 | 3.34 | 10.95 | 0.02 | 0 | 887.14 | 0.01 | 2.56 | 0.06 | 0.01 | 42.68 | 19.22
15-16Hr | 35.12 | 22.04 | 0.02 | 77.11 | 3.15 | 0.17 | 0.01 | 0.01 | 17.18 | 84.35 | 3.3 | 10.97 | 0.02 | 0 | 887.44 | 0.01 | 2.57 | 0.06 | 0.01 | 38.92 | 0.19
16-17Hr | 34.29 | 21.62 | 0.02 | 80.48 | 3.58 | 0.16 | 0.01 | 0.01 | 16.37 | 88.36 | 3.21 | 10.73 | 0.02 | 0 | 887.9 | 0 | 2.54 | 0.06 | 0.01 | 46.91 | 0
17-18Hr | 34.3 | 22.97 | 0.02 | 86.64 | 1.84 | 0.24 | 0.01 | 0.01 | 15.46 | 90.04 | 3.42 | 10.71 | 0.02 | 0 | 888.38 | 0 | 2.57 | 0.06 | 0.01 | 30.04 | 0
18-19Hr | 34.08 | 22.47 | 0.02 | 88.49 | 1.29 | 0.21 | 0.01 | 0.01 | 14.93 | 94.18 | 3.4 | 10.67 | 0.02 | 0 | 888.87 | 0 | 2.61 | 0.06 | 0.01 | 25.94 | 0
19-20Hr | 33.89 | 23.37 | 0.02 | 89.74 | 1.37 | 0.25 | 0.01 | 0.01 | 14.64 | 107.54 | 3.56 | 10.61 | 0.02 | 0 | 889.18 | 0.01 | 2.62 | 0.06 | 0.01 | 24.3 | 0
20-21Hr | 33.52 | 22.32 | 0.02 | 90.38 | 1.68 | 0.11 | 0.01 | 0.01 | 14.63 | 87.61 | 3.28 | 10.5 | 0.02 | 0 | 889.13 | 0 | 2.61 | 0.06 | 0.01 | 20.72 | 0
21-22Hr | 33.39 | 22.9 | 0.02 | 91.63 | 1.59 | 0.11 | 0.01 | 0.01 | 14.52 | 91.36 | 3.41 | 10.46 | 0.02 | 0 | 888.89 | 0.01 | 2.69 | 0.06 | 0.01 | 15.45 | 0
22-23Hr | 33.22 | 23.65 | 0.02 | 94.08 | 1.61 | 0.18 | 0.01 | 0.01 | 14.04 | 95.44 | 3.46 | 10.37 | 0.02 | 0 | 888.66 | 0 | 2.69 | 0.06 | 0.01 | 14.38 | 0
23-00Hr | 33.03 | 22.3 | 0.02 | 97.13 | 1.71 | 0.24 | 0.01 | 0.01 | 13.68 | 109.72 | 3.3 | 10.34 | 0.02 | 0 | 888.34 | 0 | 2.54 | 0.06 | 0.01 | 10.83 | 0
00-01Hr | 33.01 | 23.07 | 0.02 | 98.28 | 1.78 | 0.18 | 0.01 | 0.01 | 13.59 | 146.89 | 3.46 | 10.3 | 0.02 | 0 | 887.87 | 0 | 2.7 | 0.06 | 0.01 | 9.48 | 0
01-02Hr | 33.07 | 23.4 | 0.02 | 99.01 | 1.76 | 0.16 | 0.01 | 0.01 | 13.09 | 182.28 | 3.52 | 10.33 | 0.02 | 0 | 887.71 | 0 | 2.7 | 0.06 | 0.01 | 7.52 | 0
02-03Hr | 32.15 | 23.37 | 0.02 | 99.5 | 1.78 | 0.23 | 0.01 | 0.01 | 12.95 | 227.81 | 3.61 | 10.04 | 0.02 | 0 | 887.59 | 0.01 | 2.72 | 0.06 | 0.01 | 14.06 | 0
03-04Hr | 32.23 | 23.12 | 0.02 | 99.5 | 1.76 | 0.2 | 0.01 | 0.01 | 12.95 | 90.93 | 3.46 | 10.08 | 0.02 | 0 | 887.69 | 0 | 2.66 | 0.06 | 0.01 | 47.93 | 0
04-05Hr | 32.36 | 22.42 | 0.02 | 99.5 | 1.78 | 0.15 | 0.01 | 0.01 | 13.1 | 87.08 | 3.32 | 10.11 | 0.02 | 0 | 888.05 | 0.02 | 2.6 | 0.06 | 0.01 | 54.29 | 0
05-06Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | 34.01 | 22.64 | 0.02 | 79.69 | 2.05 | 0.17 | 0.01 | 0.01 | 17.1 | 103.92 | 3.39 | 10.64 | 0.02 | 0 | 888.41 | 0 | 2.64 | 0.06 | 0.01 | 32.92 | 30.01
Min | 32.15 | 21.62 | 0.02 | 52.58 | 1.29 | 0.08 | 0.01 | 0.01 | 12.95 | 84.35 | 3.21 | 10.04 | 0.02 | 0 | 887.14 | 0 | 2.54 | 0.06 | 0.01 | 7.52 | 0
Max | 36.57 | 23.7 | 0.02 | 99.5 | 3.58 | 0.25 | 0.01 | 0.01 | 23.13 | 227.81 | 3.64 | 11.46 | 0.02 | 0 | 890.16 | 0.02 | 2.78 | 0.06 | 0.01 | 61.43 | 132.99
Geom.Mean | 34.01 | 22.64 | 0.02 | 79.69 | 2.05 | 0.17 | 0.01 | 0.01 | 17.1 | 103.92 | 3.39 | 10.64 | 0.02 | 0 | 888.41 | 0 | 2.64 | 0.06 | 0.01 | 32.92 | 30.01
Median | 33.89 | 22.47 | 0.02 | 86.64 | 1.84 | 0.17 | 0.01 | 0.01 | 15.46 | 90.91 | 3.38 | 10.61 | 0.02 | 0 | 888.34 | 0 | 2.62 | 0.06 | 0.01 | 33.02 | 0
Mode | 33.22 | 23.37 | 0.02 | 99.5 | 1.78 | 0.18 | 0.01 | 0.01 | 12.95 | 146.89 | 3.3 | 10.71 | 0.02 | 0 | 887.71 | 0 | 2.7 | 0.06 | 0.01 | 7.52 | 0
Std.Deviation | 1.26 | 0.6 | 0 | 17.48 | 0.56 | 0.05 | 0 | 0 | 3.73 | 35.16 | 0.11 | 0.4 | 0 | 0 | 0.89 | 0.01 | 0.07 | 0 | 0 | 16.88 | 45.36
Valid Data Points | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0