## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 20 |  |  |  | Date : 20/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 20/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 35.83 | 22.02 | 0.02 | 69.06 | 1.45 | 0.12 | 0.01 | 0.01 | 20.84 | 96.41 | 3.31 | 11.23 | 0.02 | 0 | 889.16 | 0 | 2.64 | 0.06 | 0.01 | 20.62 | 10.27
07-08Hr | 35.96 | 22.06 | 0.02 | 59.03 | 1.54 | 0.16 | 0.01 | 0.01 | 22.67 | 91.22 | 3.32 | 11.24 | 0.02 | 0 | 889.83 | 0.01 | 2.67 | 0.06 | 0.01 | 32.52 | 64.43
08-09Hr | 35.98 | 22.14 | 0.02 | 59.15 | 1.51 | 0.14 | 0.01 | 0.01 | 22.07 | 89.45 | 3.38 | 11.24 | 0.02 | 0 | 889.97 | 0 | 2.64 | 0.06 | 0.01 | 36.94 | 126.65
09-10Hr | 36.48 | 22.4 | 0.02 | 57.05 | 1.72 | 0.19 | 0.01 | 0.01 | 22.17 | 93.15 | 3.34 | 11.43 | 0.02 | 0.01 | 889.51 | 0 | 2.55 | 0.06 | 0.01 | 42.78 | 121.29
10-11Hr | 36.9 | 22.52 | 0.02 | 49.8 | 1.63 | 0.22 | 0.01 | 0.01 | 24 | 82.35 | 3.36 | 11.52 | 0.02 | 0 | 888.68 | 0 | 2.61 | 0.06 | 0.01 | 61.02 | 162.37
11-12Hr | 37.32 | 23.85 | 0.02 | 49.6 | 1.5 | 0.2 | 0.01 | 0.01 | 23.5 | 79.23 | 3.51 | 11.66 | 0.02 | 0 | 888 | 0 | 2.64 | 0.06 | 0.01 | 67.7 | 141.28
12-13Hr | 37.49 | 22.14 | 0.02 | 44.21 | 1.58 | 0.21 | 0.01 | 0.01 | 24.95 | 66.03 | 3.32 | 11.72 | 0.02 | 0 | 887.46 | 0 | 2.55 | 0.06 | 0.01 | 64.69 | 168.18
13-14Hr | 37.94 | 21.92 | 0.02 | 44.54 | 1.53 | 0.08 | 0.01 | 0.01 | 24.74 | 85.86 | 3.24 | 11.88 | 0.02 | 0 | 887.3 | 0 | 2.69 | 0.06 | 0.01 | 66.89 | 112.21
14-15Hr | 37.83 | 21.94 | 0.02 | 53.67 | 1.62 | 0.12 | 0.01 | 0.01 | 20.18 | 89.59 | 3.26 | 11.86 | 0.02 | 0 | 887.29 | 0 | 2.57 | 0.06 | 0.01 | 54.12 | 8.73
15-16Hr | 38 | 21.47 | 0.02 | 59.9 | 1.99 | 0.08 | 0.01 | 0.01 | 17.88 | 91.37 | 3.26 | 11.88 | 0.02 | 0 | 887.64 | 0 | 2.67 | 0.06 | 0.01 | 49.79 | 1.74
16-17Hr | 37.93 | 21.92 | 0.02 | 68.95 | 1.91 | 0.06 | 0.01 | 0.01 | 16.62 | 88.61 | 3.22 | 11.85 | 0.02 | 0 | 888.31 | 0 | 2.7 | 0.06 | 0.01 | 40 | 0
17-18Hr | 38.04 | 21.32 | 0.02 | 71.52 | 1.86 | 0.05 | 0.01 | 0.01 | 16 | 91.15 | 3.2 | 11.9 | 0.02 | 0 | 888.84 | 0 | 2.7 | 0.06 | 0.01 | 34.78 | 0
18-19Hr | 37.55 | 22.37 | 0.02 | 76.87 | 1.25 | 0.17 | 0.01 | 0.01 | 14.89 | 86.6 | 3.35 | 11.79 | 0.02 | 0 | 889.41 | 0 | 2.64 | 0.06 | 0.01 | 30.34 | 0
19-20Hr | 37.54 | 23.56 | 0.02 | 80.84 | 1.05 | 0.16 | 0.01 | 0.01 | 14.84 | 89.58 | 3.57 | 11.73 | 0.02 | 0 | 889.67 | 0 | 2.73 | 0.06 | 0.01 | 24.33 | 0
20-21Hr | 37.2 | 21.99 | 0.02 | 83.55 | 1.09 | 0.15 | 0.01 | 0.01 | 14.37 | 94.36 | 3.33 | 11.64 | 0.02 | 0 | 889.73 | 0 | 2.63 | 0.06 | 0.01 | 21.18 | 0
21-22Hr | 37.22 | 21.94 | 0.02 | 84.88 | 0.96 | 0.07 | 0.01 | 0.01 | 14.11 | 113.7 | 3.27 | 11.64 | 0.02 | 0 | 889.76 | 0 | 2.72 | 0.06 | 0.01 | 18.08 | 0
22-23Hr | 36.84 | 22.75 | 0.02 | 85.76 | 1.27 | 0.11 | 0.01 | 0.01 | 13.91 | 131.35 | 3.38 | 11.53 | 0.02 | 0 | 889.42 | 0 | 2.71 | 0.06 | 0.01 | 19.64 | 0
23-00Hr | 36.7 | 22.66 | 0.02 | 85.73 | 1.63 | 0.06 | 0.01 | 0.01 | 14.07 | 137.91 | 3.33 | 11.49 | 0.02 | 0 | 889.06 | 0 | 2.68 | 0.06 | 0.01 | 25.02 | 0
00-01Hr | 36.67 | 22.62 | 0.02 | 86.88 | 1.72 | 0.14 | 0.01 | 0.01 | 13.82 | 149.21 | 3.36 | 11.48 | 0.02 | 0 | 888.66 | 0 | 2.6 | 0.06 | 0.01 | 23.65 | 0
01-02Hr | 36.76 | 21.57 | 0.02 | 87.95 | 1.72 | 0.14 | 0.01 | 0.01 | 13.69 | 121.93 | 3.2 | 11.5 | 0.02 | 0 | 888.09 | 0.01 | 2.59 | 0.06 | 0.01 | 10.42 | 0
02-03Hr | 36.53 | 22.32 | 0.02 | 86.69 | 2.01 | 0.16 | 0.01 | 0.01 | 14.05 | 99.58 | 3.33 | 11.42 | 0.02 | 0 | 887.91 | 0 | 2.65 | 0.06 | 0.01 | 10.05 | 0
03-04Hr | 36.4 | 22.19 | 0.02 | 86.01 | 2.68 | 0.13 | 0.01 | 0.01 | 14.26 | 122.17 | 3.33 | 11.37 | 0.02 | 0 | 888.08 | 0.01 | 2.71 | 0.06 | 0.01 | 9.49 | 0
04-05Hr | 36.02 | 22.4 | 0.02 | 85.71 | 1.97 | 0.1 | 0.01 | 0.01 | 14.11 | 127.85 | 3.33 | 11.27 | 0.02 | 0 | 888.81 | 0 | 2.68 | 0.06 | 0.01 | 9.92 | 0
05-06Hr | 35.83 | 23.22 | 0.02 | 78.65 | 1.71 | 0.15 | 0.01 | 0.01 | 15.78 | 90.91 | 3.38 | 11.22 | 0.02 | 0 | 889.73 | 0.01 | 2.7 | 0.06 | 0.01 | 14.63 | 25.56
06-07hr | 35.73 | 23.05 | 0.02 | 71.2 | 1.81 | 0.22 | 0.01 | 0.01 | 18.4 | 83.78 | 3.52 | 11.16 | 0.02 | 0 | 890.57 | 0 | 2.71 | 0.06 | 0.01 | 19.12 | 7.01
Avg | 36.91 | 22.33 | 0.02 | 70.69 | 1.63 | 0.14 | 0.01 | 0.01 | 17.84 | 99.73 | 3.34 | 11.55 | 0.02 | 0 | 888.84 | 0 | 2.66 | 0.06 | 0.01 | 32.31 | 37.99
Min | 35.73 | 21.32 | 0.02 | 44.21 | 0.96 | 0.05 | 0.01 | 0.01 | 13.69 | 66.03 | 3.2 | 11.16 | 0.02 | 0 | 887.29 | 0 | 2.55 | 0.06 | 0.01 | 9.49 | 0
Max | 38.04 | 23.85 | 0.02 | 87.95 | 2.68 | 0.22 | 0.01 | 0.01 | 24.95 | 149.21 | 3.57 | 11.9 | 0.02 | 0.01 | 890.57 | 0.01 | 2.73 | 0.06 | 0.01 | 67.7 | 168.18
Geom.Mean | 36.91 | 22.33 | 0.02 | 70.69 | 1.63 | 0.14 | 0.01 | 0.01 | 17.84 | 99.73 | 3.34 | 11.55 | 0.02 | 0 | 888.84 | 0 | 2.66 | 0.06 | 0.01 | 32.31 | 37.99
Median | 36.84 | 22.19 | 0.02 | 71.52 | 1.63 | 0.14 | 0.01 | 0.01 | 16 | 91.22 | 3.33 | 11.52 | 0.02 | 0 | 888.84 | 0 | 2.67 | 0.06 | 0.01 | 25.02 | 0
Mode | 35.83 | 21.92 | 0.02 | 44.21 | 1.72 | 0.14 | 0.01 | 0.01 | 14.11 | 131.35 | 3.33 | 11.24 | 0.02 | 0 | 889.73 | 0 | 2.64 | 0.06 | 0.01 | 9.49 | 0
Std.Deviation | 0.76 | 0.61 | 0 | 15.05 | 0.36 | 0.05 | 0 | 0 | 4.08 | 20.59 | 0.09 | 0.24 | 0 | 0 | 0.93 | 0 | 0.05 | 0 | 0 | 18.93 | 60.18
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0