## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 19 |  |  |  | Date : 19/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 19/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.11 | 216.67 | 0.02 | 56.18 | 1.5 | 0.21 | 0.01 | 0.01 | 24.11 | NA | 3.29 | 10.55 | 0.02 | 0 | 892.55 | NA | 2.55 | 0.06 | 0.01 | 19.11 | 7.96
07-08Hr | 0.12 | 205.09 | 0.02 | 51.61 | 1.27 | 0.02 | 0.01 | 0.01 | 27.2 | NA | 3.11 | 10.58 | 0.02 | 0 | 893.12 | NA | 2.64 | 0.07 | 0.01 | 15.11 | 51.58
08-09Hr | 0.18 | 199.38 | 0.02 | 54.97 | 0.94 | 0.14 | 0.01 | 0.01 | 27.12 | NA | 3.29 | 10.64 | 0.02 | 0 | 893.14 | NA | 2.71 | 0.06 | 0.01 | 11.61 | 155.74
09-10Hr | 0.09 | 198.22 | 0.02 | 51.22 | 0.76 | 0.15 | 0.01 | 0.01 | 28.75 | NA | 3.52 | 10.79 | 0.02 | 0 | 892.65 | NA | 2.73 | 0.06 | 0.01 | 10.53 | 173.06
10-11Hr | 0.05 | 191.88 | 0.02 | 48.88 | 1.03 | 0.12 | 0.01 | 0.01 | 29.07 | NA | 3.26 | 10.98 | 0.02 | 0.04 | 891.83 | NA | 2.6 | 0.06 | 0.01 | 11.92 | 169.62
11-12Hr | 0.11 | 195.32 | 0.02 | 52.46 | 1.41 | 0.04 | 0.01 | 0.01 | 27.2 | NA | 3.1 | 10.78 | 0.02 | 0 | 890.92 | NA | 2.53 | 0.06 | 0.01 | 12.73 | 160.7
12-13Hr | 0.24 | 204.47 | 0.02 | 53.98 | 1.8 | 0.02 | 0.01 | 0.01 | 27.02 | NA | 3.04 | 10.98 | 0.02 | 0 | 890.24 | NA | 2.52 | 0.06 | 0.01 | 12.58 | 161.12
13-14Hr | 0.08 | 193.83 | 0.02 | 52.92 | 1.42 | 0.27 | 0.01 | 0.01 | 28.24 | NA | 3.67 | 11.21 | 0.02 | 0 | 889.9 | NA | 2.71 | 0.06 | 0.01 | 12.17 | 103.68
14-15Hr | 0.11 | 207.56 | 0.02 | 69.31 | 1.03 | 0.06 | 0.01 | 0.01 | 23.32 | NA | 3.24 | 11.15 | 0.02 | 0 | 889.77 | NA | 2.64 | 0.06 | 0.01 | 15.32 | 2.14
15-16Hr | 0.11 | 187.67 | 0.02 | 75.61 | 0.39 | 0.31 | 0.01 | 0.01 | 21.46 | NA | 3.76 | 11.27 | 0.02 | 0 | 889.97 | NA | 2.8 | 0.06 | 0.01 | 8.25 | 6.83
16-17Hr | 0.08 | 176.9 | 0.02 | 79.3 | 0.23 | 0.28 | 0.01 | 0.01 | 20.54 | NA | 3.39 | 11.15 | 0.02 | 0 | 890.39 | NA | 2.55 | 0.06 | 0.01 | 12.3 | 0
17-18Hr | 0.12 | 220.96 | 0.02 | 81.05 | 0.26 | 0.17 | 0.01 | 0.01 | 20.09 | NA | 3.13 | 11.09 | 0.02 | 0 | 890.97 | NA | 2.44 | 0.06 | 0.01 | 11.96 | 0
18-19Hr | 0.15 | 221.76 | 0.02 | 82.21 | 0.22 | 0.37 | 0.01 | 0.01 | 19.71 | NA | 3.38 | 10.98 | 0.02 | 0 | 891.64 | NA | 2.45 | 0.06 | 0.01 | 10.66 | 0
19-20Hr | 0.15 | 199.74 | 0.02 | 80.74 | 0.45 | 0.19 | 0.01 | 0.01 | 20.15 | NA | 3.19 | 11.07 | 0.02 | 0 | 892.1 | NA | 2.59 | 0.06 | 0.01 | 14.28 | 0
20-21Hr | 0.14 | 206.01 | 0.02 | 80.24 | 0.34 | 0.21 | 0.01 | 0.01 | 20.11 | NA | 3.28 | 10.98 | 0.02 | 0 | 892.25 | NA | 2.48 | 0.06 | 0.01 | 12.64 | 0
21-22Hr | 0.08 | 214.65 | 0.02 | 81.47 | 0.77 | 0.31 | 0.01 | 0.01 | 19.82 | NA | 3.4 | 10.98 | 0.02 | 0 | 892.21 | NA | 2.49 | 0.06 | 0.01 | 15.29 | 0
22-23Hr | 0.09 | 202.52 | 0.02 | 83.86 | 0.88 | 0.23 | 0.01 | 0.01 | 19.29 | NA | 3.56 | 10.98 | 0.02 | 0 | 892 | NA | 2.72 | 0.06 | 0.01 | 15.66 | 0
23-00Hr | 0.08 | 208.16 | 0.02 | 81.9 | 0.59 | 0.21 | 0.01 | 0.01 | 19.5 | NA | 3.33 | 10.9 | 0.02 | 0 | 891.74 | NA | 2.48 | 0.06 | 0.01 | 16.9 | 0
00-01Hr | 0.14 | 206.86 | 0.02 | 82.47 | 0.91 | 0.23 | 0.01 | 0.01 | 19.24 | NA | 3.76 | 10.9 | 0.02 | 0 | 891.34 | NA | 2.81 | 0.06 | 0.01 | 12.98 | 0
01-02Hr | 0.11 | 221.65 | 0.02 | 85.85 | 0.97 | 0.23 | 0.01 | 0.01 | 18.56 | NA | 3.49 | 10.76 | 0.02 | 0 | 891.08 | NA | 2.75 | 0.06 | 0.01 | 19.52 | 0
02-03Hr | 0.1 | 216.48 | 0.02 | 89 | 0.7 | 0.08 | 0.01 | 0.01 | 18.03 | NA | 3.44 | 10.72 | 0.02 | 0 | 891.19 | NA | 2.85 | 0.06 | 0.01 | 14.33 | 0
03-04Hr | 0.09 | 208.89 | 0.02 | 90.85 | 0.59 | 0.13 | 0.01 | 0.01 | 18.05 | NA | 3.49 | 10.55 | 0.02 | 0 | 891.41 | NA | 2.66 | 0.06 | 0.01 | 22.78 | 0
04-05Hr | 0.15 | 199.23 | 0.02 | 94.12 | 0.51 | 0.26 | 0.01 | 0.01 | 17.52 | NA | 3.13 | 10.65 | 0.02 | 0 | 892.11 | NA | 2.43 | 0.06 | 0.01 | 17.32 | 0
05-06Hr | 0.06 | 203.48 | 0.02 | 83.37 | 0.22 | 0.05 | 0.01 | 0.01 | 21.33 | NA | 3.08 | 10.58 | 0.02 | 0 | 892.71 | NA | 2.55 | 0.06 | 0.01 | 15.91 | 45.53
06-07hr | 0.08 | 209.29 | 0.02 | 72.84 | 0.54 | 0.28 | 0.01 | 0.01 | 24.21 | NA | 3.46 | 10.69 | 0.02 | 0 | 893.29 | NA | 2.6 | 0.06 | 0.01 | 12.48 | 9.06
Avg | 0.11 | 204.67 | 0.02 | 72.66 | 0.79 | 0.18 | 0.01 | 0.01 | 22.39 | NA | 3.35 | 10.88 | 0.02 | 0 | 891.62 | NA | 2.61 | 0.06 | 0.01 | 14.17 | 41.88
Min | 0.05 | 176.9 | 0.02 | 48.88 | 0.22 | 0.02 | 0.01 | 0.01 | 17.52 | NA | 3.04 | 10.55 | 0.02 | 0 | 889.77 | NA | 2.43 | 0.06 | 0.01 | 8.25 | 0
Max | 0.24 | 221.76 | 0.02 | 94.12 | 1.8 | 0.37 | 0.01 | 0.01 | 29.07 | NA | 3.76 | 11.27 | 0.02 | 0.04 | 893.29 | NA | 2.85 | 0.07 | 0.01 | 22.78 | 173.06
Geom.Mean | 0.11 | 204.67 | 0.02 | 72.66 | 0.79 | 0.18 | 0.01 | 0.01 | 22.39 | NA | 3.35 | 10.88 | 0.02 | 0 | 891.62 | NA | 2.61 | 0.06 | 0.01 | 14.17 | 41.88
Median | 0.11 | 205.09 | 0.02 | 80.24 | 0.76 | 0.21 | 0.01 | 0.01 | 20.54 | NA | 3.33 | 10.9 | 0.02 | 0 | 891.74 | NA | 2.6 | 0.06 | 0.01 | 12.98 | 0
Mode | 0.11 | 176.9 | 0.02 | 48.88 | 1.03 | 0.21 | 0.01 | 0.01 | 27.2 | NA | 3.29 | 10.98 | 0.02 | 0 | 891.74 | NA | 2.55 | 0.06 | 0.01 | 8.25 | 0
Std.Deviation | 0.04 | 10.9 | 0 | 14.83 | 0.44 | 0.1 | 0 | 0 | 3.85 | NA | 0.21 | 0.22 | 0 | 0.01 | 1.04 | NA | 0.12 | 0 | 0 | 3.22 | 66.64
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0