## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 24 |  |  |  | Date : 24/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 24/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.14 | 200.6 | 0.02 | 65.08 | 3.13 | 0.33 | 0.01 | 0.01 | 19.31 | NA | 3.11 | 10.4 | 0.02 | 0 | 892.03 | NA | 2.31 | 0.06 | 0.01 | 11.46 | 9.51
07-08Hr | 0.06 | 202.78 | 0.02 | 58.38 | 2.46 | 0.1 | 0.01 | 0.01 | 21.4 | NA | 3.42 | 10.33 | 0.02 | 0 | 892.45 | NA | 2.73 | 0.06 | 0.01 | 11.08 | 64.62
08-09Hr | 0.12 | 176.96 | 0.02 | 48.08 | 1.9 | 0.1 | 0.01 | 0.01 | 23.67 | NA | 3.06 | 10.41 | 0.02 | 0 | 892.33 | NA | 2.66 | 0.06 | 0.01 | 13.86 | 171.4
09-10Hr | 0.23 | 205.3 | 0.02 | 46.22 | 1.9 | 0.28 | 0.01 | 0.01 | 24.74 | NA | 3.33 | 10.65 | 0.02 | 0 | 891.82 | NA | 2.51 | 0.06 | 0.01 | 17.17 | 191.51
10-11Hr | 0.08 | 193.36 | 0.02 | 41.64 | 1.82 | 0.28 | 0.01 | 0.01 | 25.82 | NA | 3.24 | 10.87 | 0.02 | 0 | 891.06 | NA | 2.45 | 0.06 | 0.01 | 16.01 | 199.67
11-12Hr | 0.03 | 181.74 | 0.02 | 36.76 | 1.21 | 0.15 | 0.01 | 0.01 | 26.97 | NA | 3.26 | 11.01 | 0.02 | 0 | 890.28 | NA | 2.5 | 0.06 | 0.01 | 18.09 | 192.57
12-13Hr | 0.15 | 189.43 | 0.02 | 42.48 | 1.07 | 0.1 | 0.01 | 0.01 | 27.47 | NA | 3.17 | 11.15 | 0.02 | 0 | 889.9 | NA | 2.63 | 0.06 | 0.01 | 17.13 | 170.78
13-14Hr | 0.14 | 189.74 | 0.02 | 53.42 | 1.71 | 0.1 | 0.01 | 0.01 | 26 | NA | 3.04 | 11.15 | 0.02 | 0 | 889.66 | NA | 2.48 | 0.06 | 0.01 | 13.66 | 107.26
14-15Hr | 0.15 | 204.98 | 0.02 | 69.32 | 1.71 | 0.21 | 0.01 | 0.01 | 21.1 | NA | 3.58 | 11.22 | 0.02 | 0 | 889.56 | NA | 2.7 | 0.06 | 0.01 | 13.95 | 10.54
15-16Hr | 0.21 | 169.37 | 0.02 | 77.09 | 1.18 | 0.39 | 0.01 | 0.01 | 19.05 | NA | 3.53 | 11.19 | 0.02 | 0 | 889.89 | NA | 2.55 | 0.06 | 0.01 | 12.67 | 0
16-17Hr | 0.12 | 197.44 | 0.02 | 81.04 | 0.83 | 0.26 | 0.01 | 0.01 | 17.77 | NA | 3.4 | 11.15 | 0.02 | 0 | 890.29 | NA | 2.6 | 0.06 | 0.01 | 11.55 | 0
17-18Hr | 0.2 | 216.75 | 0.02 | 71.99 | 0.67 | 0.18 | 0.01 | 0.01 | 17.43 | NA | 3.38 | 11.08 | 0.02 | 0 | 890.85 | NA | 2.61 | 0.06 | 0.01 | 8.86 | 0
18-19Hr | 0.14 | 228.88 | 0.02 | 71.29 | 0.67 | 0.15 | 0.01 | 0.01 | 17.48 | NA | 3.24 | 11.15 | 0.02 | 0 | 891.23 | NA | 2.46 | 0.06 | 0.01 | 9.82 | 0
19-20Hr | 0.08 | 216.72 | 0.02 | 83.44 | 0.99 | 0.18 | 0.01 | 0.01 | 16.59 | NA | 3.06 | 10.97 | 0.02 | 0 | 891.47 | NA | 2.41 | 0.06 | 0.01 | 10.98 | 0
20-21Hr | 0.14 | 234.99 | 0.02 | 83.09 | 0.75 | 0.15 | 0.01 | 0.01 | 15.72 | NA | 3.26 | 11.08 | 0.02 | 0 | 891.53 | NA | 2.61 | 0.06 | 0.01 | 10.64 | 0
21-22Hr | 0.08 | 229.62 | 0.02 | 76.63 | 0.94 | 0.28 | 0.01 | 0.01 | 15.93 | NA | 3.4 | 11.01 | 0.02 | 0 | 891.41 | NA | 2.5 | 0.06 | 0.01 | 9.93 | 0
22-23Hr | 0.12 | 234.34 | 0.02 | 76.8 | 1.07 | 0.13 | 0.01 | 0.01 | 15.83 | NA | 3.2 | 11.04 | 0.02 | 0 | 891.01 | NA | 2.46 | 0.06 | 0.01 | 12.16 | 0
23-00Hr | 0.11 | 237.32 | 0.02 | 78.54 | 0.94 | 0.16 | 0.01 | 0.01 | 15.99 | NA | 3.06 | 10.9 | 0.02 | 0 | 890.76 | NA | 2.5 | 0.06 | 0.01 | 11.34 | 0
00-01Hr | 0.12 | 232.92 | 0.02 | 79.06 | 1.18 | 0.15 | 0.01 | 0.01 | 16.05 | NA | 3.2 | 10.94 | 0.02 | 0 | 890.29 | NA | 2.56 | 0.06 | 0.01 | 12.96 | 0
01-02Hr | 0.12 | 216.75 | 0.02 | 76.44 | 1.18 | 0 | 0.01 | 0.01 | 15.81 | NA | 3.15 | 10.9 | 0.02 | 0 | 890.05 | NA | 2.7 | 0.06 | 0.01 | 11.35 | 0
02-03Hr | 0.17 | 225.52 | 0.02 | 72.37 | 1.29 | 0.33 | 0.01 | 0.01 | 16.24 | NA | 3.49 | 10.76 | 0.02 | 0 | 890.03 | NA | 2.51 | 0.06 | 0.01 | 11.86 | 0
03-04Hr | 0.11 | 221.58 | 0.02 | 73.52 | 1.5 | 0.05 | 0.01 | 0.01 | 16.23 | NA | 3.22 | 10.58 | 0.02 | 0 | 890.25 | NA | 2.63 | 0.06 | 0.01 | 11.99 | 0
04-05Hr | 0.12 | 222.84 | 0.02 | 79.91 | 1.53 | 0.15 | 0.01 | 0.01 | 15.6 | NA | 3.26 | 10.51 | 0.02 | 0 | 890.68 | NA | 2.63 | 0.06 | 0.01 | 12.77 | 6.78
05-06Hr | 0.13 | 210.16 | 0.02 | 68.34 | 1.82 | 0.23 | 0.01 | 0.01 | 17.84 | NA | 3.13 | 10.55 | 0.02 | 0 | 891.2 | NA | 2.48 | 0.06 | 0.01 | 8.16 | 47.73
06-07hr | 0.09 | 220.72 | 0.02 | 59.22 | 2.33 | 0.31 | 0.01 | 0.01 | 20.11 | NA | 3.4 | 10.4 | 0.02 | 0 | 891.58 | NA | 2.61 | 0.06 | 0.01 | 11.95 | 8.21
Avg | 0.13 | 210.43 | 0.02 | 66.81 | 1.43 | 0.19 | 0.01 | 0.01 | 19.45 | NA | 3.26 | 10.86 | 0.02 | 0 | 890.86 | NA | 2.55 | 0.06 | 0.01 | 12.46 | 47.22
Min | 0.03 | 169.37 | 0.02 | 36.76 | 0.67 | 0 | 0.01 | 0.01 | 15.6 | NA | 3.04 | 10.33 | 0.02 | 0 | 889.56 | NA | 2.31 | 0.06 | 0.01 | 8.16 | 0
Max | 0.23 | 237.32 | 0.02 | 83.44 | 3.13 | 0.39 | 0.01 | 0.01 | 27.47 | NA | 3.58 | 11.22 | 0.02 | 0 | 892.45 | NA | 2.73 | 0.06 | 0.01 | 18.09 | 199.67
Geom.Mean | 0.13 | 210.43 | 0.02 | 66.81 | 1.43 | 0.19 | 0.01 | 0.01 | 19.45 | NA | 3.26 | 10.86 | 0.02 | 0 | 890.86 | NA | 2.55 | 0.06 | 0.01 | 12.46 | 47.22
Median | 0.12 | 216.72 | 0.02 | 71.99 | 1.21 | 0.16 | 0.01 | 0.01 | 17.77 | NA | 3.24 | 10.94 | 0.02 | 0 | 890.85 | NA | 2.55 | 0.06 | 0.01 | 11.95 | 0
Mode | 0.12 | 216.75 | 0.02 | 36.76 | 1.18 | 0.15 | 0.01 | 0.01 | 15.93 | NA | 3.06 | 11.15 | 0.02 | 0 | 890.29 | NA | 2.5 | 0.06 | 0.01 | 8.86 | 0
Std.Deviation | 0.05 | 19.38 | 0 | 14.35 | 0.61 | 0.1 | 0 | 0 | 4.03 | NA | 0.15 | 0.29 | 0 | 0 | 0.83 | NA | 0.1 | 0 | 0 | 2.51 | 74.91
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0