## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 30 |  |  |  | Date : 30/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 30/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 7 | 0.29 | 5.18 | 84.8 | 25.58 | 142.24 | 0 | 3.28 | 2.48 | 1.01 | 0.06 | 0 | 6.46 | 879.66 | 67.9 | 2.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 15 | 0.12 | 5.21 | 80.97 | 27.09 | 159.75 | 0 | 3.2 | 2.54 | 1.42 | 0.06 | 0 | 14.8 | 879.74 | 102.57 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 16 | 0.2 | 5.22 | 73.8 | 29.12 | 164.84 | 0 | 3.21 | 2.46 | 1.82 | 0.06 | 0 | 6.82 | 880.04 | 157.29 | 1.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 16 | 0.26 | 5.24 | 77.1 | 28.32 | 157.95 | 0 | 3.41 | 2.56 | 1.73 | 0.06 | 0 | 8.18 | 880.21 | 96.36 | 1.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 21 | 0.31 | 5.31 | 72.54 | 29.24 | 160.56 | 0 | 3.34 | 2.5 | 2.46 | 0.06 | 0 | 7.45 | 879.86 | 108.79 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 20 | 0.13 | 5.3 | 85.89 | 26.05 | 169.39 | 0 | 3.11 | 2.53 | 2.95 | 0.06 | 0.01 | 6.86 | 879.22 | 42.59 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 6 | 0.19 | 5.32 | 87.71 | 25.35 | 170.63 | 0 | 3.24 | 2.57 | 4.03 | 0.06 | 0 | 6.07 | 878.73 | 25.33 | 2.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 17 | 0.15 | 5.33 | 90.35 | 25.07 | 173.17 | 2.83 | 3.19 | 2.51 | 3.82 | 0.06 | 0.04 | 7.35 | 878.64 | 0.24 | 1.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 44 | 0.19 | 5.27 | 98.62 | 23.2 | 195.32 | 3.93 | 3.26 | 2.53 | 3.94 | 0.06 | 0.09 | 8.82 | 878.56 | 0 | 1.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 4 | 0.26 | 5.27 | 99.5 | 22.98 | 232.86 | 3.07 | 3.19 | 2.49 | 3.35 | 0.06 | 0 | 8.07 | 878.69 | 0 | 1.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 21 | 0.14 | 5.31 | 99.5 | 22.55 | 261.68 | 1.14 | 3.22 | 2.61 | 3.07 | 0.06 | 0.01 | 12.5 | 878.21 | 0 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 10 | 0.17 | 5.33 | 99.5 | 22.32 | 266.49 | 0.07 | 3.25 | 2.54 | 1.44 | 0.06 | 0 | 10.89 | 878.74 | 0 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 6 | 0.14 | 5.39 | 99.5 | 22.54 | 210.09 | 0 | 3.14 | 2.49 | 1.4 | 0.06 | 0 | 8.31 | 879.8 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 1 | 0.17 | 5.33 | 99.5 | 22.74 | 216.6 | 0.03 | 3.2 | 2.54 | 1.32 | 0.06 | 0.24 | 13.27 | 880.57 | 0 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 1 | 0.21 | 5.32 | 99.5 | 21.89 | 260.29 | 0 | 3.18 | 2.48 | 1.36 | 0.06 | 0.06 | 10.77 | 880.86 | 0 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 9 | 0.16 | 5.21 | 99.5 | 21.9 | 269.99 | 0 | 3.28 | 2.58 | 1.25 | 0.06 | 0 | 10.64 | 881.04 | 0 | 2.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 9 | 0.13 | 5.19 | 99.5 | 22.04 | 261.17 | 0 | 3.17 | 2.53 | 1.09 | 0.06 | 0 | 11.47 | 880.72 | 0 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 5 | 0.18 | 5.21 | 99.5 | 22.05 | 263.7 | 0 | 3.33 | 2.6 | 1.17 | 0.06 | 0 | 10.93 | 880.31 | 0 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 3 | 0.17 | 5.21 | 99.5 | 22.06 | 263.21 | 0 | 3.15 | 2.48 | 2.09 | 0.06 | 0.03 | 11.55 | 880.14 | 0 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 1 | 0.24 | 5.17 | 99.5 | 21.83 | 269.06 | 0 | 3.27 | 2.49 | 1.52 | 0.06 | 0 | 15.11 | 880 | 0 | 2.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 2 | 0.2 | 5.18 | 99.5 | 21.72 | 269.4 | 0 | 3.26 | 2.53 | 0.96 | 0.06 | 0 | 13.93 | 880.15 | 0 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 3 | 0.11 | 5.19 | 99.5 | 21.56 | 268.64 | 0 | 3.1 | 2.49 | 0.94 | 0.06 | 0 | 14.38 | 879.98 | 0 | 1.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 3 | 0.19 | 5.17 | 99.5 | 21.95 | 268.26 | 0 | 3.22 | 2.49 | 0.86 | 0.06 | 0 | 14.3 | 880.42 | 3.45 | 1.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 3 | 0.13 | 5.17 | 99.5 | 22.25 | 271.97 | 0 | 3.2 | 2.59 | 1.04 | 0.06 | 0.02 | 13.88 | 880.97 | 11.71 | 1.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 3 | 0.57 | 5.15 | 99.5 | 22.31 | 285.03 | 0 | 3.33 | 2.24 | 1.22 | 0.06 | 0 | 14.27 | 881.2 | 11.61 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 9.84 | 0.2 | 5.25 | 93.75 | 23.75 | 225.29 | 0.44 | 3.23 | 2.51 | 1.89 | 0.06 | 0.02 | 10.68 | 879.86 | 25.11 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1 | 0.11 | 5.15 | 72.54 | 21.56 | 142.24 | 0 | 3.1 | 2.24 | 0.86 | 0.06 | 0 | 6.07 | 878.21 | 0 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 44 | 0.57 | 5.39 | 99.5 | 29.24 | 285.03 | 3.93 | 3.41 | 2.61 | 4.03 | 0.06 | 0.24 | 15.11 | 881.2 | 157.29 | 2.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 9.84 | 0.2 | 5.25 | 93.75 | 23.75 | 225.29 | 0.44 | 3.23 | 2.51 | 1.89 | 0.06 | 0.02 | 10.68 | 879.86 | 25.11 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6 | 0.18 | 5.22 | 99.5 | 22.54 | 260.29 | 0 | 3.22 | 2.53 | 1.42 | 0.06 | 0 | 10.89 | 880 | 0 | 1.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 3 | 0.13 | 5.21 | 99.5 | 21.9 | 260.29 | 0 | 3.2 | 2.49 | 0.96 | 0.06 | 0 | 6.82 | 878.64 | 0 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 9.79 | 0.09 | 0.07 | 9.2 | 2.47 | 48.92 | 1.1 | 0.07 | 0.07 | 1.03 | 0 | 0.05 | 3.03 | 0.86 | 44.7 | 0.28 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0